## APALCHA
SAMPLE_NO | COMPOUND | Category/Use | SPMD | Qualifier | Aqueous | Qualifier
SP-APALACH | 2,4,4'-TriBDE |  | 77.5 pg/TUBE | J | U | U | Coelutions
SP-APALACH | 2',3,4-TriBDE | [5 empty] | Coelutions | SPMD Only | Grab Only | SPMD & Grab
SP-APALACH | 2,2',4,4'-TeBDE |  | 996 pg/TUBE |  | 17.8 pg/L | J |  | 2,4,4'-TriBDE |  | 2,2',4,4'-TeBDE
SP-APALACH | 2,2',4,4',5-PeBDE |  | 382 pg/TUBE |  | 8.5 pg/L | J |  | 2,2',4,4',5,5'-HxBDE |  | 2,2',4,4',5-PeBDE
SP-APALACH | 2,2',4,4',6-PeBDE |  | 147 pg/TUBE |  | 3.18 pg/L | K, J |  | 2,2',4,4',5,6'-HxBDE |  | 2,2',4,4',6-PeBDE
SP-APALACH | 2,2',4,4',5,5'-HxBDE |  | 40 pg/TUBE | J | U | U |  | 2,2',3,4,4',5',6-HpBDE |  | 2,2',3,3',4,4',5,5',6,6'-DeBDE
SP-APALACH | 2,2',4,4',5,6'-HxBDE |  | 39.8 pg/TUBE | J | U | U
SP-APALACH | 2,2',3,4,4',5',6-HpBDE |  | 30 pg/TUBE K | K, J | U | U
SP-APALACH | 2,2',3,3',4,4',5,5',6,6'-DeBDE |  | 520 pg/TUBE | J | 393 pg/L | J
[8 empty] | # of PBDE detected by sample type |  |  |  | # of PBDE detected by sample type
[8 empty] | SPMD Only | Grab Only | SPMD & Grab |  | SPMD & Grab | Grab Only | SPMD Only
[8 empty] | 4 | 0 | 4 |  | 4 | 0 | 4
[6 empty] | Apalachicola | SPMD | Grab | SPMD & Grab |  | Apalachicola | SPMD | Grab
[6 empty] | Detected | 4 | 0 | 4 |  | Detected | 8 | 4
[6 empty] | Undetected | 0 | 4 |  |  | Undetected | 0 | 4
[6 empty] | Not Quantifiable | 0 | 0 | 0 |  | Not Quantifiable | 0 | 0
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS |  | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-APALACH | L27158-5 | 2017-05-15 17:18 | PBrDPE |  | 2,4,4'-TriBDE | 41318-75-6 | 28 | 28 + 33 | J | 77.5 | 7.01 | pg/TUBE | 0.88 | 1 | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-033 Rev 06 | WG59421 | SA | REG | 280
SP-APALACH | L27158-5 | 2017-05-15 17:18 | PBrDPE |  | 2',3,4-TriBDE | 147217-78-5 | 33 | 28 + 33 |  |  |  | pg/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-033 Rev 06 | WG59421 | SA | REG | 330