PBDE

- SGS-AXYS tested for 8 PBDE compounds, all of which were from the DEP priority list.

- 8 PBDE compounds from the DEP priority list were detected in samples from all sites.

- All detections from SPMD samples and 92% of detections from Grab samples were qualified due to lab or field blank detections.

- All DEP priority compounds detected were found using both sampling methods (SPMD and Grab).

| Sampling Method | # DEP Priority Compounds Detected in Pilot Study | Total # Compounds Detected in Pilot Study |
| --- | --- | --- |
| SPMD & Grab | 8 | 8 |
| SPMD Only | 0 | 0 |
| Grab Only | 0 | 0 |
| Total | 8 | 8 |

- 8 DEP priority compounds were detected at all sites (N = 4) using a single sampling method.

In table below, yellow highlighting indicates compound detected at all site (N=4) using the specified sampling method.  Percentage in parentheses represents portion of data qualified due to blank detections.  V indicates data qualified due to detection in lab blank.  G indicates date qualified due to detection in field blank. Dark gray indicates compound was not detected at any sites using the specified sampling method.

| Compound | SPMD # Sites with Detects | Grab # Sites with Detects |
| --- | --- | --- |
| 2,2',3,3',4,4',5,5',6,6'-DeBDE | 4 (100% VG**) | 4 (100% G) |
| 2,2',3,4,4',5',6-HpBDE | 4 (100% G) | 3 (100% G) |
| 2,2',4,4',5,5'-HxBDE | 4 (100% G) | 2 |
| 2,2',4,4',5,6'-HxBDE | 4 (100% G) | 3 (100% G) |
| 2,2',4,4',5-PeBDE | 4 (100% G) | 4 (100% VG) |
| 2,2',4,4',6-PeBDE | 4 (100% G) | 4 (100% VG) |
| 2,2',4,4'-TeBDE | 4 (100% G) | 4 (100% VG) |
| 2,4,4'-TriBDE | 4 (100% G) | 2 (100% G**) |

**Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)