PFC

- SGS-AXYS tested for 13 PFC compounds.

- Of those 13 compounds, 10 were from DEP priority list.  (77% of the PFC compounds that SGS-AXYS tested for are on DEP Priority List.) There were 3 additional compounds on DEP priority list that SGS-AXYS did not test for.

- 10 PFC  compounds were detected in samples from at least one pilot study site.  Of those, 8 were on DEP priority list.

- No data were qualified due to lab or field blank detections.

- All of the DEP priority compounds detected were found in POCIS samples.  5 of the 8 DEP priority compounds detected were also detected in Grab samples.

| Sampling Method | # DEP Priority Compounds Detected in Pilot Study | Total # Compounds Detected in Pilot Study |
| --- | --- | --- |
| POCIS & Grab | 5 | 5 |
| POCIS Only | 3 | 3 |
| Grab Only | 0 | 2 |
| Total | 8 | 10 |

- 3 DEP priority compounds were detected at all sites (N = 4) using a single sampling method.

In table below, yellow highlighting indicates compound detected at all site (N=4) using the specified sampling method.  Percentage in parentheses represents portion of data qualified due to blank detections.  V indicates data qualified due to detection in lab blank.  G indicates date qualified due to detection in field blank. Dark gray indicates compound was not detected at any sites using the specified sampling method.

| Compound (* = DEP Priority) | Acronym | POCIS # Sites with Detects | Grab # Sites with Detects |
| --- | --- | --- | --- |
| Perfluorobutanoate | PFBA |  | 2 |
| Perfluorobutanesulfonic acid* | PFBS* | 1 | 1 |
| Perfluorodecanoic acid* | PFDA* | 2 |  |
| Perfluoroheptanoic acid* | PFHpA* | 4 | 2 |
| Perfluorohexanoic acid* | PFHxA* | 1 | 2 |
| Perfluorohexanesulfonic acid* | PFHxS* | 3 |  |
| Perfluorononanoic acid* | PFNA* | 2 |  |
| Perfluorooctanoic acid* | PFOA* | 4 | 2 |
| Perfluorooctanesulfonic acid* | PFOS* | 4 | 1 |
| Perfluoropentanoate | PFPeA |  | 2 |