PPCPs

- SGS-AXYS tested for 127 PPCP compounds.

- Of those 127 compounds, 21 were from DEP priority list.  (Priority list is only 17% of the PPCP compounds that SGS-AXYS tested for.)

- APOS and APOSX lists (both acid extractions positive electrospray ionization) had the most compounds, but ANEG list (acid extraction negative electrospray ionization) had the most DEP priority compounds.

- APOSY list (acid extraction positive electrospray ionization) had no DEP priority compounds on it.

- 39 PPCP compounds detected in samples from at least one pilot study site.  Of those, 15 were on DEP priority list.

- For compounds on DEP priority list, no data were qualified due to lab or field blank detections.  However, data from 3 non-priority compounds were qualified due to blank detections.

- APOS list had the greatest number of DEP priority compounds detected at pilot study sites.

| SGS-AXYS PPCP List | # Compounds on List | # DEP Priority Compounds on List (#, % of total list) | # DEP Priority Compounds Detected in Pilot Study |  | Total # Compounds Detected in Pilot Study |  | Total # Compounds with V or G Qualified Data |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | POCIS | Grab | POCIS | Grab | POCIS | Grab |
| ANEG | 12 | 8 (67%) | 3 | 2 | 3 | 2 | 0 | 0 |
| APOS | 46 | 6 (13%) | 5 | 4 | 12 | 7 | 0 | 0 |
| APOSX | 32 | 4 (13%) | 3 | 2 | 10 | 6 | 0 | 1 |
| APOSY | 23 | 0 (0%) | 0 | 0 | 1 | 4 | 0 | 0 |
| BPOS | 14 | 3 (21%) | 3 | 2 | 5 | 5 | 1 | 2 |

- Most DEP priority compounds (9 of the 15 that were detected) were detected in Grab and POCIS.  5 DEP priority compounds were only detected in POCIS.  1 DEP priority compound was only detected in Grab.

| Sampling Method | # DEP Priority Compounds Detected | Total # Compounds Detected |
| --- | --- | --- |
| POCIS & Grab | 9 | 16 |
| POCIS Only | 5 | 15 |
| Grab Only | 1 | 8 |
| Total | 15 | 39 |

- 2 DEP priority compounds detected at all sites (N = 4):  sulfamethoxazole (POCIS and Grab) and carbamazepine (POCIS).  An additional 5 non-priority compounds detected at all sites (N = 4.

In table below, yellow highlighting indicates compound detected at all site (N=4) using the specified sampling method.  Percentage in parentheses represents portion of data qualified due to blank detections.  V indicates data qualified due to detection in lab blank.  G indicates data qualified due to detection in field blank. Dark gray indicates compound was not detected at any sites using the specified sampling method.

| Compound (* = DEP Priority) | List | POCIS # Sites with Detects | Grab # Sites with Detects |  | Compound (* = DEP Priority) | List | POCIS # Sites with Detects | Grab # Sites with Detects |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Alprazolam | APOSX | 4 |  |  | Gemfibrozil* | ANEG | 3 |  |
| Amitriptyline | APOSX | 2 | 4 |  | Hydrochlorothiazide* | ANEG | 1 |  |
| Amphetamine | BPOS | 4 (100% VG**) | 4 (100% VG) |  | Hydrocodone | BPOS | 3 |  |
| Atenolol* | BPOS | 2 | 3 |  | Iopamidol | APOSY |  | 3 |
| Azithromycin | APOS | 1 |  |  | Meprobamate | APOSX |  | 2 |
| Caffeine | APOS |  | 2 |  | Metformin | BPOS |  | 3 (100% G) |
| Carbamazepine* | APOS | 4 | 3 |  | Metoprolol* | APOSX | 3 |  |
| Clarithromycin | APOS | 1 |  |  | Naproxen* | ANEG | 3 | 3 |
| Cocaine | APOSX | 3 | 2 |  | Oxolinic Acid | APOS | 1 | 1 |
| Colchicine | APOSY |  | 2 |  | Oxycodone* | BPOS | 3 |  |
| Cotinine | BPOS |  | 2 |  | Propoxyphene | APOSX | 1 |  |
| DEET | APOSX | 4 | 4 (50% VG) |  | Sertraline* | APOSX | 1 | 1 |
| Dehydronifedipine | APOS | 1 | 1 |  | Sulfadimethoxine | APOS | 1 |  |
| Desmethyldiltiazem | APOSX | 2 |  |  | Sulfamethazine | APOS | 1 |  |
| Diatrizoic acid | APOSY |  | 2 |  | Sulfamethoxazole* | APOS | 4 | 4 |
| Diazepam | APOSX | 1 |  |  | Triamterene* | BPOS | 3 | 1 |
| Diltiazem* | APOS | 2 | 1 |  | Trimethoprim* | APOS | 3 |  |
| Diphenhydramine* | APOS | 1 | 1 |  | Valsartan* | APOSX | 2 | 1 |
| Erythromycin-H2O | APOS | 4 |  |  | Venlafaxine | APOSY | 3 | 2 |
| Furosemide* | ANEG |  | 1 |  |  |  |  |  |

**Presence uncertain due to high analyte concentration in blanks. (Blank value > 90% of sample value for all sites with detections.)