## Slide 1
2,4'-DDD
4,4'-DDD
2,4'-DDE
4,4'-DDE
4,4'-DDT
Alachlor
Aldrin
alpha-Endosulphan
beta-Endosulphan
Endosulphan Sulphate
Ametryn
Atrazine
Desethylatrazine
Chlordane, alpha (cis)
Chlordane, gamma (trans)
Chlordane, oxy-
Chlorpyriphos
Diazinon
Dieldrin
Dimethenamid
Endrin
Endrin Ketone
Ethalfluralin
Flufenacet
Flutriafol
HCH, alpha
HCH, beta
HCH, delta
HCH, gamma
Heptachlor
Heptachlor Epoxide
Hexachlorobenzene
Hexazinone
Metolachlor
Mirex
Nonachlor, cis-
Nonachlor, trans-
Pendimethalin
Quintozene
Simazine
Tebuconazol
Trifluralin
Analyzed Pilot Study Samples for 76 Pesticide Compounds
42 Pesticide Compounds Detected
At one or more sites, in at least one matrix (POCIS, SPMD, or Grab)

## Slide 2
Pesticide Detections at Alafia River Analyzed by SGS Analytical
No. of Pesticides Detected by Sample Type
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 8 | 4 | 0 | 18 | 0 | 2 | 6
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 8 | 4 | 0 | 18 | 0 | 2 | 6
Pesticides Detected by Sample Type

## Slide 3
Pesticide Detections at Ochlockonee River Analyzed by SGS Analytical
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 13 | 5 | 2 | 8 | 0 | 4 | 3
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 13 | 5 | 2 | 8 | 0 | 4 | 3
No. of Pesticides Detected by Sample Type
Pesticides Detected by Sample Type

## Slide 4
Pesticide Detections at Apalachicola River Analyzed by SGS Analytical
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 12 | 4 | 0 | 11 | 2 | 5 | 3
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 12 | 4 | 0 | 11 | 2 | 5 | 3
No. of Pesticides Detected by Sample Type
Pesticides Detected by Sample Type

## Slide 5
Pesticide Detections at Withlacoochee River Analyzed by SGS Analytical
No. of Pesticides Detected by Sample Type
Pesticides Detected by Sample Type
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 9 | 7 | 1 | 14 | 0 | 2 | 3
Chart: 
| POCIS, SPMD, Grab | POCIS & SPMD | POCIS only | SPMD only | Grab only | Grab & SPMD | Grab & POCIS
 | 9 | 7 | 1 | 14 | 0 | 2 | 3

## Slide 6
Total No. Undetects, Detects, Not Quantifiable by Matrix
No. Pesticides Detected by Sample Type At Each Site
Pesticides Detected at Every Site (n = 4) by Matrix

## Slide 7
18 of the 42 pesticide compounds detected, were also detected in lab blanks or field blanks at concentrations that required data from at least one site to be qualified.