## Basic-One
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 10.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 20.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  |  | 4.76 | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 30
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 40.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 50.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 60.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 70
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 80
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 68.2 | 14 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 90
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 100
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 110
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 120
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 87.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1010.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 120 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1020
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | D11-Glipizide |  |  |  |  | 77.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1030.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | D3-Glyburide |  |  |  |  | 89 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1040.1
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 99.6 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1050
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 72.2 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1060
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 76.6 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1070
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 118 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1080
SP-WITHLAC | L27159-1 | 2017-05-05 07:46 | Pharmaceutical | D5-Warfarin |  |  |  |  | 46.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1090
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 10.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 20.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  |  | 15.8 | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 30
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 40.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 50.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  |  | 50.6 | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 60.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 70
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 80
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 81.6 | 22.4 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 90
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 100
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 110
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 120
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 97.7 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1010.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 115 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1020
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | D11-Glipizide |  |  |  |  | 80 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1030.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | D3-Glyburide |  |  |  |  | 87.2 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1040.1
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 100 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1050
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 64 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1060
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 74 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1070
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 101 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1080
SP-OCHLCK | L27159-2 | 2017-05-05 08:06 | Pharmaceutical | D5-Warfarin |  |  |  |  | 44.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1090
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 10.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 20.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 30
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 40.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 50.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 60.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 70
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 80
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 90
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 100
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 110
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 120
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 87.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1010.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 116 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1020
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | D11-Glipizide |  |  |  |  | 84.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1030.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | D3-Glyburide |  |  |  |  | 99.8 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1040.1
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 97.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1050
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 71.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1060
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 85.2 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1070
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 125 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1080
SP-ALAFIA | L27159-3 | 2017-05-05 08:27 | Pharmaceutical | D5-Warfarin |  |  |  |  | 68.8 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1090
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 10.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 20.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  |  | 5.08 | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 30
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 40.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 50.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 60.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 70
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 80
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 88 | 11.7 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 90
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 100
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 110
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 120
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 85.1 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1010.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 98.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1020
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | D11-Glipizide |  |  |  |  | 72.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1030.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | D3-Glyburide |  |  |  |  | 81.4 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1040.1
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 80.6 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1050
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 67.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1060
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 68.9 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1070
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 103 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1080
SP-APALACH | L27159-4 | 2017-05-05 08:47 | Pharmaceutical | D5-Warfarin |  |  |  |  | 55.5 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | POCIS | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1090
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 10.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 20.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 30
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 40.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 50.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 60.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 70
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 80
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 90
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 100
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 110
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | REG | 120
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 91 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1010.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 105 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1020
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | D11-Glipizide |  |  |  |  | 97.8 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1030.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | D3-Glyburide |  |  |  |  | 90.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1040.1
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 99.2 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1050
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 108 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1060
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 113 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1070
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 134 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1080
QA/QC BLANK PASSIVE FIELD | L27159-5 | 2017-05-05 07:25 | Pharmaceutical | D5-Warfarin |  |  |  |  | 121 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | BLANK | AXYS METHOD MLA-075 Rev 06 | WG59358 | SA | SURR | 1090
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 1000 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 10.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 80 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 20.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 30
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 12 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 40.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 50.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 40 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 60.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 160 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 70
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 30 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 80
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 90
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 6 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 100
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 120 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 110
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 3 | ng/disk |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | REG | 120
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 97.8 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1010.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 117 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1020
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | D11-Glipizide |  |  |  |  | 94.1 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1030.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | D3-Glyburide |  |  |  |  | 94.3 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1040.1
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 102 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1050
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 91 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1060
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 117 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1070
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 141 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1080
Lab Blank | WG59358-101 | 2017-05-05 07:04 | Pharmaceutical | D5-Warfarin |  |  |  |  | 112 |  | % Recovery |  |  | 2 | DISK | 2017-05-01 | N/A | N/A | N/A | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | MB | SURR | 1090
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  |  | 112 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 10.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Furosemide | 54-31-9 |  |  |  | 101 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 20.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  |  | 95.1 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 30
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Glipizide | 29094-61-9 |  |  |  | 99.5 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 40.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Glyburide | 10238-21-8 |  |  |  | 94.2 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 50.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  |  | 104 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 60.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  |  | 99.1 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 70
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  |  | 93.9 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 80
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 95 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 90
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Triclocarban | 101-20-2 |  |  |  | 93.5 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 100
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Triclosan | 3380-34-5 |  |  |  | 125 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 110
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | Warfarin | 81-81-2 |  |  |  | 106 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | REG | 120
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 88.7 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1010.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 121 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1020
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | D11-Glipizide |  |  |  |  | 101 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1030.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | D3-Glyburide |  |  |  |  | 98.9 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1040.1
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 107 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1050
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 93.7 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1060
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 107 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1070
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 79.1 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1080
Spiked Matrix | WG59358-102 | 2017-05-05 06:03 | Pharmaceutical | D5-Warfarin |  |  |  |  | 110 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | N/A | AXYS METHOD MLA-075 Rev 06 | WG59358 | OPR | SURR | 1090