## Basic-One
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 17.6 | 1.98 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 2.49 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 107 | 3.56 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.298 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 63.3 |  | % Recovery | 0.1 | 0.864 | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
QA/QC BLANK DAY ZERO | L27158-1 | 2017-05-17 11:44 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 47.7 |  | % Recovery | 0.16 | 1.326 | 2 | TUBE | 2017-05-03 | 2017-04-19 | N/A | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 34.6 | 1.64 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 3.55 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 60.3 | 5.23 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 1.17 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 76.4 |  | % Recovery | 0.1 | 0.864 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
SP-WITHLAC | L27158-2 | 2017-05-17 12:54 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 61 |  | % Recovery | 0.16 | 1.324 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 15:30 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  | B | 7.32 | 2.38 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 3.66 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 61.2 | 6.79 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.948 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 92.3 |  | % Recovery | 0.1 | 0.864 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
SP-OCHLCK | L27158-3 | 2017-05-17 13:29 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 70.5 |  | % Recovery | 0.17 | 1.324 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-17 12:40 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 30.5 | 1.62 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 4.95 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 70.6 | 10.7 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.975 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 80.6 |  | % Recovery | 0.1 | 0.863 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
SP-ALAFIA | L27158-4 | 2017-05-17 14:04 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 62.9 |  | % Recovery | 0.17 | 1.322 | 2 | TUBE | 2017-05-03 | 2017-04-19 | 2017-04-18 09:58 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 62.8 | 1.39 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 6.72 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 123 | 7.67 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.341 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 87.8 |  | % Recovery | 0.1 | 0.863 | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
SP-APALACH | L27158-5 | 2017-05-17 14:40 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 64.8 |  | % Recovery | 0.17 | 1.321 | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:45 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 34 | 1.13 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 100
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 2.54 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 200
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 84.4 | 3.7 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SUM | 300
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.355 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | REG | 400
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 87.9 |  | % Recovery | 0.1 | 0.864 | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1000
QA/QC BLANK PASSIVE FIELD | L27158-6 | 2017-05-17 12:19 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 65 |  | % Recovery | 0.16 | 1.325 | 2 | TUBE | 2017-05-03 | 2017-04-20 | 2017-04-17 10:46 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | SA | SURR | 1010
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 1.57 | 1.51 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | SUM | 100
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.12 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | SUM | 200
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 2.87 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | SUM | 300
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.312 | ng/TUBE |  |  | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | REG | 400
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 92.7 |  | % Recovery | 0.1 | 0.865 | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | SURR | 1000
Lab Blank | WG59423-101 | 2017-05-17 11:09 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 60 |  | % Recovery | 0.16 | 1.327 | 2 | TUBE | 2017-05-03 | N/A | N/A | N/A | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | MB | SURR | 1010
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 98.4 |  | % Recovery |  |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | SUM | 100
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  |  | 97.5 |  | % Recovery |  |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | SUM | 200
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 128 |  | % Recovery |  |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | SUM | 300
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  |  | 99.7 |  | % Recovery | 0.05 |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | REG | 400
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 71.7 |  | % Recovery | 0.1 |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | SURR | 1000
Spiked Matrix | WG59423-102 | 2017-05-17 09:59 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 58.6 |  | % Recovery | 0.16 |  |  |  | 2017-05-03 | N/A | N/A |  | SPMD | AXYS METHOD MLA-004 Rev 07 | WG59423 | OPR | SURR | 1010