Alicia Wilson

Florida Dept of Environmental Protection

Prep Date:   02 May 2014  2ug Dibenz[a,h]Anthracene-d14 + 10ug Anthracene-d10/Fluoranthened10        (pg 241B)

Anthracene-d10

Chem Service

Lot 289400 [2000ug/mL]

50uL  50mL UHP triolein (Feb 2014)

Fluoranthene-d10

Chem Service

Lot 812200  [2000ug/mL]

50uL  50mL UHP triolein (Feb 2014)

Dibenz[a,h]Anthracene-d14

Cambridge Isotope Lab

{200ug/mL]  Lot SCJL008

0.500mL  50mL UHP Triolein (Feb 2014)

MICROPIPETTOR CALIBRATION

Date:   28 April 2014

Average:  0.915g  RSD:  0.081%  n=10