## Basic-One
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 8.85 | 0.998 | ng/L |  |  | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 100
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.49 | ng/L |  |  | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 200
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 9.46 | ng/L |  |  | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 300
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.353 | ng/L |  |  | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | REG | 400
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 77.1 |  | % Recovery | 0.1 | 0.864 | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1000
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 16:43 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 21.1 |  | % Recovery | 0.17 | 1.327 | 0.913 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1010
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 2.26 | 2.22 | ng/L |  |  | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 100
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.84 | ng/L |  |  | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 200
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 3.5 | ng/L |  |  | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 300
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.259 | ng/L |  |  | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | REG | 400
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 73.4 |  | % Recovery | 0.1 | 0.864 | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1000
SP-WITHLAC | L27146-2 | 2017-05-04 17:18 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 46.9 |  | % Recovery | 0.17 | 1.327 | 0.9 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1010
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 30.9 | 1.78 | ng/L |  |  | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 100
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.29 | ng/L |  |  | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 200
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 4.14 | ng/L |  |  | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 300
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.544 | ng/L |  |  | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | REG | 400
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 60.7 |  | % Recovery | 0.1 | 0.865 | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1000
SP-OCHLCK | L27146-3 | 2017-05-04 17:53 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 40.3 |  | % Recovery | 0.17 | 1.328 | 0.888 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1010
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 12.6 | 1.38 | ng/L |  |  | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 100
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.32 | ng/L |  |  | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 200
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 3.61 | ng/L |  |  | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 300
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.561 | ng/L |  |  | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | REG | 400
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 72.6 |  | % Recovery | 0.1 | 0.865 | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1000
SP-APALACH | L27146-4 | 2017-05-04 18:28 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 45.7 |  | % Recovery | 0.17 | 1.328 | 0.915 | L | 2017-04-21 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1010
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 2.18 | 1.19 | ng/L |  |  | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 100
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.17 | ng/L |  |  | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 200
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 4.9 | ng/L |  |  | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SUM | 300
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.27 | ng/L |  |  | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | REG | 400
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 70.9 |  | % Recovery | 0.1 | 0.865 | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1000
SP-ALAFIA | L27146-5 | 2017-05-04 19:03 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 23.5 |  | % Recovery | 0.17 | 1.327 | 0.95 | L | 2017-04-21 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | SA | SURR | 1010
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 11.9 | 0.877 | ng/L |  |  | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | SUM | 100
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  | U |  | 1.36 | ng/L |  |  | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | SUM | 200
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  | U |  | 7.08 | ng/L |  |  | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | SUM | 300
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  | U |  | 0.213 | ng/L |  |  | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | REG | 400
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 64.7 |  | % Recovery | 0.1 | 0.864 | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | SURR | 1000
Lab Blank | WG59338-101 | 2017-05-04 16:08 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 18 |  | % Recovery | 0.17 | 1.327 | 1 | L | 2017-04-21 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | MB | SURR | 1010
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 4-Nonylphenols | 84852-15-3 |  |  |  | 103 |  | % Recovery |  |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | SUM | 100
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 4-Nonylphenol monoethoxylates |  |  |  |  | 111 |  | % Recovery |  |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | SUM | 200
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 4-Nonylphenol diethoxylates |  |  |  |  | 143 |  | % Recovery |  |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | SUM | 300
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 4-n-Octylphenol | 1806-26-4 |  |  |  | 108 |  | % Recovery | 0.06 |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | REG | 400
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 13C6-4-n-Nonylphenol |  |  |  |  | 65.8 |  | % Recovery | 0.1 |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | SURR | 1000
Spiked Matrix | WG59338-102 | 2017-05-04 14:57 | ALKYLPHENOLS | 13C6-NP2EO |  |  |  |  | 35.6 |  | % Recovery | 0.17 |  |  |  | 2017-04-21 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-004 Rev 07 | WG59338 | OPR | SURR | 1010