## Basic-One
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFHpA | 120885-29-2 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFOA | 45285-51-6 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 2.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 2.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 2.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1.01 | ng/L |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C4-PFBA |  |  |  |  | 114 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C2-PFHxA |  |  |  |  | 111 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C2-PFOA |  |  |  |  | 112 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C5-PFNA |  |  |  |  | 110 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C2-PFDA |  |  |  |  | 95.6 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C2-PFDoA |  |  |  |  | 122 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C4-PFOS |  |  |  |  | 122 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 18O2-PFHxS |  |  |  |  | 104 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
QA/ QC BLANK SW FIELD | L27146-1 i | 2017-05-02 13:00 | FC_LC | 13C8-PFOSA |  |  |  |  | 113 |  | % Recovery |  |  | 0.497 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFHpA | 120885-29-2 |  |  | U |  | 1.93 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFOA | 45285-51-6 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 2.1 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 2.1 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 2.1 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1.05 | ng/L |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C4-PFBA |  |  |  |  | 44 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C2-PFHxA |  |  |  |  | 69.9 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C2-PFOA |  |  |  |  | 119 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C5-PFNA |  |  |  |  | 101 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C2-PFDA |  |  |  |  | 86.4 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C2-PFDoA |  |  |  |  | 61 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C4-PFOS |  |  |  |  | 83.9 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 18O2-PFHxS |  |  |  |  | 97.8 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-WITHLAC | L27146-2 i | 2017-05-02 13:21 | FC_LC | 13C8-PFOSA |  |  |  |  | 102 |  | % Recovery |  |  | 0.477 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFBA | 45048-62-2 |  |  |  | 2.03 | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1.38 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHpA | 120885-29-2 |  |  | U |  | 1.09 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOA | 45285-51-6 |  |  | U |  | 1.5 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 0.983 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C4-PFBA |  |  |  |  | 40.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFHxA |  |  |  |  | 68.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFOA |  |  |  |  | 126 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C5-PFNA |  |  |  |  | 89.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFDA |  |  |  |  | 83.4 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C2-PFDoA |  |  |  |  | 75.9 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C4-PFOS |  |  |  |  | 88.7 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 18O2-PFHxS |  |  |  |  | 87.2 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-OCHLCK | L27146-3 i | 2017-05-02 13:43 | FC_LC | 13C8-PFOSA |  |  |  |  | 92.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFPeA | 45167-47-3 |  |  |  | 1.58 | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFHxA | 92612-52-7 |  |  |  | 2.03 | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFHpA | 120885-29-2 |  |  |  | 2.46 | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFOA | 45285-51-6 |  |  |  | 2.96 | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 2.02 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 2.02 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 2.02 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1.01 | ng/L |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C4-PFBA |  |  |  |  | 52.1 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C2-PFHxA |  |  |  |  | 72.2 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C2-PFOA |  |  |  |  | 125 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C5-PFNA |  |  |  |  | 95.4 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C2-PFDA |  |  |  |  | 81.8 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C2-PFDoA |  |  |  |  | 79.2 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C4-PFOS |  |  |  |  | 88.2 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 18O2-PFHxS |  |  |  |  | 91.2 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-APALACH | L27146-4 i | 2017-05-02 14:04 | FC_LC | 13C8-PFOSA |  |  |  |  | 99.9 |  | % Recovery |  |  | 0.496 | L | 2017-05-01 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFBA | 45048-62-2 |  |  |  | 1.72 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 10
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFPeA | 45167-47-3 |  |  |  | 2.46 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 20
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHxA | 92612-52-7 |  |  |  | 3.04 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 30
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHpA | 120885-29-2 |  |  |  | 2.06 | 1.41 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 40
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOA | 45285-51-6 |  |  |  | 4.1 | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 50.1
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 60
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 70
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 80
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 90
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFBS | 45187-15-3 |  |  |  | 4.32 | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 110.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 120.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOS | 45298-90-6 |  |  |  | 5.62 | 1.97 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 130.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 0.984 | ng/L |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | REG | 150
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C4-PFBA |  |  |  |  | 61.2 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1000
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFHxA |  |  |  |  | 91 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1010
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFOA |  |  |  |  | 122 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1020
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C5-PFNA |  |  |  |  | 101 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1030
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFDA |  |  |  |  | 81.3 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1040
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C2-PFDoA |  |  |  |  | 79.6 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1050
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C4-PFOS |  |  |  |  | 90.5 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1070.3
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 18O2-PFHxS |  |  |  |  | 92.4 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1080.1
SP-ALAFIA | L27146-5 i | 2017-05-02 14:25 | FC_LC | 13C8-PFOSA |  |  |  |  | 98.8 |  | % Recovery |  |  | 0.508 | L | 2017-05-01 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | SA | SURR | 1100
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFBA | 45048-62-2 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 10
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFPeA | 45167-47-3 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 20
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFHxA | 92612-52-7 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 30
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFHpA | 120885-29-2 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 40
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFOA | 45285-51-6 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 50.1
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFNA | 72007-68-2 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 60
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFDA | 73829-36-4 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 70
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFUnA | 196859-54-8 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 80
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFDoA | 171978-95-3 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 90
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFBS | 45187-15-3 |  |  | U |  | 2 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 110.3
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFHxS | 108427-53-8 |  |  | U |  | 2 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 120.3
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFOS | 45298-90-6 |  |  | U |  | 2 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 130.3
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | PFOSA | 754-91-6 |  |  | U |  | 1 | ng/L |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | REG | 150
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C4-PFBA |  |  |  |  | 94.6 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1000
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C2-PFHxA |  |  |  |  | 102 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1010
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C2-PFOA |  |  |  |  | 114 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1020
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C5-PFNA |  |  |  |  | 101 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1030
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C2-PFDA |  |  |  |  | 92.5 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1040
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C2-PFDoA |  |  |  |  | 109 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1050
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C4-PFOS |  |  |  |  | 102 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1070.3
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 18O2-PFHxS |  |  |  |  | 108 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1080.1
Lab Blank | WG59075-101 i | 2017-05-02 12:39 | FC_LC | 13C8-PFOSA |  |  |  |  | 113 |  | % Recovery |  |  | 0.5 | L | 2017-05-01 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | MB | SURR | 1100
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFBA | 45048-62-2 |  |  |  | 84.8 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 10
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFPeA | 45167-47-3 |  |  |  | 80.6 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 20
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFHxA | 92612-52-7 |  |  |  | 88.8 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 30
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFHpA | 120885-29-2 |  |  |  | 77 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 40
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFOA | 45285-51-6 |  |  |  | 92.8 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 50.1
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFNA | 72007-68-2 |  |  |  | 91.5 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 60
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFDA | 73829-36-4 |  |  |  | 96.5 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 70
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFUnA | 196859-54-8 |  |  |  | 86.1 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 80
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFDoA | 171978-95-3 |  |  |  | 90.9 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 90
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFBS | 45187-15-3 |  |  |  | 83.9 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 110.3
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFHxS | 108427-53-8 |  |  |  | 80 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 120.3
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFOS | 45298-90-6 |  |  |  | 97.6 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 130.3
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | PFOSA | 754-91-6 |  |  |  | 75.8 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | REG | 150
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C4-PFBA |  |  |  |  | 108 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1000
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C2-PFHxA |  |  |  |  | 113 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1010
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C2-PFOA |  |  |  |  | 111 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1020
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C5-PFNA |  |  |  |  | 104 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1030
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C2-PFDA |  |  |  |  | 97.2 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1040
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C2-PFDoA |  |  |  |  | 118 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1050
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C4-PFOS |  |  |  |  | 93.3 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1070.3
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 18O2-PFHxS |  |  |  |  | 111 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1080.1
Spiked Matrix | WG59075-102 i | 2017-05-02 11:56 | FC_LC | 13C8-PFOSA |  |  |  |  | 110 |  | % Recovery |  |  |  |  | 2017-05-01 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-060 Rev 11 | WG59075 | OPR | SURR | 1100