## Basic-One
SAMPLE_NO | AXYS_ID | ANALYSIS_DATE | ANALYSIS | COMPOUND | CAS_NO | IUPAC_NO | COELUTIONS | LAB_FLAG | CONC_FOUND | DETECTION_LIMIT | UNIT | ION_ABUNDANCE_RATIO | RRT | SAMPLE_SIZE | SAMPLE_SIZE_UNIT | EXTRACTION_DATE | RECEIVED_DATE | COLLECTION_DATE | PROJECT_ID | MATRIX | METHOD | WORKGROUP | SAMPLE_TYPE | ANALYTE_TYPE | ORDER
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 511 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 10.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 40.9 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 20.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.53 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 30
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 6.14 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 40.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 3.07 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 50.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 20.5 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 60.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 81.8 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 70
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 15.3 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 80
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 3.07 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 90
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 3.07 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 100
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 61.4 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 110
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.53 | ng/L |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 120
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 89.2 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1010.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 124 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1020
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | D11-Glipizide |  |  |  |  | 98.9 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1030.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | D3-Glyburide |  |  |  |  | 104 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1040.1
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 102 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1050
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 66.9 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1060
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 56.3 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1070
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 107 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1080
QA/ QC BLANK SW FIELD | L27146-1 | 2017-05-04 05:10 | Pharmaceutical | D5-Warfarin |  |  |  |  | 119 |  | % Recovery |  |  | 0.978 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1090
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 514 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 10.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Furosemide | 54-31-9 |  |  |  | 50.7 | 48 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 20.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.54 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 30
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 6.16 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 40.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 3.08 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 50.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 20.5 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 60.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 82.2 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 70
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 15.4 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 80
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 24.4 | 20.1 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 90
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 3.08 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 100
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 61.6 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 110
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.54 | ng/L |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 120
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 81.9 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1010.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 144 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1020
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | D11-Glipizide |  |  |  |  | 76.2 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1030.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | D3-Glyburide |  |  |  |  | 99.7 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1040.1
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 121 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1050
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 64.9 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1060
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 55.3 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1070
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 120 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1080
SP-WITHLAC | L27146-2 | 2017-05-04 05:31 | Pharmaceutical | D5-Warfarin |  |  |  |  | 55.1 |  | % Recovery |  |  | 0.974 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 15:10 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1090
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 516 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 10.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 43.4 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 20.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.55 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 30
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 6.19 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 40.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 3.1 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 50.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 20.6 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 60.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 82.6 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 70
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 15.5 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 80
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 15.9 | 10 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 90
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 3.1 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 100
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 61.9 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 110
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.55 | ng/L |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 120
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 68.3 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1010.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 122 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1020
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | D11-Glipizide |  |  |  |  | 72.4 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1030.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | D3-Glyburide |  |  |  |  | 89.7 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1040.1
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 98 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1050
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 65.7 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1060
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 46.6 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1070
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 85 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1080
SP-OCHLCK | L27146-3 | 2017-05-04 05:52 | Pharmaceutical | D5-Warfarin |  |  |  |  | 49.3 |  | % Recovery |  |  | 0.969 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 12:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1090
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 532 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 10.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 52.1 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 20.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.6 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 30
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 6.38 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 40.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 3.19 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 50.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 21.3 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 60.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 85.1 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 70
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 16 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 80
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 15.7 | 10.4 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 90
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 3.19 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 100
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 63.8 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 110
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.6 | ng/L |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 120
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 55.2 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1010.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 102 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1020
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | D11-Glipizide |  |  |  |  | 69.3 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1030.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | D3-Glyburide |  |  |  |  | 87.4 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1040.1
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 86.8 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1050
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 47.8 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1060
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 44.2 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1070
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 98.3 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1080
SP-APALACH | L27146-4 | 2017-05-04 06:12 | Pharmaceutical | D5-Warfarin |  |  |  |  | 59.5 |  | % Recovery |  |  | 0.94 | L | 2017-04-25 | 2017-04-18 | 2017-04-17 09:55 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1090
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 497 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 10.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 47.4 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 20.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.49 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 30
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 5.96 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 40.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 2.98 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 50.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 19.9 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 60.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 79.5 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 70
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  | U |  | 14.9 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 80
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 8.09 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 90
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 2.98 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 100
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 59.6 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 110
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.49 | ng/L |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | REG | 120
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 56.7 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1010.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 100 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1020
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | D11-Glipizide |  |  |  |  | 73.9 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1030.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | D3-Glyburide |  |  |  |  | 84.6 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1040.1
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 84.5 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1050
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 57.3 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1060
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 45.7 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1070
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 77.8 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1080
SP-ALAFIA | L27146-5 | 2017-05-04 06:33 | Pharmaceutical | D5-Warfarin |  |  |  |  | 62.7 |  | % Recovery |  |  | 1.01 | L | 2017-04-25 | 2017-04-19 | 2017-04-18 10:15 | FL DEP EMERGING CONTAMINANTS ESOC PILOT | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | SA | SURR | 1090
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  | U |  | 500 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 10.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Furosemide | 54-31-9 |  |  | U |  | 47.1 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 20.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  | U |  | 1.5 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 30
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Glipizide | 29094-61-9 |  |  | U |  | 6 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 40.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Glyburide | 10238-21-8 |  |  | U |  | 3 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 50.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  | U |  | 20 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 60.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  | U |  | 80 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 70
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  |  | 47.2 | 15 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 80
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Naproxen | 22204-53-1 |  |  | U |  | 13.4 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 90
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Triclocarban | 101-20-2 |  |  | U |  | 3 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 100
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Triclosan | 3380-34-5 |  |  | U |  | 60 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 110
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | Warfarin | 81-81-2 |  |  | U |  | 1.5 | ng/L |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | REG | 120
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 67.9 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1010.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 120 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1020
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | D11-Glipizide |  |  |  |  | 96.4 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1030.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | D3-Glyburide |  |  |  |  | 117 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1040.1
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 91.1 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1050
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 47 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1060
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 55.4 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1070
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 98.9 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1080
Lab Blank | WG59329-101 | 2017-05-04 03:07 | Pharmaceutical | D5-Warfarin |  |  |  |  | 74.2 |  | % Recovery |  |  | 1 | L | 2017-04-25 | N/A | N/A | N/A | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | MB | SURR | 1090
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Bisphenol A | 80-05-7 |  |  |  | 90.8 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 10.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Furosemide | 54-31-9 |  |  |  | 96.2 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 20.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Gemfibrozil | 25812-30-0 |  |  |  | 105 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 30
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Glipizide | 29094-61-9 |  |  |  | 104 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 40.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Glyburide | 10238-21-8 |  |  |  | 111 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 50.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Hydrochlorothiazide | 58-93-5 |  |  |  | 77.1 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 60.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | 2-Hydroxy-ibuprofen | 51146-55-5 |  |  |  | 95.7 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 70
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Ibuprofen | 15687-27-1 |  |  |  | 93.4 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 80
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Naproxen | 22204-53-1 |  |  |  | 108 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 90
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Triclocarban | 101-20-2 |  |  |  | 91.6 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 100
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Triclosan | 3380-34-5 |  |  |  | 83.2 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 110
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | Warfarin | 81-81-2 |  |  |  | 106 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | REG | 120
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | D6-Bisphenol A |  |  |  |  | 90.5 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1010.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | D6-Gemfibrozil |  |  |  |  | 135 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1020
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | D11-Glipizide |  |  |  |  | 107 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1030.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | D3-Glyburide |  |  |  |  | 114 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1040.1
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | 13C3-Ibuprofen |  |  |  |  | 111 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1050
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | 13C-D3-Naproxen |  |  |  |  | 77.7 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1060
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | 13C6-Triclocarban |  |  |  |  | 59.4 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1070
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | 13C12-Triclosan |  |  |  |  | 106 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1080
Spiked Matrix | WG59329-102 | 2017-05-04 02:05 | Pharmaceutical | D5-Warfarin |  |  |  |  | 131 |  | % Recovery |  |  |  |  | 2017-04-25 | N/A | N/A |  | AQUEOUS | AXYS METHOD MLA-075 Rev 07 | WG59329 | OPR | SURR | 1090