Lessons Learned

- Highly colored waters in Florida cause interference in some test protocols that measure estrogenicity and androgenicity. Refinement of the laboratory method was recommended by University of Florida researchers.

- Some categories of compounds had high detection frequencies  in field blanks and laboratory blanks.  Evaluation of sampling methods and / or laboratory detections limits are needed to improve data quality for future projects.

- Future project objectives should determine the type of sampling device used and analyses conducted.

- Analyzing so many things at once…