## Summary
4114 - Florida Dept. of Env. Protection
Water Samples - Hold Time Guidance and Container Requirements From AXYS Methods
Analysis | Method | Hold Time | Pretreatment | Containers For Water Samples
AP | MLA-004 | 14 days from sampling * 28 days from sampling * 1 year from sampling * | Unpreserved, stored 0-4°C (dark) Adjusted to pH 2 with sulfuric acid upon receipt, stored 0-4°C (dark) Stored frozen (<-10°C, dark) | 1L amber glass
PBDE | MLA-033 | 1 year from sampling * | No preservation, stored 0-4°C (dark) | 1L amber glass
MRES | MLA-035 | Not defined, frozen storage recommended where degradation is a concern | Field preservation of 100mL dichloromethane/L sample | 1L amber glass
PFC | MLA-060 | 60 days from sampling | No preservation, stored 0-4°C (dark) | 500 mL & 60mL HDPE
HM (hi-res) | MLA-068 | 7 days from sampling ** | No preservation unless free chlorination is expected (in which case add 50mg/L of ascorbic acid), stored 0-4°C (dark) | 1L amber glass
HM (LC) | MLA-075 | 7 days from sampling *** | No preservation unless free chlorination is expected (in which case add 50mg/L of ascorbic acid), stored 0-4°C (dark) | 1L HDPE or 1L amber glass
PPCP | MLA-075 | 7 days from sampling *** | No preservation unless free chlorination is expected (in which case add 50mg/L of ascorbic acid), stored 0-4°C (dark) | 1L HDPE or 1L amber glass
* From AXYS method: There is no evidence to indicate that properly stored samples are not stable for longer periods of time.
** From AXYS method: The sample hold time is a recommended maximum hold time.
*** From AXYS method: Sample hold times are default guidelines, exceeding these default guidelines does not invalidate sample results.