## SPRG1107-B
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1374588 | 2011-09-01 16:00 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1374588 | 2011-09-01 13:07 | SM 2120 B | 2.5 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1374588 | 2011-09-11 23:11 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1374591 | 2011-09-02 14:03 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1374591 | 2011-09-07 10:43 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 | Matrix spike recovery data is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1374591 | 2011-09-07 12:08 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1374591 | 2011-09-06 14:25 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1374594 | 2011-09-01 15:39 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1374591 | 2011-09-12 23:17 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1374597 | 2011-09-07 17:11 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1374597 | 2011-09-07 17:11 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1374597 | 2011-09-07 17:11 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1374597 | 2011-09-07 17:11 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1374588 | 2011-09-09 20:59 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 | Chloride: One of the matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1374588 | 2011-09-09 20:59 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1374597 | 2011-09-07 17:11 | EPA 200.7 Rev. 4.4 | 15 | 60 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-16 |  | BLANK | BLANK | 2011-08-31 12:15 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1374588 | 2011-09-06 11:41 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1364482 | 2011-07-15 16:16 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1364482 | 2011-07-15 19:11 | SM 2120 B | 2.5 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1364482 | 2011-07-22 05:11 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1364484 | 2011-07-18 11:26 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1364484 | 2011-07-25 12:58 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1364484 | 2011-07-22 11:17 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1364484 | 2011-08-01 15:59 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1364486 | 2011-07-15 15:57 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1364484 | 2011-07-28 20:19 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1364488 | 2011-07-28 22:23 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1364488 | 2011-07-28 22:23 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1364488 | 2011-07-28 22:23 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1364488 | 2011-07-28 22:23 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1364482 | 2011-07-22 21:49 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1364482 | 2011-07-22 21:49 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1364488 | 2011-07-28 22:23 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0
SPRG1107-8 |  | BLANK | BLANK | 2011-07-14 17:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1364482 | 2011-07-19 15:16 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1107 | 0