## SPRG1210-B
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1473417 | 2012-12-14 14:26 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1463914 | 2012-10-25 12:50 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1473417 | 2012-12-14 15:07 | SM 2120 B | 2.5 | 6 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1463914 | 2012-10-25 14:16 | SM 2120 B | 2.5 | 6 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1463914 | 2012-10-26 23:24 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1473417 | 2012-12-20 19:28 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1463917 | 2012-10-29 15:07 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1473421 | 2012-12-17 14:28 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1473421 | 2012-12-20 11:49 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1463917 | 2012-10-29 16:01 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1463917 | 2012-10-26 12:24 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1473421 | 2012-12-18 13:39 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 665 | Phosphorus, Total (as P) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1463917 | 2012-11-02 16:14 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 665 | Phosphorus, Total (as P) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1473421 | 2012-12-21 16:31 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1463920 | 2012-10-25 17:07 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | O-Phosphate-P: Matrix spike recovery data is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1473425 | 2012-12-14 15:07 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 680 | Organic Carbon, Total | 0.4 | U | mg/L | DEP CENTRAL LAB | 1463917 | 2012-11-02 02:21 | SM 5310 B-00 | 0.4 | 0.8 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 680 | Organic Carbon, Total | 0.4 | U | mg/L | DEP CENTRAL LAB | 1473421 | 2012-12-20 20:38 | SM 5310 B-00 | 0.4 | 0.8 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1463923 | 2012-10-30 17:27 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1473429 | 2012-12-19 15:10 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1463923 | 2012-10-30 17:27 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1473429 | 2012-12-19 15:10 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1473429 | 2012-12-19 15:10 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1463923 | 2012-10-30 17:27 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1463923 | 2012-10-30 17:27 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1473429 | 2012-12-19 15:10 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | One of the calcium matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1463914 | 2012-10-26 20:37 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1473417 | 2012-12-19 18:17 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1463914 | 2012-10-26 20:37 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1473417 | 2012-12-19 18:17 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 1022 | Boron, Total | 2 | U | ug/L | DEP CENTRAL LAB | 1463923 | 2012-10-30 18:01 | EPA 200.8 Rev. 5.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 1022 | Boron, Total | 2 | U | ug/L | DEP CENTRAL LAB | 1473429 | 2012-12-18 20:35 | EPA 200.8 Rev. 5.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1463914 | 2012-10-30 14:28 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1473417 | 2012-12-18 13:21 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-27 |  | BLANK | BLANK | 2012-12-13 16:15 | 99937 | Sucralose | 0.0096 | U | ug/L | DEP CENTRAL LAB | 1473433 | 2012-12-17 18:53 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | DEP GW PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRG1210 | 0
SPRG1210-3 |  | BLANK | BLANK | 2012-10-24 13:00 | 99937 | Sucralose | 0.0094 | U | ug/L | DEP CENTRAL LAB | 1463926 | 2012-10-25 22:38 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | DEP GW PROTECTION SECTION | Edgar Wade/Kirstin Eller | SPRG1210 | 0