## SPRG1301-B
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1486481 | 2013-02-28 15:02 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1486481 | 2013-02-28 13:05 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-04 18:16 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 530 | Total Suspended Solids (TSS) | 2 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-01 12:31 | SM 2540 D-97 | 2 | 10 | The precision data is unavailable due to the low analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1486487 | 2013-03-05 10:27 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1486487 | 2013-03-04 15:02 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1486487 | 2013-03-04 11:50 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 665 | Phosphorus, Total (as P) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1486487 | 2013-03-04 13:09 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1486493 | 2013-02-28 15:39 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 680 | Organic Carbon, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1486487 | 2013-03-05 04:08 | SM 5310 B-00 | 0.5 | 1 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1486499 | 2013-03-08 13:35 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1486499 | 2013-03-08 13:35 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1486499 | 2013-03-08 13:35 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1486499 | 2013-03-08 13:35 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-07 00:29 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 | Chloride: One of the matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-07 00:29 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 951 | Fluoride, Total | 0.035 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-04 18:16 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 1022 | Boron, Total | 2 | U | ug/L | DEP CENTRAL LAB | 1486499 | 2013-03-07 17:57 | EPA 200.8 Rev. 5.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1486481 | 2013-03-01 12:31 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0
SPRG1301-20 |  | BLANK | BLANK | 2013-02-27 19:19 | 99937 | Sucralose | 0.0098 | U | ug/L | DEP CENTRAL LAB | 1486505 | 2013-03-07 20:01 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | DEP GW PROTECTION SECTION | Kirstin Eller, Chris Green | SPRG1301 | 0