## SPRG1304-B
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 80 | Color (true) | 2.5 | UQ | PCU | DEP CENTRAL LAB | 1500063 | 2013-05-02 10:28 | SM 2120 B | 2.5 | 6 | Sample expired prior to receipt. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 76 | Turbidity | 0.1 | UQ | ntu | DEP CENTRAL LAB | 1500063 | 2013-05-02 14:21 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 | Sample expired prior to receipt. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | UQ | mg/L | DEP CENTRAL LAB | 1500067 | 2013-05-02 15:58 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | O-Phosphate-P: The sample expired prior to receipt. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 610 | Ammonia, Total (as N) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1500065 | 2013-05-03 10:17 | EPA 350.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 530 | Total Suspended Solids (TSS) | 2 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-03 14:16 | SM 2540 D-97 | 2 | 10 | The precision data is unavailable due to the low analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-03 14:16 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-04 04:09 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-04 04:09 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1500071 | 2013-05-04 05:24 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 665 | Phosphorus, Total (as P) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1500065 | 2013-05-06 10:49 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1500065 | 2013-05-06 11:45 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1500065 | 2013-05-06 13:18 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 680 | Organic Carbon, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1500065 | 2013-05-06 16:58 | SM 5310 B-00 | 0.5 | 1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-06 22:52 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 951 | Fluoride, Total | 0.035 | U | mg/L | DEP CENTRAL LAB | 1500063 | 2013-05-06 22:52 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1500069 | 2013-05-10 15:06 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1500069 | 2013-05-10 15:06 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1500069 | 2013-05-10 15:06 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1500069 | 2013-05-10 15:06 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 1022 | Boron, Total | 2 | U | ug/L | DEP CENTRAL LAB | 1500069 | 2013-05-14 16:44 | EPA 200.8 Rev. 5.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1511096 | 2013-06-13 16:49 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1511082 | 2013-06-13 16:59 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1511082 | 2013-06-13 18:12 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 530 | Total Suspended Solids (TSS) | 2 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-17 14:28 | SM 2540 D-97 | 2 | 10 | The precision data is unavailable due to the low analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-17 14:28 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 665 | Phosphorus, Total (as P) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1511089 | 2013-06-18 12:50 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-19 04:22 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 951 | Fluoride, Total | 0.035 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-19 04:22 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1511089 | 2013-06-19 12:48 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-20 06:28 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1511082 | 2013-06-20 06:28 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1511089 | 2013-06-20 13:18 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 680 | Organic Carbon, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1511089 | 2013-06-22 02:25 | SM 5310 B-00 | 0.5 | 1 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 99937 | Sucralose | 0.0094 | U | ug/L | DEP CENTRAL LAB | 1511110 | 2013-06-24 21:18 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 | Matrix spike accuracy for sucralose could not be assessed due to high concentration of parameter in the spiked sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 610 | Ammonia, Total (as N) | 0.002 | U | mg/L | DEP CENTRAL LAB | 1511089 | 2013-06-25 19:14 | EPA 350.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1511103 | 2013-06-27 14:17 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | The sodium matrix spike recoveries are unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1511103 | 2013-06-27 14:17 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | The sodium matrix spike recoveries are unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1511103 | 2013-06-27 14:17 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | The sodium matrix spike recoveries are unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1511103 | 2013-06-27 14:17 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | The sodium matrix spike recoveries are unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0
SPRG1304-1 |  | BLANK | BLANK | 2013-04-30 08:00 | 1022 | Boron, Total | 2 | U | ug/L | DEP CENTRAL LAB | 1511103 | 2013-06-28 03:43 | EPA 200.8 Rev. 5.4 | 2 | 8 | One of the boron matrix spike recoveries is unavailable due to high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Edgar Wade/Mike Eckles | SPRG1304 | 0