## Qualifers
StationName | Station | Sample ID | [6 empty] | Qualifers to be changed for field data |  | Qualifers to be changed for lab data | [29 empty] | Q qualifers for lab data | [29 empty] | I or T Qualifer for lab data
|  |  | pH, Field | Oxygen, Dissolved, Field | Oxygen, Dissolved Percent Saturation | Water Temperature | Specific Conductance, Field | Transparency (Secchi Depth) | Sample Depth | Stream Stage | Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total | Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total | Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total
|  |  | 406 | 299 | 301 | 10 | 94 | 78 | 90068 | 65 | 76 | 80 | 410 | 610 | 625 | 630 | 665 | 671 | 680 | 916 | 927 | 929 | 937 | 940 | 945 | 1022 | 70300 | 951 | 99937
JACKSON BLUE SPRING SIPQ | 9674 | SPRS1105-1 |  |  | O |  |  | O | O |  | #N/A | [8 empty] | A ¦ | A ¦ | [5 empty] | ¦ Q, 0.0749999999970896 |  | #N/A | #N/A | #N/A | I ¦ Q, 0.0749999999970896U | A ¦ | I ¦ U | A ¦ |  |  | A ¦ |  |  | #N/A | [15 empty] | Q, 0.0749999999970896 |  | #N/A | #N/A | #N/A | Q, 0.0749999999970896 | [8 empty] | #N/A | U |  | U | U |  |  |  | U |  |  | I | I |  |  | U |  | I | #N/A | #N/A | #N/A | U |  | U |  | U | U |  | U | U
SHANGRI-LA SPRINGS SIP | 19510 | SPRS1105-2 |  |  | O |  |  | O | O |  | #N/A | [15 empty] | A ¦ | I ¦ U | #N/A | #N/A | #N/A |  |  | I ¦ U | [6 empty] | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | U |  | U | U |  |  |  | U |  |  | I | I |  |  | U |  | U | #N/A | #N/A | #N/A | U |  | U |  | U | U |  | U | U
TWIN CAVES SPRING | 30646 | SPRS1105-4 |  |  | O |  |  | O | O |  | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | U |  | U | I |  |  |  | U |  |  |  | U |  |  | I |  | I | #N/A | #N/A | #N/A | U |  | I |  | U | U |  | U | U
GATOR HOLE SPRING | 30642 | SPRS1105-3 |  |  | O |  |  | O | O |  | #N/A |  | A ¦ | [15 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | U |  | U | I |  |  |  | U |  |  |  | I |  |  | I |  | I | #N/A | #N/A | #N/A | U |  | I |  | U | U |  | U | U
HOLE IN THE WALL SPRING | 30644 | SPRS1105-6 |  |  | O |  |  | O | O |  | #N/A |  | A ¦ | [13 empty] | A ¦ |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | U |  | U | I |  |  |  | U |  |  |  | I |  |  | I |  | I | #N/A | #N/A | #N/A | U |  | I |  | U | I |  | U | U
HEIDI HOLE SPRING | 30643 | SPRS1105-5 |  |  | O |  |  | O | O |  | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | [17 empty] | #N/A | #N/A | #N/A | [9 empty] | #N/A | U |  | U | I |  |  |  | U |  |  |  | I |  |  | I |  | I | #N/A | #N/A | #N/A | I |  | I |  | U | U |  | U | I

## Summary
StationName | # of parameters |  | FIELD | [6 empty] | LAB
6 |  | SampleDate | pH, Field | Oxygen, Dissolved, Field | Oxygen, Dissolved Percent Saturation | Water Temperature | Specific Conductance, Field | Transparency (Secchi Depth) | Sample Depth | Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total
JACKSON BLUE SPRING SIPQ | 30 | 2011-04-25 12:26 | 7.6 | 7.5 | #N/A | 20.2 | 257 | #N/A | #N/A | #N/A | 5 | 118 | 0.01 | 0.08 | 3.2 | 0.022 | 0.02 | 1 | 48.8 | 2.74 | 1.8 | 0.35 | 4.4 | 1.6 | 15 | 151 | #N/A | 0.042 | #N/A | #N/A | #N/A | 4 | 7.31 | 0.25 | 6.42 | 30 | 1 | 39.9 | 5 | 5
SHANGRI-LA SPRINGS SIP | 30 | 2011-04-25 14:15 | 7.6 | 7.04 | #N/A | 20.2 | 258 | #N/A | #N/A | #N/A | 5 | 117 | 0.01 | 0.08 | 3.5 | 0.02 | 0.021 | 1 | 49.8 | 2.25 | 1.8 | 0.34 | 4.6 | 1.3 | 15 | 161 | #N/A | 0.039 | #N/A | #N/A | #N/A | 4 | 7.19 | 0.25 | 5.98 | 30 | 1 | 39 | 5 | 5
TWIN CAVES SPRING | 30 | 2011-04-26 11:56 | 7.4 | 6.21 | #N/A | 19.9 | 316 | #N/A | #N/A | #N/A | 5 | 161 | 0.01 | 0.089 | 1.5 | 0.015 | 0.015 | 1 | 55.5 | 7.35 | 2.6 | 0.3 | 5 | 2.9 | 17 | 174 | #N/A | 0.083 | #N/A | #N/A | #N/A | 4 | 8.25 | 0.46 | 12.2 | 30 | 1 | 74.8 | 5 | 5
GATOR HOLE SPRING | 30 | 2011-04-25 15:20 | 7.5 | 6.57 | #N/A | 19.5 | 319 | #N/A | #N/A | #N/A | 5 | 155 | 0.01 | 0.12 | 2.3 | 0.023 | 0.024 | 1 | 56.8 | 6.31 | 4 | 0.42 | 9.1 | 2.2 | 20 | 182 | #N/A | 0.072 | #N/A | #N/A | #N/A | 4 | 8.79 | 0.28 | 11.5 | 30 | 1 | 72.7 | 5 | 5
HOLE IN THE WALL SPRING | 30 | 2011-04-26 14:26 | 7.3 | 4.98 | #N/A | 19.6 | 293 | #N/A | #N/A | #N/A | 5 | 143 | 0.01 | 0.11 | 1.6 | 0.02 | 0.023 | 1 | 50.8 | 5.86 | 3.3 | 0.37 | 6 | 2.4 | 17 | 161 | #N/A | 0.067 | #N/A | #N/A | #N/A | 4 | 7.91 | 0.38 | 10.3 | 30 | 1.7 | 60.3 | 5 | 5
HEIDI HOLE SPRING | 30 | 2011-04-26 12:46 | 7.3 | 6.68 | #N/A | 20.4 | 342 | #N/A | #N/A | #N/A | 5 | 165 | 0.01 | 0.16 | 2.6 | 0.03 | 0.035 | 1 | 64.2 | 5.22 | 3.1 | 0.37 | 6.2 | 2.2 | 19 | 187 | #N/A | 0.099 | #N/A | #N/A | #N/A | 5 | 9.02 | 0.42 | 11.9 | 30 | 1 | 87.6 | 5 | 13

## Full Data
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 10 | Water Temperature | 19.5 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-25 15:20 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346473 | 2011-04-27 11:35 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 94 | Specific Conductance, Field | 319 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-25 15:20 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 299 | Oxygen, Dissolved, Field | 6.57 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-25 15:20 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 406 | pH, Field | 7.5 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-25 15:20 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 410 | Alkalinity, Total (as CaCO3) | 155 | A | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-06 20:55 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 530 | Total Suspended Solids (TSS) | 4 | U | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-02 14:14 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346476 | 2011-04-28 12:07 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.12 | I | mg/L | DEP CENTRAL LAB | 1346476 | 2011-05-04 13:45 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 630 | Nitrate+Nitrite, Total (as N) | 2.3 |  | mg/L | DEP CENTRAL LAB | 1346476 | 2011-04-27 15:17 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 665 | Phosphorus, Total (as P) | 0.023 |  | mg/L | DEP CENTRAL LAB | 1346476 | 2011-05-02 12:47 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 671 | Orthophosphate, Dissolved (as P) | 0.024 |  | mg/L | DEP CENTRAL LAB | 1346479 | 2011-04-26 15:31 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346476 | 2011-05-09 22:33 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 916 | Calcium, Total | 56.8 |  | mg/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 927 | Magnesium, Total | 6.31 |  | mg/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 929 | Sodium, Total | 4 |  | mg/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 937 | Potassium, Total | 0.42 | I | mg/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 940 | Chloride, Total | 9.1 |  | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-05 15:17 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 945 | Sulfate, Total | 2.2 |  | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-05 15:17 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 951 | Fluoride, Total | 0.072 | I | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-06 20:47 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 955 | Silica, Dissolved | 8.79 |  | mg/L | DEP CENTRAL LAB | 1346485 | 2011-04-27 17:18 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1002 | Arsenic, Total | 0.28 | I | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-02 19:03 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1007 | Barium, Total | 11.5 |  | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-02 19:03 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1022 | Boron, Total | 20 | I | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1055 | Manganese, Total | 1 | U | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1082 | Strontium, Total | 72.7 |  | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-05 17:54 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 1105 | Aluminum, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346482 | 2011-05-02 19:03 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-3 |  | GATOR HOLE SPRING | PRIMARY | 2011-04-25 15:20 | 70300 | Total Dissolved Solids (TDS measured) | 182 |  | mg/L | DEP CENTRAL LAB | 1346473 | 2011-05-02 14:14 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30642 | GATOR HOLE SPRING (JACKSON)
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 10 | Water Temperature | 20.4 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-26 12:46 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346987 | 2011-04-27 14:30 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 94 | Specific Conductance, Field | 342 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-26 12:46 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 299 | Oxygen, Dissolved, Field | 6.68 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-26 12:46 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 406 | pH, Field | 7.3 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-26 12:46 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 410 | Alkalinity, Total (as CaCO3) | 165 |  | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-09 23:34 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 530 | Total Suspended Solids (TSS) | 5 | I | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-02 14:14 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346991 | 2011-04-28 13:17 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.16 | I | mg/L | DEP CENTRAL LAB | 1346991 | 2011-05-05 09:46 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 630 | Nitrate+Nitrite, Total (as N) | 2.6 |  | mg/L | DEP CENTRAL LAB | 1346991 | 2011-05-02 12:17 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 665 | Phosphorus, Total (as P) | 0.03 |  | mg/L | DEP CENTRAL LAB | 1346991 | 2011-05-02 13:45 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 671 | Orthophosphate, Dissolved (as P) | 0.035 |  | mg/L | DEP CENTRAL LAB | 1346995 | 2011-04-27 15:52 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346991 | 2011-05-10 03:15 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 916 | Calcium, Total | 64.2 |  | mg/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 927 | Magnesium, Total | 5.22 |  | mg/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 929 | Sodium, Total | 3.1 |  | mg/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 937 | Potassium, Total | 0.37 | I | mg/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 940 | Chloride, Total | 6.2 |  | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-06 01:22 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 945 | Sulfate, Total | 2.2 |  | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-06 01:22 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 951 | Fluoride, Total | 0.099 | I | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-07 00:38 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 955 | Silica, Dissolved | 9.02 |  | mg/L | DEP CENTRAL LAB | 1347003 | 2011-04-27 17:34 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1002 | Arsenic, Total | 0.42 | I | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-11 19:45 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1007 | Barium, Total | 11.9 |  | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-11 19:45 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1022 | Boron, Total | 19 | I | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1055 | Manganese, Total | 1 | U | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1082 | Strontium, Total | 87.6 |  | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-12 17:33 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 1105 | Aluminum, Total | 13 | I | ug/L | DEP CENTRAL LAB | 1346999 | 2011-05-11 19:45 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-5 |  | HEIDI HOLE SPRING | PRIMARY | 2011-04-26 12:46 | 70300 | Total Dissolved Solids (TDS measured) | 187 |  | mg/L | DEP CENTRAL LAB | 1346987 | 2011-05-02 14:14 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30643 | MERRITTS MILL POND
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 10 | Water Temperature | 19.6 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-26 14:26 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346988 | 2011-04-27 14:30 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 94 | Specific Conductance, Field | 293 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-26 14:26 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 299 | Oxygen, Dissolved, Field | 4.98 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-26 14:26 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 406 | pH, Field | 7.3 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-26 14:26 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 410 | Alkalinity, Total (as CaCO3) | 143 | A | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-06 21:15 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 530 | Total Suspended Solids (TSS) | 4 | U | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-03 14:15 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346992 | 2011-04-28 13:28 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.11 | I | mg/L | DEP CENTRAL LAB | 1346992 | 2011-05-05 10:55 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 630 | Nitrate+Nitrite, Total (as N) | 1.6 |  | mg/L | DEP CENTRAL LAB | 1346992 | 2011-05-02 12:19 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 665 | Phosphorus, Total (as P) | 0.02 |  | mg/L | DEP CENTRAL LAB | 1346992 | 2011-05-02 13:51 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 671 | Orthophosphate, Dissolved (as P) | 0.023 |  | mg/L | DEP CENTRAL LAB | 1346996 | 2011-04-27 15:53 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346992 | 2011-05-10 03:31 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 916 | Calcium, Total | 50.8 |  | mg/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 927 | Magnesium, Total | 5.86 |  | mg/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 929 | Sodium, Total | 3.3 |  | mg/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 937 | Potassium, Total | 0.37 | I | mg/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 940 | Chloride, Total | 6 |  | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-05 19:35 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 945 | Sulfate, Total | 2.4 |  | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-05 19:35 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 951 | Fluoride, Total | 0.067 | I | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-06 21:08 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 955 | Silica, Dissolved | 7.91 |  | mg/L | DEP CENTRAL LAB | 1347004 | 2011-04-27 17:37 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1002 | Arsenic, Total | 0.38 | I | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-11 19:57 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1007 | Barium, Total | 10.3 |  | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-11 19:57 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1022 | Boron, Total | 17 | I | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1055 | Manganese, Total | 1.7 | I | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1082 | Strontium, Total | 60.3 |  | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-12 17:51 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 1105 | Aluminum, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1347000 | 2011-05-11 19:57 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-6 |  | HOLE IN THE WALL SPRING | PRIMARY | 2011-04-26 14:26 | 70300 | Total Dissolved Solids (TDS measured) | 161 | A | mg/L | DEP CENTRAL LAB | 1346988 | 2011-05-03 14:15 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30644 | HOLE IN THE WALL SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 10 | Water Temperature | 20.2 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-25 12:26 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346471 | 2011-04-27 11:35 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 94 | Specific Conductance, Field | 257 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-25 12:26 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 299 | Oxygen, Dissolved, Field | 7.5 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-25 12:26 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 406 | pH, Field | 7.6 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-25 12:26 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 410 | Alkalinity, Total (as CaCO3) | 118 |  | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-06 20:22 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 530 | Total Suspended Solids (TSS) | 4 | I | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-02 14:14 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346474 | 2011-04-28 11:56 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1346474 | 2011-05-04 13:44 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 630 | Nitrate+Nitrite, Total (as N) | 3.2 |  | mg/L | DEP CENTRAL LAB | 1346474 | 2011-04-27 15:15 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 665 | Phosphorus, Total (as P) | 0.022 |  | mg/L | DEP CENTRAL LAB | 1346474 | 2011-05-02 12:46 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 671 | Orthophosphate, Dissolved (as P) | 0.02 |  | mg/L | DEP CENTRAL LAB | 1346477 | 2011-04-26 15:30 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346474 | 2011-05-09 20:39 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 916 | Calcium, Total | 48.8 | A | mg/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 927 | Magnesium, Total | 2.74 | A | mg/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 929 | Sodium, Total | 1.8 | I | mg/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 937 | Potassium, Total | 0.35 | I | mg/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 940 | Chloride, Total | 4.4 |  | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-05 13:47 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 945 | Sulfate, Total | 1.6 |  | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-05 13:47 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 951 | Fluoride, Total | 0.042 | I | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-06 20:22 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 955 | Silica, Dissolved | 7.31 | A | mg/L | DEP CENTRAL LAB | 1346483 | 2011-04-27 17:11 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1002 | Arsenic, Total | 0.25 | I | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-02 18:39 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1007 | Barium, Total | 6.42 | A | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-02 18:39 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1055 | Manganese, Total | 1 | U | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1082 | Strontium, Total | 39.9 | A | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-05 16:51 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 1105 | Aluminum, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346480 | 2011-05-02 18:39 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-1 |  | JACKSON BLUE SPRING SIPQ | PRIMARY | 2011-04-25 12:26 | 70300 | Total Dissolved Solids (TDS measured) | 151 |  | mg/L | DEP CENTRAL LAB | 1346471 | 2011-05-02 14:14 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 9674 | JACKSON BLUE SPRING
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 10 | Water Temperature | 20.2 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-25 14:15 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346472 | 2011-04-27 11:35 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 94 | Specific Conductance, Field | 258 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-25 14:15 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 299 | Oxygen, Dissolved, Field | 7.04 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-25 14:15 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 406 | pH, Field | 7.6 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-25 14:15 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 410 | Alkalinity, Total (as CaCO3) | 117 |  | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-06 20:29 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 530 | Total Suspended Solids (TSS) | 4 | U | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-02 14:14 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346475 | 2011-04-28 12:05 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1346475 | 2011-05-04 13:16 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 630 | Nitrate+Nitrite, Total (as N) | 3.5 |  | mg/L | DEP CENTRAL LAB | 1346475 | 2011-04-27 15:16 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 665 | Phosphorus, Total (as P) | 0.02 |  | mg/L | DEP CENTRAL LAB | 1346475 | 2011-05-02 12:47 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 671 | Orthophosphate, Dissolved (as P) | 0.021 |  | mg/L | DEP CENTRAL LAB | 1346478 | 2011-04-26 15:31 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346475 | 2011-05-09 21:35 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 916 | Calcium, Total | 49.8 |  | mg/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 927 | Magnesium, Total | 2.25 |  | mg/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 929 | Sodium, Total | 1.8 | I | mg/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 937 | Potassium, Total | 0.34 | I | mg/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 940 | Chloride, Total | 4.6 |  | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-05 15:04 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 945 | Sulfate, Total | 1.3 |  | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-05 15:04 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 951 | Fluoride, Total | 0.039 | I | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-06 20:29 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 955 | Silica, Dissolved | 7.19 |  | mg/L | DEP CENTRAL LAB | 1346484 | 2011-04-27 17:15 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1002 | Arsenic, Total | 0.25 | I | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-02 18:57 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1007 | Barium, Total | 5.98 |  | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-02 18:57 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1055 | Manganese, Total | 1 | U | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1082 | Strontium, Total | 39 |  | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-05 17:48 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 1105 | Aluminum, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346481 | 2011-05-02 18:57 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-2 |  | SHANGRI-LA SPRINGS SIP | PRIMARY | 2011-04-25 14:15 | 70300 | Total Dissolved Solids (TDS measured) | 161 | A | mg/L | DEP CENTRAL LAB | 1346472 | 2011-05-02 14:14 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 19510 | SHANGRI-LA SPRINGS
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 10 | Water Temperature | 19.9 |  | degrees C | DEP GW PROTECTION SECTION |  | 2011-04-26 11:56 | EPA 170.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 81 | Color | 5 | U | Pt-Co | DEP CENTRAL LAB | 1346986 | 2011-04-27 14:30 | SM 2120 B | 5 | 5 | The precision data is unavailable due to the small amount of analyte in the QC sample. The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 94 | Specific Conductance, Field | 316 |  | uS/cm | DEP GW PROTECTION SECTION |  | 2011-04-26 11:56 | EPA 120.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 299 | Oxygen, Dissolved, Field | 6.21 |  | mg/L | DEP GW PROTECTION SECTION |  | 2011-04-26 11:56 | EPA 360.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 406 | pH, Field | 7.4 |  | s.u. | DEP GW PROTECTION SECTION |  | 2011-04-26 11:56 | EPA 150.1 |  |  |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 410 | Alkalinity, Total (as CaCO3) | 161 |  | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-09 23:27 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 530 | Total Suspended Solids (TSS) | 4 | U | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-02 14:14 | SM 2540 D-97 | 4 | 16 | The precision data is unavailable due to the small amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346990 | 2011-04-28 13:25 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.089 | I | mg/L | DEP CENTRAL LAB | 1346990 | 2011-05-05 10:53 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 630 | Nitrate+Nitrite, Total (as N) | 1.5 |  | mg/L | DEP CENTRAL LAB | 1346990 | 2011-05-02 12:16 | EPA 353.2 Rev. 2.0 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 665 | Phosphorus, Total (as P) | 0.015 |  | mg/L | DEP CENTRAL LAB | 1346990 | 2011-05-02 13:44 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | Total-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 671 | Orthophosphate, Dissolved (as P) | 0.015 |  | mg/L | DEP CENTRAL LAB | 1346994 | 2011-04-27 15:41 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346990 | 2011-05-10 02:58 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 916 | Calcium, Total | 55.5 |  | mg/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 927 | Magnesium, Total | 7.35 |  | mg/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 929 | Sodium, Total | 2.6 |  | mg/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 940 | Chloride, Total | 5 |  | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-06 01:09 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 945 | Sulfate, Total | 2.9 |  | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-06 01:09 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 951 | Fluoride, Total | 0.083 | I | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-06 23:56 | SM 4500 F-C-97 | 0.04 | 0.1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 955 | Silica, Dissolved | 8.25 |  | mg/L | DEP CENTRAL LAB | 1347002 | 2011-04-27 17:32 | EPA 200.7 Rev. 4.4 | 0.1 | 0.4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1002 | Arsenic, Total | 0.46 | I | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-11 19:39 | EPA 200.8 Rev. 5.4 | 0.25 | 1 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1007 | Barium, Total | 12.2 |  | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-11 19:39 | EPA 200.8 Rev. 5.4 | 0.2 | 0.8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1022 | Boron, Total | 17 | I | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1045 | Iron, Total | 30 | U | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 30 | 120 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1055 | Manganese, Total | 1 | U | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 1 | 4 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1082 | Strontium, Total | 74.8 |  | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 2 | 8 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1092 | Zinc, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-12 17:27 | EPA 200.7 Rev. 4.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 1105 | Aluminum, Total | 5 | U | ug/L | DEP CENTRAL LAB | 1346998 | 2011-05-11 19:39 | EPA 200.8 Rev. 5.4 | 5 | 20 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING
SPRS1105-4 |  | TWIN CAVES SPRING | PRIMARY | 2011-04-26 11:56 | 70300 | Total Dissolved Solids (TDS measured) | 174 |  | mg/L | DEP CENTRAL LAB | 1346986 | 2011-05-02 14:14 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Andy Roach | SPRS1105 | 30646 | TWIN CAVES SPRING

## MDL
StationName | LAB
| Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total
JACKSON BLUE SPRING SIPQ | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5
SHANGRI-LA SPRINGS SIP | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5
TWIN CAVES SPRING | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5
GATOR HOLE SPRING | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5
HOLE IN THE WALL SPRING | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5
HEIDI HOLE SPRING | #N/A | 5 | 0.65 | 0.01 | 0.08 | 0.04 | 0 | 0 | 1 | 0.08 | 0.04 | 0.5 | 0.3 | 0.2 | 0.2 | 15 | 15 |  | 0.04 | #N/A | #N/A | #N/A | 4 | 0.1 | 0.25 | 0.2 | 30 | 1 | 2 | 5 | 5

## PQL
StationName | LAB
| Turbidity | Color | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS) | Silica, Dissolved | Arsenic, Total | Barium, Total | Iron, Total | Manganese, Total | Strontium, Total | Zinc, Total | Aluminum, Total
JACKSON BLUE SPRING SIPQ | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20
SHANGRI-LA SPRINGS SIP | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20
TWIN CAVES SPRING | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20
GATOR HOLE SPRING | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20
HOLE IN THE WALL SPRING | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20
HEIDI HOLE SPRING | #N/A | 5 | 2.5 | 0.02 | 0.2 | 0.1 | 0.01 | 0.01 | 5 | 0.3 | 0.16 | 2 | 1.2 | 0.5 | 0.5 | 60 | 60 | #N/A | 0.1 | #N/A | #N/A | #N/A | 16 | 0.4 | 1 | 0.8 | 120 | 4 | 8 | 20 | 20