## Qualifers
StationName | Station | Sample ID | [6 empty] | Qualifers to be changed for field data |  | Qualifers to be changed for lab data | [21 empty] | Q qualifers for lab data | [21 empty] | I or T Qualifer for lab data
|  |  | pH, Field | Oxygen, Dissolved, Field | Oxygen, Dissolved Percent Saturation | Water Temperature | Specific Conductance, Field | Transparency (Secchi Depth) | Sample Depth | Stream Stage | Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Pheophytin-A (Monochromatic) | Biological Oxygen Demand | Chlorophyll-A (Monochromatic) | Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Pheophytin-A (Monochromatic) | Biological Oxygen Demand | Chlorophyll-A (Monochromatic) | Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Fluoride, Total | Sucralose | Pheophytin-A (Monochromatic) | Biological Oxygen Demand | Chlorophyll-A (Monochromatic)
|  |  | 406 | 299 | 301 | 10 | 94 | 78 | 90068 | 65 | 76 | 80 | 410 | 610 | 625 | 630 | 665 | 671 | 680 | 916 | 927 | 929 | 937 | 940 | 945 | 1022 | 70300 | 951 | 99937
CASSIDY SPRINGS SIP |  | SPRS1205-5 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A |  | U |  | U | U |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A
LOG SPRING |  | SPRS1205-2 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A |  |  |  |  | A ¦ | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A |  | U |  | U | U |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A
WR-1 |  | SPRS1205-1 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A | [5 empty] | U |  | I | U |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A
WR-2 |  | SPRS1205-3 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A | [5 empty] | U |  | U | I |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A
WR-3 |  | SPRS1205-6 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A | [5 empty] | U |  | I | I |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A
WR-4 |  | SPRS1205-4 | [5 empty] | O | [11 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A |  | #N/A | #N/A | #N/A | [9 empty] | #N/A | #N/A | #N/A | [5 empty] | #N/A | [5 empty] | U |  | U | I |  |  |  | U | #N/A | #N/A | #N/A | I |  |  | U |  | #N/A | U | #N/A | #N/A | #N/A

## Summary
StationName | # of parameters |  | FIELD | [6 empty] | LAB
6 |  | SampleDate | pH, Field | Oxygen, Dissolved, Field | Oxygen, Dissolved Percent Saturation | Water Temperature | Specific Conductance, Field | Transparency (Secchi Depth) | Sample Depth | Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Pheophytin-A (Monochromatic) | Biological Oxygen Demand | Chlorophyll-A (Monochromatic)
CASSIDY SPRINGS SIP | 21 | 2012-05-02 17:45 | 7.33 | 1.11 | 12.5 | 20.53 | 283 | #N/A | 9 | 0.2 | 2.5 | 157 | 0.01 | 0.08 | 0.23 | 0.046 | 0.037 | 1 | #N/A | #N/A | #N/A | 0.47 | 5.8 | 6.1 | 15 | 187 | #N/A | #N/A | 0.01 | #N/A | #N/A | #N/A
LOG SPRING | 21 | 2012-05-02 12:27 | 7.49 | 3.42 | 38.2 | 20.8 | 253 | #N/A | 5 | 0.3 | 2.5 | 140 | 0.01 | 0.08 | 0.48 | 0.033 | 0.032 | 1 | #N/A | #N/A | #N/A | 0.43 | 5.2 | 4.9 | 15 | 161 | #N/A | #N/A | 0.01 | #N/A | #N/A | #N/A
WR-1 | 24 | 2012-05-02 11:42 | 7.67 | 5.61 | 61.8 | 21.07 | 249 | #N/A | 0.6 | 0.5 | 2.5 | 139 | 0.012 | 0.08 | 0.37 | 0.034 | 0.028 | 1 | #N/A | #N/A | #N/A | 0.35 | 5.2 | 5.1 | 15 | 158 | #N/A | #N/A | 0.01 | 1.6 | 0.74 | 0.81
WR-2 | 24 | 2012-05-02 13:57 | 8.21 | 9.84 | 114.1 | 22.75 | 248 | #N/A | 1 | 0.95 | 2.5 | 135 | 0.01 | 0.16 | 0.31 | 0.04 | 0.026 | 1 | #N/A | #N/A | #N/A | 0.47 | 5.2 | 5 | 15 | 145 | #N/A | #N/A | 0.01 | 2 | 0.73 | 2.7
WR-3 | 24 | 2012-05-02 14:52 | 8.33 | 11.92 | 143.7 | 24.63 | 253 | #N/A | 0.7 | 0.4 | 2.5 | 140 | 0.011 | 0.087 | 0.12 | 0.033 | 0.028 | 1 | #N/A | #N/A | #N/A | 0.39 | 5.5 | 5.5 | 15 | 157 | #N/A | #N/A | 0.01 | 0.93 | 0.8 | 1
WR-4 | 24 | 2012-05-02 15:33 | 8.23 | 10.97 | 131.1 | 24.33 | 266 | #N/A | 0.3 | 0.55 | 2.5 | 150 | 0.01 | 0.088 | 0.13 | 0.038 | 0.032 | 1 | #N/A | #N/A | #N/A | 0.42 | 5.5 | 5.8 | 15 | 168 | #N/A | #N/A | 0.01 | 0.62 | 0.96 | 1.1

## Full Data
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 10 | Water Temperature | 20.53 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 76 | Turbidity | 0.2 |  | ntu | DEP CENTRAL LAB | 1426343 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426343 | 2012-05-03 13:10 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 94 | Specific Conductance, Field | 283 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 299 | Oxygen, Dissolved, Field | 1.11 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 301 | Oxygen, Dissolved Percent Saturation | 12.5 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 406 | pH, Field | 7.33 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 410 | Alkalinity, Total (as CaCO3) | 157 |  | mg/L | DEP CENTRAL LAB | 1426343 | 2012-05-09 22:34 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1426345 | 2012-05-03 15:36 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1426345 | 2012-05-07 15:25 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 630 | Nitrate+Nitrite, Total (as N) | 0.23 |  | mg/L | DEP CENTRAL LAB | 1426345 | 2012-05-04 13:38 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 665 | Phosphorus, Total (as P) | 0.046 |  | mg/L | DEP CENTRAL LAB | 1426345 | 2012-05-07 15:58 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 671 | Orthophosphate, Dissolved (as P) | 0.037 |  | mg/L | DEP CENTRAL LAB | 1426347 | 2012-05-03 15:17 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426345 | 2012-05-09 21:15 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 937 | Potassium, Total | 0.47 | I | mg/L | DEP CENTRAL LAB | 1426349 | 2012-05-17 16:50 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 940 | Chloride, Total | 5.8 |  | mg/L | DEP CENTRAL LAB | 1426343 | 2012-05-09 23:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 945 | Sulfate, Total | 6.1 |  | mg/L | DEP CENTRAL LAB | 1426343 | 2012-05-09 23:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426349 | 2012-05-17 16:50 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 70300 | Total Dissolved Solids (TDS measured) | 187 |  | mg/L | DEP CENTRAL LAB | 1426343 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 90068 | Sample Depth | 9 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 17:45 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-5 |  | CASSIDY SPRINGS SIP | PRIMARY | 2012-05-02 17:45 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426351 | 2012-05-05 03:39 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 10782 | CASSIDY SPRINGS
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 10 | Water Temperature | 20.8 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 76 | Turbidity | 0.3 |  | ntu | DEP CENTRAL LAB | 1426342 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426342 | 2012-05-03 13:09 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 94 | Specific Conductance, Field | 253 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 299 | Oxygen, Dissolved, Field | 3.42 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 301 | Oxygen, Dissolved Percent Saturation | 38.2 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 406 | pH, Field | 7.49 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 410 | Alkalinity, Total (as CaCO3) | 140 |  | mg/L | DEP CENTRAL LAB | 1426342 | 2012-05-09 22:26 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1426344 | 2012-05-03 15:34 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1426344 | 2012-05-07 15:23 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 630 | Nitrate+Nitrite, Total (as N) | 0.48 |  | mg/L | DEP CENTRAL LAB | 1426344 | 2012-05-04 13:36 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 665 | Phosphorus, Total (as P) | 0.033 |  | mg/L | DEP CENTRAL LAB | 1426344 | 2012-05-07 15:57 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 671 | Orthophosphate, Dissolved (as P) | 0.032 |  | mg/L | DEP CENTRAL LAB | 1426346 | 2012-05-03 15:16 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426344 | 2012-05-09 21:03 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 937 | Potassium, Total | 0.43 | I | mg/L | DEP CENTRAL LAB | 1426348 | 2012-05-17 16:40 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 940 | Chloride, Total | 5.2 |  | mg/L | DEP CENTRAL LAB | 1426342 | 2012-05-09 23:25 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 945 | Sulfate, Total | 4.9 |  | mg/L | DEP CENTRAL LAB | 1426342 | 2012-05-09 23:25 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426348 | 2012-05-17 16:40 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 70300 | Total Dissolved Solids (TDS measured) | 161 | A | mg/L | DEP CENTRAL LAB | 1426342 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 90068 | Sample Depth | 5 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 12:27 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-2 |  | LOG SPRING | PRIMARY | 2012-05-02 12:27 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426350 | 2012-05-05 02:38 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/ Gary Maddox | SPRS1205 | 43659 | LOG SPRING
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 10 | Water Temperature | 21.07 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 76 | Turbidity | 0.5 |  | ntu | DEP CENTRAL LAB | 1426306 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426306 | 2012-05-03 13:00 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 94 | Specific Conductance, Field | 249 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 299 | Oxygen, Dissolved, Field | 5.61 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 301 | Oxygen, Dissolved Percent Saturation | 61.8 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 310 | Biological Oxygen Demand | 0.74 | I | ug/L | DEP CENTRAL LAB | 1426298 | 2012-05-04 08:20 | SM 5210 B | 0.2 | 2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 406 | pH, Field | 7.67 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 410 | Alkalinity, Total (as CaCO3) | 139 |  | mg/L | DEP CENTRAL LAB | 1426306 | 2012-05-09 21:25 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 610 | Ammonia, Total (as N) | 0.012 | I | mg/L | DEP CENTRAL LAB | 1426310 | 2012-05-03 15:23 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1426310 | 2012-05-07 14:42 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 630 | Nitrate+Nitrite, Total (as N) | 0.37 |  | mg/L | DEP CENTRAL LAB | 1426310 | 2012-05-04 13:29 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 665 | Phosphorus, Total (as P) | 0.034 |  | mg/L | DEP CENTRAL LAB | 1426310 | 2012-05-07 15:44 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 671 | Orthophosphate, Dissolved (as P) | 0.028 |  | mg/L | DEP CENTRAL LAB | 1426314 | 2012-05-03 15:09 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426310 | 2012-05-09 20:01 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 937 | Potassium, Total | 0.35 | I | mg/L | DEP CENTRAL LAB | 1426318 | 2012-05-17 15:18 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 940 | Chloride, Total | 5.2 |  | mg/L | DEP CENTRAL LAB | 1426306 | 2012-05-09 21:49 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 945 | Sulfate, Total | 5.1 |  | mg/L | DEP CENTRAL LAB | 1426306 | 2012-05-09 21:49 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426318 | 2012-05-17 15:18 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 32211 | Chlorophyll-A (Monochromatic) | 0.81 | I | ug/L | DEP CENTRAL LAB | 1426302 | 2012-05-08 09:25 | SM 10200 H (mod.) | 0.55 | 1.7 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 32218 | Pheophytin-A (Monochromatic) | 1.6 |  | ug/L | DEP CENTRAL LAB | 1426302 | 2012-05-08 09:25 | SM 10200 H (mod.) | 0.4 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 70300 | Total Dissolved Solids (TDS measured) | 158 |  | mg/L | DEP CENTRAL LAB | 1426306 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 90068 | Sample Depth | 0.6 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 11:42 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-1 |  | WR-1 | PRIMARY | 2012-05-02 11:42 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426322 | 2012-05-04 02:20 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43661 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 10 | Water Temperature | 22.75 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 76 | Turbidity | 0.95 |  | ntu | DEP CENTRAL LAB | 1426307 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426307 | 2012-05-03 13:01 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 94 | Specific Conductance, Field | 248 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 299 | Oxygen, Dissolved, Field | 9.84 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 301 | Oxygen, Dissolved Percent Saturation | 114.1 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 310 | Biological Oxygen Demand | 0.73 | I | ug/L | DEP CENTRAL LAB | 1426299 | 2012-05-04 08:20 | SM 5210 B | 0.2 | 2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 406 | pH, Field | 8.21 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 410 | Alkalinity, Total (as CaCO3) | 135 |  | mg/L | DEP CENTRAL LAB | 1426307 | 2012-05-09 21:32 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1426311 | 2012-05-03 15:24 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.16 | I | mg/L | DEP CENTRAL LAB | 1426311 | 2012-05-07 15:16 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 630 | Nitrate+Nitrite, Total (as N) | 0.31 |  | mg/L | DEP CENTRAL LAB | 1426311 | 2012-05-04 13:30 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 665 | Phosphorus, Total (as P) | 0.04 |  | mg/L | DEP CENTRAL LAB | 1426311 | 2012-05-07 15:46 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 671 | Orthophosphate, Dissolved (as P) | 0.026 |  | mg/L | DEP CENTRAL LAB | 1426315 | 2012-05-03 15:09 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426311 | 2012-05-09 20:13 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 937 | Potassium, Total | 0.47 | I | mg/L | DEP CENTRAL LAB | 1426319 | 2012-05-17 15:27 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 940 | Chloride, Total | 5.2 |  | mg/L | DEP CENTRAL LAB | 1426307 | 2012-05-09 22:16 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 945 | Sulfate, Total | 5 |  | mg/L | DEP CENTRAL LAB | 1426307 | 2012-05-09 22:16 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426319 | 2012-05-17 15:27 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 32211 | Chlorophyll-A (Monochromatic) | 2.7 |  | ug/L | DEP CENTRAL LAB | 1426303 | 2012-05-08 09:25 | SM 10200 H (mod.) | 0.55 | 1.7 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 32218 | Pheophytin-A (Monochromatic) | 2 |  | ug/L | DEP CENTRAL LAB | 1426303 | 2012-05-08 09:25 | SM 10200 H (mod.) | 0.4 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 70300 | Total Dissolved Solids (TDS measured) | 145 |  | mg/L | DEP CENTRAL LAB | 1426307 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 90068 | Sample Depth | 1 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 13:57 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-3 |  | WR-2 | PRIMARY | 2012-05-02 13:57 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426323 | 2012-05-04 02:50 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43662 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 10 | Water Temperature | 24.63 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 14:52 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 76 | Turbidity | 0.4 |  | ntu | DEP CENTRAL LAB | 1426308 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426308 | 2012-05-03 13:02 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 94 | Specific Conductance, Field | 253 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 14:52 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 299 | Oxygen, Dissolved, Field | 11.92 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-12 14:52 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 301 | Oxygen, Dissolved Percent Saturation | 143.7 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 14:52 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 310 | Biological Oxygen Demand | 0.8 | I | ug/L | DEP CENTRAL LAB | 1426300 | 2012-05-04 08:20 | SM 5210 B | 0.2 | 2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 406 | pH, Field | 8.33 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 14:52 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 410 | Alkalinity, Total (as CaCO3) | 140 |  | mg/L | DEP CENTRAL LAB | 1426308 | 2012-05-09 21:57 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 610 | Ammonia, Total (as N) | 0.011 | I | mg/L | DEP CENTRAL LAB | 1426312 | 2012-05-03 15:31 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.087 | I | mg/L | DEP CENTRAL LAB | 1426312 | 2012-05-07 15:18 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 630 | Nitrate+Nitrite, Total (as N) | 0.12 |  | mg/L | DEP CENTRAL LAB | 1426312 | 2012-05-04 13:32 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 665 | Phosphorus, Total (as P) | 0.033 |  | mg/L | DEP CENTRAL LAB | 1426312 | 2012-05-07 15:53 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 671 | Orthophosphate, Dissolved (as P) | 0.028 |  | mg/L | DEP CENTRAL LAB | 1426316 | 2012-05-03 14:45 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426312 | 2012-05-09 19:36 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 937 | Potassium, Total | 0.39 | I | mg/L | DEP CENTRAL LAB | 1426320 | 2012-05-17 15:36 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 940 | Chloride, Total | 5.5 |  | mg/L | DEP CENTRAL LAB | 1426308 | 2012-05-09 22:30 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 945 | Sulfate, Total | 5.5 |  | mg/L | DEP CENTRAL LAB | 1426308 | 2012-05-09 22:30 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426320 | 2012-05-17 15:36 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 32211 | Chlorophyll-A (Monochromatic) | 1 | I | ug/L | DEP CENTRAL LAB | 1426304 | 2012-05-09 08:55 | SM 10200 H (mod.) | 0.55 | 1.7 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 32218 | Pheophytin-A (Monochromatic) | 0.93 | I | ug/L | DEP CENTRAL LAB | 1426304 | 2012-05-09 08:55 | SM 10200 H (mod.) | 0.4 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 70300 | Total Dissolved Solids (TDS measured) | 157 |  | mg/L | DEP CENTRAL LAB | 1426308 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 90068 | Sample Depth | 0.7 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 14:52 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-6 |  | WR-3 | PRIMARY | 2012-05-02 14:52 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426324 | 2012-05-04 03:21 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43663 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 10 | Water Temperature | 24.33 |  | degrees C | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 | EPA 170.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 76 | Turbidity | 0.55 |  | ntu | DEP CENTRAL LAB | 1426309 | 2012-05-03 16:30 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 80 | Color (true) | 2.5 | U | PCU | DEP CENTRAL LAB | 1426309 | 2012-05-03 13:03 | SM 2120 B | 2.5 | 6 | The precision data is unavailable due to the low analyte concentration in the QC sample. | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 94 | Specific Conductance, Field | 266 |  | uS/cm | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 | EPA 120.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 299 | Oxygen, Dissolved, Field | 10.97 |  | mg/L | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 | EPA 360.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 301 | Oxygen, Dissolved Percent Saturation | 131.1 |  | % | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 310 | Biological Oxygen Demand | 0.96 | I | ug/L | DEP CENTRAL LAB | 1426301 | 2012-05-04 08:20 | SM 5210 B | 0.2 | 2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 406 | pH, Field | 8.23 |  | s.u. | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 | EPA 150.1 |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 410 | Alkalinity, Total (as CaCO3) | 150 |  | mg/L | DEP CENTRAL LAB | 1426309 | 2012-05-09 22:04 | SM 2320 B-97 | 0.65 | 2.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1426313 | 2012-05-03 15:32 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.088 | I | mg/L | DEP CENTRAL LAB | 1426313 | 2012-05-07 15:19 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 630 | Nitrate+Nitrite, Total (as N) | 0.13 |  | mg/L | DEP CENTRAL LAB | 1426313 | 2012-05-04 13:33 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 665 | Phosphorus, Total (as P) | 0.038 |  | mg/L | DEP CENTRAL LAB | 1426313 | 2012-05-07 15:54 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 671 | Orthophosphate, Dissolved (as P) | 0.032 |  | mg/L | DEP CENTRAL LAB | 1426317 | 2012-05-03 15:10 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1426313 | 2012-05-09 20:25 | SM 5310 B-00 | 1 | 5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 937 | Potassium, Total | 0.42 | I | mg/L | DEP CENTRAL LAB | 1426321 | 2012-05-17 15:45 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 940 | Chloride, Total | 5.5 |  | mg/L | DEP CENTRAL LAB | 1426309 | 2012-05-09 23:11 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 945 | Sulfate, Total | 5.8 |  | mg/L | DEP CENTRAL LAB | 1426309 | 2012-05-09 23:11 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1426321 | 2012-05-17 15:45 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 32211 | Chlorophyll-A (Monochromatic) | 1.1 | I | ug/L | DEP CENTRAL LAB | 1426305 | 2012-05-09 08:55 | SM 10200 H (mod.) | 0.55 | 1.7 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 32218 | Pheophytin-A (Monochromatic) | 0.62 | I | ug/L | DEP CENTRAL LAB | 1426305 | 2012-05-09 08:55 | SM 10200 H (mod.) | 0.4 | 1.2 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 70300 | Total Dissolved Solids (TDS measured) | 168 |  | mg/L | DEP CENTRAL LAB | 1426309 | 2012-05-04 15:02 | SM 2540 C-97 | 15 | 25 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 90068 | Sample Depth | 0.3 |  | meters | GROUND WATER PROTECTION SECTION |  | 2012-05-02 15:33 |  |  |  |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER
SPRS1205-4 |  | WR-4 | PRIMARY | 2012-05-02 15:33 | 99937 | Sucralose | 0.01 | U | ug/L | DEP CENTRAL LAB | 1426325 | 2012-05-04 03:51 | DEP SOP: LC-001-2 (based on EPA 8321B) | 0.01 | 0.05 |  | GROUND WATER PROTECTION SECTION | Edgar Wade/Gary Maddox | SPRS1205 | 43664 | WACISSA RIVER

## MDL
StationName | LAB
| Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS)
CASSIDY SPRINGS SIP | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
LOG SPRING | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
WR-1 | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
WR-2 | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
WR-3 | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
WR-4 | 0.1 | 2.5 | 0.65 | 0.01 | 0.08 | 0 | 0 | 0 | 1 | #N/A | #N/A | #N/A | 0.3 | 0.2 | 0.2 | 15 | 15 |  | #N/A | 0.01 | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | #N/A | #N/A | #N/A | #N/A

## PQL
StationName | LAB
| Turbidity | Color (true) | Alkalinity, Total (as CaCO3) | Ammonia, Total (as N) | Ammonia+Organic Nitrogen, Total (as N) | Nitrate+Nitrite, Total (as N) | Phosphorus, Total (as P) | Orthophosphate, Dissolved (as P) | Organic Carbon, Total | Calcium, Total | Magnesium, Total | Sodium, Total | Potassium, Total | Chloride, Total | Sulfate, Total | Boron, Total | Total Dissolved Solids (TDS measured) | Stream Stage | Fluoride, Total | Sucralose | Enterococci, Membrane Filter | Coliform, Fecal (MF) | Total Suspended Solids (TSS)
CASSIDY SPRINGS SIP | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
LOG SPRING | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
WR-1 | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
WR-2 | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
WR-3 | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
WR-4 | 0.1 | 6 | 2.5 | 0.02 | 0.2 | 0.01 | 0.01 | 0.01 | 5 | #N/A | #N/A | #N/A | 1.2 | 0.5 | 0.5 | 60 | 25 | #N/A | #N/A | 0.05 | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A