## SPRG1101-B
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1334509 | 2011-03-03 15:18 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1324848 | 2011-01-20 17:44 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1322806 | 2011-01-06 16:39 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1338372 | 2011-03-23 16:45 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1336492 | 2011-03-11 14:20 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1338927 | 2011-03-25 14:52 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1334509 | 2011-03-03 14:26 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 9 units. This value does not represent the field pH. | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1324848 | 2011-01-20 15:52 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 9 units. This value does not represent the field pH. | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1338927 | 2011-03-25 14:22 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. The precision data is unavailable due to the small amount of analyte in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1338372 | 2011-03-24 08:30 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1336492 | 2011-03-11 15:01 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 9 units. This value does not represent the field pH. | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1322806 | 2011-01-06 13:47 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 9 units. This value does not represent the field pH. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1334509 | 2011-03-11 04:48 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1324848 | 2011-01-22 02:40 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1338927 | 2011-04-05 18:25 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1338372 | 2011-04-01 14:39 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1336492 | 2011-03-16 22:14 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1322806 | 2011-01-13 22:32 | SM 2320 B-97 | 0.65 | 2.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1336495 | 2011-03-16 12:10 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1338375 | 2011-03-24 12:07 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1338930 | 2011-03-28 12:10 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1324850 | 2011-01-24 14:33 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1334511 | 2011-03-07 14:07 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1322807 | 2011-01-07 12:19 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1334511 | 2011-03-07 14:47 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1324850 | 2011-01-25 14:10 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1338930 | 2011-03-30 10:36 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1338375 | 2011-03-28 10:18 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1336495 | 2011-03-17 14:46 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1322807 | 2011-01-20 11:58 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1334511 | 2011-03-18 12:51 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1324850 | 2011-01-24 09:38 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338930 | 2011-03-30 11:18 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338375 | 2011-03-29 11:06 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1336495 | 2011-03-23 12:45 | EPA 353.2 Rev. 2.0 | 0 | 0.01 | Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1322807 | 2011-01-12 12:15 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1336495 | 2011-03-17 18:01 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338375 | 2011-03-28 13:24 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338930 | 2011-03-31 16:21 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1324850 | 2011-01-25 15:34 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1334511 | 2011-03-08 13:03 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1322807 | 2011-01-13 17:12 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1324852 | 2011-01-20 15:24 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1334513 | 2011-03-03 15:15 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338933 | 2011-03-25 15:02 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | O-Phosphate-P: Matrix spike recovery data is unavailable due to the large amount of analyte in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1338378 | 2011-03-23 14:59 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | UQ | mg/L | DEP CENTRAL LAB | 1336498 | 2011-03-15 15:51 | EPA 365.1 Rev. 2.0 | 0 | 0.01 | O-Phosphate-P: The sample was reanalyzed out of holding time due to analytical difficulties. | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1322808 | 2011-01-06 15:11 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1334511 | 2011-03-04 19:42 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1324850 | 2011-01-27 00:30 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1338930 | 2011-04-05 02:05 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1338375 | 2011-04-07 17:59 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1336495 | 2011-03-23 01:13 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1322807 | 2011-01-25 21:37 | SM 5310 B-00 | 1 | 5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1324854 | 2011-01-21 20:54 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1334515 | 2011-03-09 20:26 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1338936 | 2011-04-14 15:54 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1322809 | 2011-01-21 20:45 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1336501 | 2011-03-25 17:27 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1338381 | 2011-03-25 17:36 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1334515 | 2011-03-09 20:26 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1324854 | 2011-01-21 20:54 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1338936 | 2011-04-14 15:54 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1338381 | 2011-03-25 17:36 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1336501 | 2011-03-25 17:27 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1322809 | 2011-01-21 20:45 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1334515 | 2011-03-09 20:26 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1324854 | 2011-01-21 20:54 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1336501 | 2011-03-25 17:27 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1338381 | 2011-03-25 17:36 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1338936 | 2011-04-14 15:54 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1322809 | 2011-01-21 20:45 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1336501 | 2011-03-25 17:27 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1322809 | 2011-01-21 20:45 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1334515 | 2011-03-09 20:26 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1324854 | 2011-01-21 20:54 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1338936 | 2011-04-14 15:54 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1338381 | 2011-03-25 17:36 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1324848 | 2011-01-28 05:00 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 | Chloride: One of the matrix spike recoveries could not be assessed due to high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1334509 | 2011-03-18 03:02 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1338927 | 2011-03-31 17:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1338372 | 2011-03-30 21:25 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1336492 | 2011-03-24 15:03 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1322806 | 2011-01-14 04:54 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1324848 | 2011-01-28 05:00 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1334509 | 2011-03-18 03:02 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1338927 | 2011-03-31 17:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 | Sulfate: One of the matrix spike recoveries could not be assessed due to high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1322806 | 2011-01-14 04:54 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 | Sulfate: One of the matrix spike recoveries could not be assessed due to high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1336492 | 2011-03-24 15:03 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1338372 | 2011-03-30 21:25 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1334515 | 2011-03-09 20:26 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1324854 | 2011-01-21 20:54 | EPA 200.7 Rev. 4.4 | 15 | 60 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1336501 | 2011-03-25 17:27 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1338381 | 2011-03-25 17:36 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1338936 | 2011-04-14 15:54 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1322809 | 2011-01-21 20:45 | EPA 200.7 Rev. 4.4 | 15 | 60 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1334507 | 2011-03-04 13:15 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 31616 | Coliform, Fecal (MF) | 1 | U | #/100ml | DEP CENTRAL LAB | 1324846 | 2011-01-21 14:15 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1338924 | 2011-03-26 12:15 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1338369 | 2011-03-24 13:40 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1336489 | 2011-03-12 15:05 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1322805 | 2011-01-07 15:15 | SM 9222 D | 1 | 1 |  | 9995 |  | SPRG1101 | 0
SPRG1101-16 |  | BLANK | BLANK | 2011-03-02 13:15 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1334509 | 2011-03-08 12:18 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-9 |  | BLANK | BLANK | 2011-01-20 10:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1324848 | 2011-01-24 14:41 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-30 |  | BLANK | BLANK | 2011-03-24 14:23 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1338927 | 2011-03-31 14:20 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-25 |  | BLANK | BLANK | 2011-03-22 16:21 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1338372 | 2011-03-28 14:31 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-22 |  | BLANK | BLANK | 2011-03-10 19:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1336492 | 2011-03-16 13:16 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0
SPRG1101-3 |  | BLANK | BLANK | 2011-01-05 15:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1322806 | 2011-01-07 13:48 | SM 2540 C-97 | 15 | 60 |  | 9995 |  | SPRG1101 | 0