## BLANK_DATA_SUMARY_1104
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1346106 | 2011-04-21 15:37 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1341274 | 2011-04-07 15:28 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1359880 | 2011-06-24 14:49 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1358291 | 2011-06-16 16:07 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 76 | Turbidity | 0.1 | U | ntu | DEP CENTRAL LAB | 1350087 | 2011-05-12 17:56 | EPA 180.1 Rev. 2.0 | 0.1 | 0.1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1346106 | 2011-04-21 18:14 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1341274 | 2011-04-07 15:25 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1350087 | 2011-05-12 12:40 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1358291 | 2011-06-16 12:14 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 80 | Color (true) | 2 | U | PCU | DEP CENTRAL LAB | 1359880 | 2011-06-24 16:11 | SM 2120 B | 2 | 6 | The pH of the aliquot used to measure the color is between 4 and 10 units. This value does not represent the field pH. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1350087 | 2011-05-21 06:20 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1358291 | 2011-06-29 04:18 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1341274 | 2011-04-18 19:57 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1346106 | 2011-05-04 02:52 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 410 | Alkalinity, Total (as CaCO3) | 0.65 | U | mg/L | DEP CENTRAL LAB | 1359880 | 2011-07-06 03:29 | SM 2320 B-97 | 0.65 | 2.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1346107 | 2011-04-22 12:49 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1341276 | 2011-04-12 12:41 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1350088 | 2011-05-13 12:51 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1358292 | 2011-06-20 12:27 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 610 | Ammonia, Total (as N) | 0.01 | U | mg/L | DEP CENTRAL LAB | 1359881 | 2011-06-24 13:09 | EPA 350.1 Rev. 2.0 | 0.01 | 0.02 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1341276 | 2011-04-12 16:26 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1346107 | 2011-04-29 13:37 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1350088 | 2011-05-17 10:12 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1359881 | 2011-06-29 10:20 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 625 | Ammonia+Organic Nitrogen, Total (as N) | 0.08 | U | mg/L | DEP CENTRAL LAB | 1358292 | 2011-06-27 10:43 | EPA 351.2 Rev. 2.0 | 0.08 | 0.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1346107 | 2011-04-27 13:17 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1341276 | 2011-04-11 14:42 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1350088 | 2011-05-17 10:58 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1358292 | 2011-06-22 11:59 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 630 | Nitrate+Nitrite, Total (as N) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1359881 | 2011-07-05 12:33 | EPA 353.2 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1346107 | 2011-05-02 12:21 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1341276 | 2011-04-14 15:44 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1358292 | 2011-06-21 13:18 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1350088 | 2011-05-17 14:44 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 665 | Phosphorus, Total (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1359881 | 2011-06-28 12:29 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1358293 | 2011-06-16 16:08 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1350089 | 2011-05-12 15:12 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1341278 | 2011-04-07 15:28 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1346108 | 2011-04-21 16:03 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 671 | Orthophosphate, Dissolved (as P) | 0.004 | U | mg/L | DEP CENTRAL LAB | 1359882 | 2011-06-24 15:51 | EPA 365.1 Rev. 2.0 | 0 | 0.01 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1358292 | 2011-07-05 20:29 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1350088 | 2011-05-28 00:58 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1341276 | 2011-04-19 21:36 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1346107 | 2011-05-09 16:40 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 680 | Organic Carbon, Total | 1 | U | mg/L | DEP CENTRAL LAB | 1359881 | 2011-07-08 22:18 | SM 5310 B-00 | 1 | 5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1346109 | 2011-05-09 18:58 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1341280 | 2011-04-14 16:03 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1350090 | 2011-05-26 18:13 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1358294 | 2011-06-28 14:37 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 916 | Calcium, Total | 0.075 | U | mg/L | DEP CENTRAL LAB | 1359883 | 2011-06-28 14:59 | EPA 200.7 Rev. 4.4 | 0.08 | 0.3 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1358294 | 2011-06-28 14:37 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1350090 | 2011-05-26 18:13 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1341280 | 2011-04-14 16:03 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1346109 | 2011-05-09 18:58 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 927 | Magnesium, Total | 0.04 | U | mg/L | DEP CENTRAL LAB | 1359883 | 2011-06-28 14:59 | EPA 200.7 Rev. 4.4 | 0.04 | 0.16 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1341280 | 2011-04-14 16:03 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1346109 | 2011-05-09 18:58 | EPA 200.7 Rev. 4.4 | 0.5 | 2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1350090 | 2011-05-26 18:13 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1358294 | 2011-06-28 14:37 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 929 | Sodium, Total | 0.5 | U | mg/L | DEP CENTRAL LAB | 1359883 | 2011-06-28 14:59 | EPA 200.7 Rev. 4.4 | 0.5 | 2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1341280 | 2011-04-14 16:03 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1346109 | 2011-05-09 18:58 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1350090 | 2011-05-26 18:13 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1359883 | 2011-06-28 14:59 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 937 | Potassium, Total | 0.3 | U | mg/L | DEP CENTRAL LAB | 1358294 | 2011-06-28 14:37 | EPA 200.7 Rev. 4.4 | 0.3 | 1.2 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1346106 | 2011-05-05 04:26 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1341274 | 2011-04-15 04:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1358291 | 2011-06-19 07:16 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1350087 | 2011-05-20 00:59 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 940 | Chloride, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1359880 | 2011-07-01 08:23 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1359880 | 2011-07-01 08:23 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1346106 | 2011-05-05 04:26 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1341274 | 2011-04-15 04:38 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1350087 | 2011-05-20 00:59 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 945 | Sulfate, Total | 0.2 | U | mg/L | DEP CENTRAL LAB | 1358291 | 2011-06-29 21:27 | EPA 300.0 Rev. 2.1 | 0.2 | 0.5 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1346109 | 2011-05-09 18:58 | EPA 200.7 Rev. 4.4 | 15 | 60 | The calcium matrix spike recoveries could not be assessed due to a high analyte concentration in the QC sample. | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1341280 | 2011-04-14 16:03 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1359883 | 2011-06-30 17:34 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1358294 | 2011-06-30 17:25 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 1022 | Boron, Total | 15 | U | ug/L | DEP CENTRAL LAB | 1350090 | 2011-05-26 18:13 | EPA 200.7 Rev. 4.4 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 31616 | Coliform, Fecal (MF) | 1 | U | #/100ml | DEP CENTRAL LAB | 1346105 | 2011-04-22 14:15 | SM 9222 D | 1 | 1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1341272 | 2011-04-08 13:20 | SM 9222 D | 1 | 1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1350086 | 2011-05-13 14:50 | SM 9222 D | 1 | 1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 31616 | Coliform, Fecal (MF) | 1 | UQ | #/100ml | DEP CENTRAL LAB | 1358290 | 2011-06-17 13:45 | SM 9222 D | 1 | 1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 31616 | Coliform, Fecal (MF) | 1 | U | #/100ml | DEP CENTRAL LAB | 1359879 | 2011-06-24 13:45 | SM 9222 D | 1 | 1 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-11 |  | BLANK | BLANK | 2011-04-21 13:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1346106 | 2011-04-27 15:01 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-5 |  | BLANK | BLANK | 2011-04-06 15:10 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1341274 | 2011-04-11 14:46 | SM 2540 C-97 | 15 | 60 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-17 |  | BLANK | BLANK | 2011-05-11 15:00 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1350087 | 2011-05-13 14:26 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-24 |  | BLANK | BLANK | 2011-06-15 13:20 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1358291 | 2011-06-22 11:25 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
SPRG1104-29 |  | BLANK | BLANK | 2011-06-23 11:24 | 70300 | Total Dissolved Solids (TDS measured) | 15 | U | mg/L | DEP CENTRAL LAB | 1359880 | 2011-06-29 15:28 | SM 2540 C-97 | 15 | 25 |  | DEP GW PROTECTION SECTION | Patrick Madden/Laura Hester | SPRG1104 | 0
missing blank 6/22/2011/15:45

## BLANK_DATA_1104_DETECT
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name

## BLANK_DATA_1104_HITS
Pk Sample | FK RandomSample Location | StationName | SampleType | SampleDate | Param Code | Parameter | ValueText | ValueQualifier | Units | Analyzing Agency | LabSample Id | LabDate | Method | Mdl | Pql | Comments | Collection Agency | Sampler Name | Pk Project | Pk Station | Waterbody Name
NO HIT