Table 29.  Summary of Contaminants of Concern for Aquifers Used as Potable Water Sources

| Basin—Aquifer | Contaminant Categories and Number of Wells or Water Systems with Samples that Have Exceeded Primary Standards |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | VOCs1 |  |  | Pesticides/SOCs2 |  |  | Nitrates3 |  |  |
|  | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells |
| Apalachicola–Chipola—Floridan Aquifer | 4 | 17 |  | 4 | 645 |  | 0 | 43 |  |
| Caloosahatchee—Surficial Aquifer | 7 | 13 | 1 | 9 | 7 |  | 1 |  |  |
| Charlotte Harbor—Floridan Aquifer (SW) | 0 | 62 | 2 | 3 |  |  | 0 | 2 |  |
| Choctawhatchee–St. Andrew—Floridan Aquifer | 1 | 36 | 1 | 5 | 19 |  | 0 |  | 2 |
| Everglades—Surficial Aquifer (SW) | 1 | 3 |  | 1 |  |  | 0 |  |  |
| Everglades West Coast—Surficial Aquifer | 1 | 5 | 1 | 7 |  |  | 0 | 6 |  |
| Fisheating Creek—Surficial Aquifer | 0 | 2 |  | 1 | 2 |  | 2 |  |  |
| Florida Keys—None | 0 | 2 |  | 0 |  |  | 0 |  |  |
| Indian River Lagoon—Floridan and Surficial Aquifers | 6 | 36 |  | 5 |  |  | 3 |  |  |
| Kissimmee River—Floridan, Intermediate, and Surficial Aquifers | 11 | 58 | 3 | 21 | 798 | 2 | 6 | 1,154 | 10 |
| Lake Okeechobee—Surficial Aquifer (SW) | 2 | 6 |  | 1 |  |  | 0 |  |  |
| Lake Worth Lagoon–Palm Beach Coast—Surficial Aquifer | 9 | 55 | 5 | 6 | 4 |  | 1 |  |  |
| Lower St. Johns—Floridan Aquifer | 7 | 184 |  | 5 | 19 |  | 3 | 35 |  |
| Middle St. Johns—Floridan Aquifer | 16 | 139 |  | 21 | 118 |  | 16 | 45 | 1 |
| Nassau–St. Marys—Floridan Aquifer | 4 | 15 |  | 0 |  |  | 1 | 1 |  |
| Ochlockonee–St. Marks—Floridan Aquifer | 2 | 21 | 1 | 3 |  |  | 1 | 11 | 1 |
| Ocklawaha—Floridan Aquifer | 23 | 107 | 1 | 54 | 475 |  | 12 | 466 |  |
| Pensacola—Sand-and-Gravel Aquifer | 9 | 10 |  | 3 | 6 | 13 | 2 | 2 | 3 |
| Perdido—Sand-and-Gravel Aquifer | 2 | 2 | 4 | 1 |  |  | 0 | 1 | 2 |
| Sarasota Bay–Peace–Myakka—Floridan and Surficial Aquifers | 9 | 158 | 5 | 33 | 248 |  | 8 | 401 | 2 |
| Southeast Coast–Biscayne Bay---Biscayne Aquifer | 8 | 120 | 1 | 9 |  | 1 | 6 | 13 | 2 |
| Springs Coast—Floridan Aquifer | 15 | 22 | 2 | 7 | 9 | 1 | 11 | 16 |  |
| St. Lucie–Loxahatchee—Surficial Aquifer | 10 | 135 |  | 15 |  |  | 2 | 2 |  |
| Suwannee—Floridan Aquifer | 5 | 120 | 3 | 2 | 60 |  | 7 | 145 | 5 |
| Tampa Bay—Floridan Aquifer | 5 | 66 |  | 6 | 31 |  | 6 | 16 |  |
| Tampa Bay Tributaries—Floridan Aquifer | 14 | 158 |  | 16 | 19 |  | 48 | 118 |  |
| Upper East Coast—Floridan Aquifer and Surficial Aquifer | 1 | 8 | 2 | 3 |  |  | 5 |  |  |
| Upper St. Johns—Floridan Aquifer and Surficial Aquifer | 1 | 8 | 1 | 2 |  |  | 0 | 1 |  |
| Withlacoochee—Floridan Aquifer | 11 | 27 | 1 | 29 | 69 |  | 7 | 59 | 1 |
| STATEWIDE SUMMARY—All results | 184 | 1,595 | 34 | 272 | 2,529 | 17 | 148 | 2,537 | 29 |

Notes:

1 Systems or wells with samples that exceeded MCLs for volatile organic compounds, excluding trihalomethanes and ethylene dibromide.

2 Systems or wells with samples that exceeded MCLs for pesticides (also known as synthetic organic chemicals, or SOCs).

3 Systems or wells with samples that exceeded MCLs for nitrate or nitrate+nitrite.

4 Systems or wells with samples that exceeded MCLs for primary metals.

5 Systems or wells with samples that exceeded MCL for sodium, an indicator of salinity.

6 Systems or wells with samples that exceeded MCL for radionuclides, measured as radon 226, radon 228, gross Alpha, and/or gross Beta.

7 PWS data not restricted to wells only.  Some parameter results may be for other entry points into a system, composite samples, or treated water.  Data are from systems that that operate their own wells.  While individual sample results collected for this report may exceed an action level or MCL, that exceedance does not necessarily translate directly into a violation of water delivered to the consumer (1) because of the compositing or blending of water mentioned above, or (2) because averaging with subsequent samples was below the action level or MCL.

8 Private well sampling under the WSRP is targeted sampling conducted in areas of suspected contamination, and the parameters analyzed are specific to contaminants of concern.

Table 29 (continued).  Ground Water Contaminants of Concern in Aquifers Used as Potable Water Sources

| Basin—Aquifer | Contaminant Categories and Number of Wells or Water Systems with Samples that Have Exceeded Primary Standards |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Primary Metals4 |  |  | Saline Water5 |  |  | Radionuclides6 |  |  |
|  | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells | Public Water Systems7 | Private Wells (WSRP) 8 | Status/ Background/ VISA Network Wells |
| Apalachicola–Chipola—Floridan Aquifer | 25 | 55 | 8 |  |  |  | 5 |  |  |
| Caloosahatchee—Surficial Aquifer | 12 |  | 8 | 1 |  | 4 | 14 | 1 | 3 |
| Charlotte Harbor—Floridan Aquifer | 10 |  | 1 |  | 2 | 5 | 14 |  | 4 |
| Choctawhatchee–St. Andrew—Floridan Aquifer | 34 | 3 | 3 |  |  |  | 7 |  |  |
| Everglades—Surficial Aquifer | 6 |  | 2 |  |  |  | 4 |  |  |
| Everglades West Coast—Surficial Aquifer | 7 |  | 16 |  |  | 7 | 6 |  | 3 |
| Fisheating Creek—Surficial Aquifer | 1 |  | 1 | 2 |  | 3 | 2 |  |  |
| Florida Keys—None | 0 |  | 1 |  |  |  | 0 |  |  |
| Indian River Lagoon—Floridan and Surficial Aquifers | 20 | 6 | 6 | 3 | 9 | 2 | 9 |  | 1 |
| Kissimmee River—Floridan, Intermediate, and Surficial Aquifers | 46 | 2 | 34 | 6 |  | 4 | 30 |  | 4 |
| Lake Okeechobee—Surficial Aquifer | 5 | 2 | 1 |  |  | 1 | 5 |  | 3 |
| Lake Worth Lagoon–Palm Beach Coast—Surficial Aquifer | 29 | 5 | 10 | 1 | 1 |  | 9 |  |  |
| Lower St. Johns—Floridan Aquifer | 68 | 121 | 19 | 3 | 15 | 6 | 8 |  | 3 |
| Middle St. Johns—Floridan Aquifer | 48 | 8 | 38 | 16 | 15 | 8 | 13 |  | 3 |
| Nassau–St. Marys—Floridan Aquifer | 16 | 17 | 4 | 1 |  |  | 0 |  |  |
| Ochlockonee–St. Marks—Floridan Aquifer | 19 | 7 | 9 | 1 |  | 1 | 11 |  | 1 |
| Ocklawaha—Floridan Aquifer | 116 | 71 | 26 | 12 | 1 | 1 | 5 |  | 3 |
| Pensacola—Sand-and-Gravel Aquifer | 27 | 18 | 20 | 2 |  |  | 18 |  | 17 |
| Perdido—Sand-and-Gravel Aquifer | 2 | 1 | 5 |  |  |  | 2 |  | 6 |
| Sarasota Bay–Peace–Myakka—Floridan and Surficial Aquifers | 70 | 17 | 35 | 8 | 10 | 3 | 97 |  |  |
| Southeast Coast–Biscayne Bay–Biscayne Aquifer | 28 | 54 | 83 | 6 | 4 | 7 | 9 |  | 7 |
| Springs Coast—Floridan Aquifer | 41 | 54 | 16 | 11 | 8 | 6 | 7 |  |  |
| St. Lucie–Loxahatchee—Surficial Aquifer | 32 | 18 | 13 | 2 | 3 | 4 | 4 |  | 1 |
| Suwannee—Floridan Aquifer | 38 | 76 | 35 | 7 | 3 | 5 | 8 |  | 19 |
| Tampa Bay—Floridan Aquifer | 33 | 17 |  | 6 | 3 |  | 17 |  |  |
| Tampa Bay Tributaries—Floridan Aquifer | 121 | 102 | 11 | 48 | 4 | 10 | 53 | 27 |  |
| Upper East Coast—Floridan Aquifer and Surficial Aquifer | 12 | 4 | 19 | 5 | 2 |  | 4 |  |  |
| Upper St. Johns—Floridan Aquifer and Surficial Aquifer | 6 | 2 | 16 |  |  | 7 | 2 |  | 1 |
| Withlacoochee—Floridan Aquifer | 78 | 132 | 12 | 7 | 2 | 9 | 13 |  |  |
| STATEWIDE SUMMARY—All results | 950 | 792 | 452 | 148 | 82 | 93 | 376 | 28 | 79 |

Notes:

1 Systems or wells with samples that exceeded MCLs for volatile organic compounds, excluding trihalomethanes and ethylene dibromide.

2 Systems or wells with samples that exceeded MCLs for pesticides (also known as synthetic organic chemicals).

3 Systems or wells with samples that exceeded MCLs for nitrate or nitrate+nitrite.

4 Systems or wells with samples that exceeded MCLs for primary metals.

5 Systems or wells with samples that exceeded MCL for sodium, an indicator of salinity.

6 Systems or wells with samples that exceeded MCL for radionuclides, measured as radon 226, radon 228, gross Alpha, and/or gross Beta.

7 PWS data not restricted to wells only.  Some parameter results may be for other entry points into a system, composite samples, or treated water.  Data are from systems that that operate their own wells.  While individual sample results collected for this report may exceed an action level or MCL, that exceedance does not necessarily translate directly into a violation of water delivered to the consumer (1) because of the compositing or blending of water mentioned above, or (2) because averaging with subsequent samples was below the action level or MCL.

8 Private well sampling under the WSRP is targeted sampling conducted in areas of suspected contamination, and the parameters analyzed are specific to contaminants of concern.

#### Synthetic Organic Chemicals/Pesticides

For SOCs used as pesticides, the largest number of MCL exceedances in public water systems occurred in the Oklawaha (54 systems).Sarasota Bay–Peace–Myakka (33 systems) and Withlacoochee (29 systems) Basins.  In private wells, the largest number occurred in the Kissimmee (798 wells), Apalachicola (645 wells), and Ocklawaha (475 wells) Basins.  The detections of agrichemicals in private wells can provide meaningful information on the presence/absence of these substances and give an indication of the aquifer’s vulnerability to pesticide use.  The number of private well exceedances can sometimes be related to the density of homesteads (unregulated rural growth versus dense rural residential developments) and their proximity to agricultural land uses or lawn/turf care practices.  Table 29 shows the distribution of MCL exceedances.

The pesticides that occurred in public water systems at above-MCL concentrations were mainly detected in the mid- to late-1980s and have since been banned from use.  Lindane, toxaphene, and methoxychlor were the pesticides most commonly detected at above-MCL concentrations in the 1980s, but have not appeared in the PWS database at above-MCL levels since the early 1990s.  These compounds, plus heptachlor, endothal, and malathion, were mainly detected in the basins where agricultural land uses are or were prevalent.  Dieldrin, another older compound, was also detected in private drinking water wells.

EDB, a nematocide used heavily in the 1980s on citrus and other croplands, was found to be highly mobile and a threat to potable ground water supplies.  In response to FDEP’s identification of this as an issue, FDOH conducted a comprehensive EDB sampling program in areas where it was suspected to have been applied.  In 16 basins, this revealed numerous private drinking water wells that were contaminated by the compound, prompting the formal delineation of ground water contamination areas.  EDB was also detected in public water systems throughout the state.  In the late 1980s, the use of EDB was banned.  New detections of EDB seldom occur; however, some private drinking water wells continue to yield samples with detectable concentrations of EDB decades after its use was discontinued.  The most recent PWS system detections of EDB above its MCL (in the late 1990s) were reported in the Tampa Bay Tributaries Basin of southwest Florida, which includes a significant agricultural area.

More recently, applied pesticides such as bromacil and alachlor were detected at levels exceeding their health advisory limits in private drinking water wells.  Bromacil has a ground water guidance concentration, and alachlor has a primary MCL.  Elevated detections of bromacil were found (mainly in the 1990s) in the citrus-growing area of central Florida, which includes parts of the Kissimmee, Tampa Bay Tributaries, Middle St. Johns, and Ocklawaha Basins.  In the 1990s, both compounds were found (along with dieldrin) at elevated levels at numerous wells in an agricultural area of Jackson County in the Apalachicola–Chipola Basin.  FDACS has since required modifications to the application of bromacil to prohibit its application from citrus areas with vulnerable soils and high leaching potential.  Alachlor is now listed as a restricted use pesticide.

#### Nitrates

Nitrates above the MCL of 10 mg/L were detected in 156 public water systems, with the Tampa Bay Tributaries Basin having by far the greatest number (45 systems).  The largest number of private wells with nitrates above the MCL were found in the Kissimmee Basin (1,154 wells), followed by the Ocklawaha (466 wells) and Sarasota Bay–Peace–Myakka (401 wells) Basins.  Several status wells also had nitrate above MCLs, with the largest number in the Kissimmee Basin (10 wells).  These are all summarized in Table 29.

The basins with the highest number of above-MCL detections in water systems and wells include large citrus-growing areas or areas where citrus was previously grown on top of vulnerable aquifers.  The area of the Kissimmee Basin that has the highest number of above-MCL concentrations of nitrate in private wells is the ridge citrus area along the basin’s western edge.  In the early 1990s, FDACS began implementation of a BMP program for growers in the ridge citrus area to use fertilizers more efficiently and reduce nitrate concentrations in ground water.  It is hoped that this program will eventually reduce the number of nitrate exceedances in wells.

#### Primary Metals

Metals with primary drinking water MCLs include arsenic, barium, beryllium, cadmium, chromium, lead, mercury, nickel, and selenium.  Table 29 summarizes the detections of primary metals above their MCLs.

Approximately 1,000 public water systems reported one or more primary metals exceeding an MCL, which may be misleading since elevated metals in public water systems are often due to the materials containing and conveying the water rather than actual concentrations in the ground water.  Metal well casings, piping, storage tanks, and plumbing fixtures, in addition to sampling techniques, often cause bias in the analysis of ground water samples for metals.  Lead and cadmium are the most frequently detected metals at above-MCL concentrations in public water systems, and both metals are very frequently associated with impurities in water distribution and storage systems.  Galvanized coatings on metal surfaces, paint, and lead solder are documented sources of metals contamination in water systems.  The Tampa Bay Tributaries (121 systems) and Ocklawaha (116 systems) Basins have the greatest number of water systems with above-MCL detections, primarily for lead and cadmium.  Results from resampling frequently show that the ground water is actually not affected by these metals.

In private drinking water wells, the metals most frequently exceeding MCLs are arsenic and lead.  The basins with the greatest number of exceedances are the Withlacoochee (132 wells), Lower St. Johns (121 wells), and Tampa Bay Tributaries (102 wells) Basins.  Lead, again, may be an artifact of well materials, piping, or plumbing fixtures, but arsenic is not typically associated with any of these.  The resampling of private water wells usually reveals that there is no actual ground water problem with lead.  The majority of the wells in FDEP’s Status/Background/VISA Networks that exceed MCLs for metals exceed the MCL for lead, followed by arsenic, with a smaller number exceeding the MCL for cadmium.  Many of the reported concentrations for metals in FDEP’s Status Network are qualified due to the potential influence of well materials, lead water level recorder weights, and/or sampling problems.

Future monitoring will help FDEP determine the extent to which elevated metals detections actually represent ground water quality.  However, for public water systems and private wells, the materials composing the water storage and distribution systems, piping, and fixtures will continue to pose a challenge to the interpretation of data for metals.  Differentiating natural sources from contaminating influences is another issue.  Arsenic, in particular, can on occasion exceed its MCL of 10 g/L due to natural conditions.

#### Radionuclides

In Florida, most elevated radionuclide levels are due to natural conditions, but these conditions may still pose a significant health concern.  Radionuclides occur naturally as trace elements in rocks and soils as a consequence of the radioactive decay of uranium-238 (U-238) and thorium-232 (Th-232).  Elevated radionuclide levels occur most commonly from phosphate that is prevalent in Miocene-age clay deposits present throughout much of the state.  Radionuclides measured in ground water include gross Alpha, gross Beta, radium 226, and radium 228.  Gross Alpha is the most commonly measured parameter.  Table 29 summarizes radionuclide detections in public water systems and wells.

Public water systems in the west-central area of the state have the greatest incidence of MCL exceedances for radionuclides.  The Sarasota Bay–Peace–Myakka (97 systems) Basin, followed by the Tampa Bay Tributaries (53 systems), and the Kissimmee River (30 systems) Basins lie within one of the 3 largest phosphate-mining areas in the world; this area includes large areas of Manatee, Sarasota, Polk, and Hillsborough Counties.  The health department infrequently samples private wells for radionuclides.  The highest number of detections above MCLs was found in the Tampa Bay Tributaries Basin (27 wells).

The Suwannee (19 wells) and Pensacola (17 wells) Basins had the greatest number of radionuclide exceedances, although few private wells have been sampled for this parameter category.

#### Saline Water

The intrusion of saline water is a well-documented concern in coastal areas of the state where a wedge of salt water migrates laterally inshore as discharge from supply wells increases.  However, recent data indicate that these are not currently the areas with the greatest number of issues.  In other areas that lie more inland, the upconing of brackish water from deeper zones seems to be more of an issue.  In this assessment, an exceedance of the MCL for sodium was used as an indicator of possible saline water intrusion or upwelling.  Table 29 summarizes these results.

Elevated sodium concentrations were noted in samples from public water systems in the Tampa Bay Tributaries (48 systems), Middle St. Johns (16 systems), and Ocklawaha (12 systems) Basins.  Public drinking water supplies in the 3 basins with highest number of sodium exceedances are in high-growth areas of the state where consumptive use is beginning to exceed aquifer capacity.  In these basins, overpumpage has resulted in upconing from deeper zones in the Floridan aquifer that are saline.  The increase in population in many of these areas is creating stress on potable ground water supplies, and water resource managers and public water utilities have begun to look for alternative supplies to continue providing potable water to their customers.  Private wells in the Lower St. Johns (15 wells), Middle St. Johns (15 wells), and Sarasota Bay–Peace–Myakka (10 wells) Basins have also been affected by increases in aquifer salinity.

#### Trihalomethanes

Chlorination is a disinfection treatment practiced by many public water systems to remove potentially harmful bacteria.  Unlike a number of states, Florida requires disinfection.  Trihalomethanes (THMs) are an unfortunate byproduct of chlorinating source water that contains organic matter.  Chloroform, dibromochloromethane, bromodichloromethane, and bromoform are the most common THMs found in treated water.  Basins with the most apparent influence by THMs (based on primary MCL exceedances) include Middle St. Johns (20 systems), Lake Worth Lagoon–Palm Beach Coast (19 systems), Everglades West Coast (11 systems), and Upper East Coast (11 systems).  Many public water systems are using alternative disinfection methods (such as the use of chloramine) to reduce or eliminate the creation of THMs.

#### Bacteria (Coliform)

Bacteria are not typically a concern to public water systems, because the water is disinfected before distribution.  However, the bacterial contamination of private wells is an ongoing issue that is being addressed by FDOH.  Unfortunately, the number of bacterial exceedances in private drinking water wells is poorly documented and not maintained in a central database.  Of all water quality issues evaluated, bacterial contamination, as indicated by elevated total and/or fecal coliform counts, is the most prevalent issue in ground water samples collected from the Status Network monitoring wells.  Over one-third of the basins had significant exceedances of MCLs or health advisory levels for total and/or fecal coliform, indicating potential public health issues in some of these cases.

However, the significance of these findings must still be determined.  High bacterial counts may be caused by improper well construction, poor hygiene at the wellhead, animal waste or septic tank issues and/or flooding, and the surface water infiltration of a water system.  These considerations highlight the fact that individual well assessments are necessary, and that in many cases, bacterial contamination is localized and may not be an issue outside of the individual wells themselves.