	STATUS->NWFWMD-A->CONFINED/UNCONFINED AQUIFER-> FLORIDAN AQUIFER SYSTEM, FLORIDAN AQUIFER SYSTEM, LOWER, FLORIDAN AQUIFER SYSTEM, UPPER, INTERMEDIATE AQUIFER SYSTEM, SURFICIAL AQUIFER SYSTEM->BIOLOGICAL

	Parameter Name
	Coliform, Fecal (MF)
	Coliform, Total (MF)

	Units
	#/100ml
	#/100ml

	

	Total Wells
	59
	59

	Total Samples
	59
	59

	Number BDLs
	47
	41

	Number MCL/GCL Exceedances
	8
	18

	Percent MCL/GCL Exceedances
	13.56%
	30.51%

	Minimum
	0
	0

	1st Quartile
	0
	0

	Median
	0
	0

	3rd Quartile
	0
	10

	Maximum
	900
	2000

	Interquartile Range
	0
	10

	Mean
	18.25
	77.75

	Standard Deviation
	117.2
	312.45

	Relative Standard Deviation
	642.00%
	401.90%

	Standard Error
	15.26
	40.68

	Variance
	13734.99
	97626.71

	Coefficient of Skewness
	467.3
	746.5


