# From: Silvanima, James
Sent: Friday, November 08, 2013 9:20 AM
To: Harrington, Debra; Maddox, Gary; Eller, Kirstin
Cc: Bouie, Theresa
Subject: SPRS1307

Hi all,

The Santa Fe Restoration project is now ready for review.  In loading the data I have noted the following.

         PK_STATION 44092 is listed as Suwannee Springs Gilchrist Co. in T_STATION, however the data associated with this PK_STATION number is referred to as TWIN SPRING by Paul Blair and Mike Eckles per the custody sheet.  So…. Someone may need to rename the station via the existing station option in GWIS Database Utilities.

         I came up with 8 blanks and three duplicates.  The blanks overall generally look good, there were only 4 detections and they were all between the MDL and PQL (2-Calcium, 1-Phosphorus, 1-Organic Carbon).  Given that I uncertain if all of the blanks should be applied to this project, I have not tried to qualify any data because of these four detections.  One of you will have to determine that.

So, let us know what else you see during your review and send us the necessary corrections.

Thanks all and have a nice long Veteran’s Day Weekend.

Jay Silvanima

Environmental Manager
Watershed Monitoring Section
Florida Department of Environmental Protection
2600 Blair Stone Rd.
Tallahassee, Fl 32399-2400
Phone: (850)245-8507
Web: http://www.dep.state.fl.us/water/monitoring/index.htm

Please Note: Florida has a very broad public records law. Most written communications to or from state officials regarding state business are public records available to the public and media upon request. Your e-mail communications may therefore be subject to public disclosure.