Sampling Strategy for Panhandle Near-Product Sampling

Purpose:

To characterize presence and concentrations of potentially deleterious (concentrations that exceed applicable water quality criteria and may pose a threat to people recreating in the area or aquatic life) dissolved petroleum hydrocarbons in the vicinity of observable tar balls, tar mats, sheen, mousse or other oil product.

Approach:

Identify and collect water samples from the shore in the vicinity of areas where tar balls, tar mats, sheen, “mousse” or other oil product is present in water.  Areas should be selected based on personal observations and recent reports of areas of impact (SERT GATOR, SCAT reports, etc.).

Analytes:

A full suite of PAHs will be collected, as well as FL-PRO (TRPH), metals and VOCs.  These mirror the EPA Region 4 analyte list.

Kits Will Contain: (NOTE: THIS SUPERCEDES ANY DIRECTIONS PREWRITTEN ON THE BOTTLES)

Organics – (2) 1 L amber bottles

- 1 PAH, 1 FL-PRO.  FL-PRO (TRPH) will need to be preserved with H2SO4.

VOCs – 	(2-4) vials

- Follow DEP SOP FS 2004.  VOC vials are PREPRESERVED.  Use intermediate container (glass is preferred, but a PE or PP dipper is also acceptable) for VOC collection.  Do surface grab according to DEP SOP with intermediate container and transfer to vials.  If the intermediate container must be reused, it must be washed in between each sample to prevent cross contamination according to general cleaning procedure in DEP SOP FC 1132 (plastic) or FC 1131 (glass); ambient temperature water can be used instead of hot.  Pesticide grade isopropanol must be used as a solvent rinse.

Metals – (1) 500 ml. plastic bottle

- Preserve with nitric acid to pH < 2 SU.  If metals sample bottles are not available, lab will pull samples from other bottles provided, and metals will be qualified by lab as appropriate.

Sampling Procedure:

Locate oil product affected areas (i.e., product in water) that are accessible for sampling via wading (approx 2-4 feet).  Samples will NOT be collected in the product, but rather approximately one meter away from the product area.  Collect surface water samples within the top one foot (0.3m) at each area.  The sampling process is the same at each location; follow DEP SOP FS 2006 for PAH and TRPH and FS 2004 for VOCs.

DO NOT COLLECT tar balls, mousse, etc. or solids in the sample bottles, as this study is attempting to determine the dissolved petroleum constituents.

Quality Assurance/Quality Control:

Two field blanks should be collected.  For the TRPH, PAH and metals bottles, fill them with DI water directly from a DI carboy; do not fill the VOC vials.   For the VOC vials, the only QA/QC blank will be the Trip Blank bottles that were provided with the sample kits.  No additional VOC blanks are needed.  The TRPH blank bottles will need to be preserved with sulfuric acid and checked to ensure they are less than 2 SU.

Once every ten samples, triple the volume of PAH and TRPH.  In other words, instead of filling one PAH bottle and one TRPH for one site, fill three PAH bottles and three TRPH bottles.

Documentation:

The FDEP Field Sheets for water collection should be used (FD 9000-28), which can be accessed: http://publicfiles.dep.state.fl.us/dear/labs/sas/formpdf/fd9000-28.pdf.  For all sampling locations, lat/long readings should be recorded in comments.  When collecting sampling location data using a Garmin or Trimble GPS unit, ensure that the settings are as follows:  units = decimal degrees, datum = WGS 1984.  Furthermore, for each site, record the type of product present at the area (tar balls, tar mat, sheen, mousse, etc.).  The FDEP Submittal Forms provided in the sampling kit cooler will be used.  Photos should be taken for each site.

~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~~DEP SOPs:  FS – 1000, FS - 2000, FS – 2006, FS – 2100, FC – 1000