## Wastewater
Clean Waterways Act - Wastewater Treatment Plans
BMAP
Local Government
Component | Included |  | Location Where Files/Information are Saved
| Yes | No
Inventory of WWTFs within jurisdiction of local governments | One is listed. Doesn't explicitly say that's the full inventory for the BMAP.
Permitted capacity in average annual gallons per day | Yes.
The annual TN and TP loads (showing both flow and concentrations) discharged from the facility over the past five years, estimated if necessary; | Yes
Permitted nutrient limits (TN and TP) | Yes
Summary of capacity analysis for each facility | Yes
Plans for future growth | Yes.
Ranking or list of facility upgrades needed to meet requirements | NA
Timelines/milestones for all projects | NA
Funding estimates for all projects | NA

## OSTDS
Clean Waterways Act - OSTDS Remediation Plans
BMAP
Local Government
Component | Included |  | GIS Documents
| Yes | No | Yes | No | Location Where Files/Information are Saved
An inventory of the OSTDS (including locational information, such as GIS shape files, if available, or an excel spreadsheet with addresses and/or latitude and longitude).
An estimate for future growth in new OSTDS to address OSTDS over the next 20 years (including locational information).
An inventory of OSTDS that are expected to be eliminated over the next 20 years through connection to central sewer lines of a domestic wastewater facility or other distributed wastewater system with additional nutrient reduction (including locational information).
For OSTDS that are not expected to be eliminated over the next 20 years through connection to central sewer lines, an estimate of the number of these OSTDS that will require upgrading to enhanced nutrient-reducing OSTDS (including locational information).
The estimated costs associated with upgrading to enhanced nutrient-reducing OSTDS that are identified above.
Timelines/milestones for projects planning, design, and construction of new/extended central sewer lines and replacement of OSTDS by connection to the new/extended lines.
Funding estimates for all projects.
Any other cost-effective and financially feasible projects necessary to achieve the nutrient load reductions for OSTDS.