## C262-01182022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/18/2022 to 1/18/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48933 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-01-18 | 9:40 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 31 | MPN/100 mL | J2 | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
22- 48934 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-01-18 | 10:10 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 203 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48935 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-01-18 | 10:30 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 833 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48936 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-01-18 | 10:45 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48937 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-01-18 | 12:35 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 30 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
22- 48938 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-01-18 | 12:50 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 30 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01182022A |  |  |  | Report Date: |  | 2022-01-19
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-19
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02142022B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/14/2022 to 2/14/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49094 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-02-14 | 9:55 | 2022-02-14 | 14:11 | Marine Water | RK/MGO | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 15:50 | Enterolert (QT)
22- 49095 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-02-14 | 11:05 | 2022-02-14 | 14:11 | Freshwater | RK/MGO | Escherichia coli (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 16:15 | 9223B (Colilert®-18 QT®)
22- 49096 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-02-14 | 10:25 | 2022-02-14 | 14:11 | Freshwater | RK/MGO | Escherichia coli (QT) | 52 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 16:15 | 9223B (Colilert®-18 QT®)
22- 49097 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-02-14 | 10:50 | 2022-02-14 | 14:11 | Freshwater | RK/MGO | Escherichia coli (QT) | 86 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 16:15 | 9223B (Colilert®-18 QT®)
22- 49098 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-02-14 | 12:45 | 2022-02-14 | 14:11 | Marine Water | RK/MGO | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 15:50 | Enterolert (QT)
22- 49099 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-02-14 | 13:05 | 2022-02-14 | 14:11 | Marine Water | RK/MGO | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-14 | 15:50 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02142022B |  |  |  | Report Date: |  | 2022-02-15
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-15
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-03142022B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 3/14/2022 to 3/14/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49315 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-03-14 | 10:20 | 2022-03-14 | 15:32 | Marine Water | DM/RK | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-03-14 | 16:05 | Enterolert (QT)
22- 49316 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-03-14 | 11:05 | 2022-03-14 | 15:32 | Freshwater | DM/RK | Escherichia coli (QT) | 631 | MPN/100 mL |  | 10 | 10 | 10 | 2022-03-14 | 16:35 | 9223B (Colilert®-18 QT®)
22- 49317 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-03-14 | 11:30 | 2022-03-14 | 15:32 | Freshwater | DM/RK | Escherichia coli (QT) | 199 | MPN/100 mL |  | 10 | 10 | 10 | 2022-03-14 | 16:35 | 9223B (Colilert®-18 QT®)
22- 49318 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-03-14 | 12:05 | 2022-03-14 | 15:32 | Freshwater | DM/RK | Escherichia coli (QT) | 10 | MPN/100 mL | U | 10 | 10 | 10 | 2022-03-14 | 16:35 | 9223B (Colilert®-18 QT®)
22- 49319 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-03-14 | 13:50 | 2022-03-14 | 15:32 | Marine Water | DM/RK | Enterococcus (QT) | 10 | MPN/100 mL | U | 10 | 10 | 10 | 2022-03-14 | 16:05 | Enterolert (QT)
22- 49320 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-03-14 | 14:15 | 2022-03-14 | 15:32 | Marine Water | DM/RK | Enterococcus (QT) | 10 | MPN/100 mL | U | 10 | 10 | 10 | 2022-03-14 | 16:05 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-03142022B |  |  |  | Report Date: |  | 2022-03-15
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-03-15
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-03282022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 3/28/2022 to 3/28/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49391 | A | South Dock East Side | 2022-03-28 | 9:55 | 2022-03-28 | 13:15 | Brackish Water | MK | Enterococcus (QT) | 171 | MPN/100 mL |  | 10 | 10 | 10 | 2022-03-28 | 15:25 | Enterolert (QT)
22- 49392 | A | South Dock West Side | 2022-03-28 | 10:05 | 2022-03-28 | 13:15 | Brackish Water | MK | Enterococcus (QT) | 52 | MPN/100 mL |  | 10 | 10 | 10 | 2022-03-28 | 15:25 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-03282022A |  |  |  | Report Date: |  | 2022-03-29
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-03-29
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-04182022C
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 4/18/2022 to 4/18/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49485 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-04-18 | 10:20 | 2022-04-18 | 14:28 | Marine Water | TM/KP | Enterococcus (QT) | 51 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:30 | Enterolert (QT)
22- 49486 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-04-18 | 10:50 | 2022-04-18 | 14:28 | Freshwater | TM/KP | Escherichia coli (QT) | 281 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:25 | 9223B (Colilert®-18 QT®)
22- 49487 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-04-18 | 11:10 | 2022-04-18 | 14:28 | Freshwater | TM/KP | Escherichia coli (QT) | 121 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:25 | 9223B (Colilert®-18 QT®)
22- 49488 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-04-18 | 11:25 | 2022-04-18 | 14:28 | Freshwater | TM/KP | Escherichia coli (QT) | 85 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:25 | 9223B (Colilert®-18 QT®)
22- 49489 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-04-18 | 13:15 | 2022-04-18 | 14:28 | Marine Water | TM/KP | Enterococcus (QT) | 75 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:30 | Enterolert (QT)
22- 49490 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-04-18 | 13:35 | 2022-04-18 | 14:28 | Marine Water | TM/KP | Enterococcus (QT) | 749 | MPN/100 mL |  | 10 | 10 | 10 | 2022-04-18 | 15:30 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-04182022C |  |  |  | Report Date: |  | 2022-04-19
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-04-19
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-06132022B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 6/13/2022 to 6/13/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49730 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-06-13 | 9:40 | 2022-06-13 | 14:47 | Marine Water | KP/TM/JO/PS | Enterococcus (QT) | 41 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:20 | Enterolert (QT)
22- 49731 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-06-13 | 10:35 | 2022-06-13 | 14:47 | Freshwater | KP/TM/JO/PS | Escherichia coli (QT) | 435 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:45 | 9223B (Colilert®-18 QT®)
22- 49732 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-06-13 | 11:00 | 2022-06-13 | 14:47 | Freshwater | KP/TM/JO/PS | Escherichia coli (QT) | 259 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:45 | 9223B (Colilert®-18 QT®)
22- 49733 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-06-13 | 11:25 | 2022-06-13 | 14:47 | Freshwater | KP/TM/JO/PS | Escherichia coli (QT) | 109 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:45 | 9223B (Colilert®-18 QT®)
22- 49734 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-06-13 | 13:15 | 2022-06-13 | 14:47 | Marine Water | KP/TM/JO/PS | Enterococcus (QT) | 122 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:20 | Enterolert (QT)
22- 49735 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-06-13 | 13:45 | 2022-06-13 | 14:47 | Marine Water | KP/TM/JO/PS | Enterococcus (QT) | 12033 | MPN/100 mL |  | 10 | 10 | 10 | 2022-06-13 | 15:20 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-06132022B |  |  |  | Report Date: |  | 2022-06-14
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-06-14
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.