## FlatData
SAMPLE_ID | LOCATION_CODE | LOCATION_DESCRIPTION | SAMPLE_COLLECTOR | COLLECTION_DATE | COLLECTION_TIME | SUBMIT_DATE | SAMPLE_COMMENT1 | ANALYSIS_CODE | ANALYTE_NAME | COMBINATION_RESULT | QUALIFIER | ANALYTE_MDL | ANALYSIS_UNIT | SAMPLE_TYPE | SAMPLE_COMMENT_LINE_2 | LATITUDE | LONGITUDE
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 3.74 |  | 0.5 | mg/M3 | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | $CHLOROA | Pheophytin | 4.41 |  | 0.5 | mg/M3 | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 1.5 |  | 0.3 | mg/L | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | COLOR | Color | 79.7 |  | 1.25 | CU | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.99 |  |  | mg/L | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | ENTEROLERT | Enterococci | 10 | U | 10 | MPN/100mL | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | NO2 | Nitrite as N | 0.006 | I | 0.003 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | NO3 | Nitrate as N | 0.163 |  | 0.01 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.169 |  | 0.01 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.071 |  | 0.005 | mg/L as P | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.80 |  | 0.10 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.85 |  |  | meters | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 21.8 |  |  | °C | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.79 |  |  | units | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 13900 |  |  | µmhos/cm | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 8.06 |  |  | SU | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 8.5 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TSS | Total Suspended Solids | 6.70 |  | 0.6 | mg/L | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 95.6 |  | 0.1 | % | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.096 |  | 0.006 | mg/L as P | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 1.1 |  |  | Meters | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.80 |  | 0.10 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TN | Nitrogen, Total | 0.97 |  | 0.10 | mg/L as N | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 14 |  | 1 | mg/L | SAMP |  | 26.56957 | -81.93127
AF46868 | CRNEP_RS | Grid #412 | REISTAD/JAEGER | 2023-01-04 | 08:55 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 4.42 |  | 0.2 | NTU | SAMP |  | 26.56957 | -81.93127
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 0.98 | I | 0.5 | mg/M3 | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | $CHLOROA | Pheophytin | 4.31 |  | 0.5 | mg/M3 | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 0.8 | I | 0.3 | mg/L | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | COLOR | Color | 111 |  | 1.25 | CU | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.68 |  |  | mg/L | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | ENTEROLERT | Enterococci | 10 | U | 10 | MPN/100mL | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | NH3 | Ammonia as N | 0.019 | I | 0.014 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | NO2 | Nitrite as N | 0.006 | I | 0.003 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | NO3 | Nitrate as N | 0.228 |  | 0.01 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.234 |  | 0.01 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.085 |  | 0.005 | mg/L as P | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.86 |  | 0.10 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.76 |  |  | units | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.85 |  |  | meters | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 3.01 |  |  | SU | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 23.0 |  |  | °C | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 11 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 5600 |  |  | µmhos/cm | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.11 |  | 0.006 | mg/L as P | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 1.7 |  |  | Meters | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.88 |  | 0.10 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TN | Nitrogen, Total | 1.1 |  | 0.10 | mg/L as N | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TSS | Total Suspended Solids | 1.85 | I | 0.6 | mg/L | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 91.1 |  | 0.1 | % | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 17 |  | 1 | mg/L | SAMP |  | 26.67211 | -81.83846
AF46870 | CRNEP_RS | Grid #449 | REISTAD/JAEGER | 2023-01-04 | 10:15 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 2.27 |  | 0.2 | NTU | SAMP |  | 26.67211 | -81.83846
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 2.73 |  | 0.5 | mg/M3 | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | $CHLOROA | Pheophytin | 6.91 |  | 0.5 | mg/M3 | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 0.9 | I | 0.3 | mg/L | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | COLOR | Color | 122 |  | 1.25 | CU | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.19 |  |  | mg/L | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | ENTEROLERT | Enterococci | 42 |  | 10 | MPN/100mL | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | NO2 | Nitrite as N | 0.006 | I | 0.003 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | NO3 | Nitrate as N | 0.226 |  | 0.01 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.232 |  | 0.01 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.075 |  | 0.005 | mg/L as P | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.90 |  | 0.10 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.54 |  |  | units | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.85 |  |  | meters | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 1.80 |  |  | SU | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 23.1 |  |  | °C | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 11 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 3400 |  |  | µmhos/cm | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.11 |  | 0.006 | mg/L as P | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 1.8 |  |  | Meters | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.90 |  | 0.10 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TN | Nitrogen, Total | 1.1 |  | 0.10 | mg/L as N | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 84.9 |  | 0.1 | % | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 18 |  | 1 | mg/L | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TSS | Total Suspended Solids | 2.50 |  | 0.6 | mg/L | SAMP |  | 26.67892 | -81.83054
AF46871 | CRNEP_RS | Grid #450 | REISTAD/JAEGER | 2023-01-04 | 10:45 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 3.55 |  | 0.2 | NTU | SAMP |  | 26.67892 | -81.83054
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 4.64 |  | 0.5 | mg/M3 | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | $CHLOROA | Pheophytin | 1.90 | I | 0.5 | mg/M3 | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 1.1 | I | 0.3 | mg/L | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | COLOR | Color | 105 |  | 1.25 | CU | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 8.10 |  |  | mg/L | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | ENTEROLERT | Enterococci | 10 |  | 10 | MPN/100mL | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | NO2 | Nitrite as N | 0.006 | I | 0.003 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | NO3 | Nitrate as N | 0.217 |  | 0.01 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.223 |  | 0.01 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.081 |  | 0.005 | mg/L as P | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.97 |  | 0.10 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.87 |  |  | units | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 4.14 |  |  | SU | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 1.0 |  |  | meters | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 10 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 22.1 |  |  | °C | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.10 |  | 0.006 | mg/L as P | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 2.7 |  |  | Meters | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 7500 |  |  | µmhos/cm | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.97 |  | 0.10 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TN | Nitrogen, Total | 1.2 |  | 0.10 | mg/L as N | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 17 |  | 1 | mg/L | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TSS | Total Suspended Solids | 2.60 |  | 0.6 | mg/L | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 95.1 |  | 0.1 | % | SAMP |  | 26.63808 | -81.89015
AF46872 | CRNEP_RS | Grid #435 | REISTAD/JAEGER | 2023-01-04 | 09:30 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 2.05 |  | 0.2 | NTU | SAMP |  | 26.63808 | -81.89015
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 3.61 |  | 0.5 | mg/M3 | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | $CHLOROA | Pheophytin | 1.28 | I | 0.5 | mg/M3 | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 0.9 | I | 0.3 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | COLOR | Color | 128 |  | 1.25 | CU | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.13 |  |  | mg/L | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | ENTEROLERT | Enterococci | 10 | U | 10 | MPN/100mL | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | NO2 | Nitrite as N | 0.007 | I | 0.003 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | NO3 | Nitrate as N | 0.230 |  | 0.01 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.237 |  | 0.01 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.065 |  | 0.005 | mg/L as P | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.94 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.43 |  |  | units | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.75 |  |  | meters | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 0.57 |  |  | SU | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 23.5 |  |  | °C | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 12 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 1100 |  |  | µmhos/cm | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.094 |  | 0.006 | mg/L as P | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 3.1 |  |  | Meters | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.94 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TN | Nitrogen, Total | 1.2 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TSS | Total Suspended Solids | 1.75 | I | 0.6 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 84.2 |  | 0.1 | % | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 19 |  | 1 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46873 | CRNEP_RS | Grid #454 | REISTAD/JAEGER | 2023-01-04 | 11:15 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 3.39 |  | 0.2 | NTU | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 2.76 |  | 0.5 | mg/M3 | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | $CHLOROA | Pheophytin | 1.83 | I | 0.5 | mg/M3 | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 0.9 | I | 0.3 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | COLOR | Color | 129 |  | 1.25 | CU | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 6.73 |  |  | mg/L | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | ENTEROLERT | Enterococci | 10 |  | 10 | MPN/100mL | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | NO2 | Nitrite as N | 0.007 | I | 0.003 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | NO3 | Nitrate as N | 0.230 |  | 0.01 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.237 |  | 0.01 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.066 |  | 0.005 | mg/L as P | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.95 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TEMPC_BC | Field Temperature by client | 21.2 |  |  | °C | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | COND_BC | Specific Conductance, By Client | 2500 |  |  | µmhos/cm | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | PHF_BC | pH, Field (electrometric) by Client | 7.52 |  |  | units | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 12 |  | 0.1 | mg/L as SiO2 | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | SALF_BC | Salinity by meter by Client | 1.27 |  |  | SU | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 76.4 |  | 0.1 | % | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.099 |  | 0.006 | mg/L as P | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TDEPTH_BC | Depth of Water Body | 3.1 |  |  | Meters | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TSS | Total Suspended Solids | 2.35 | I | 0.6 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.95 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 3.85 |  | 0.2 | NTU | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TN | Nitrogen, Total | 1.2 |  | 0.10 | mg/L as N | SAMP |  | 26.69144 | -81.82189
AF46874 | CRNEP_RSBOT | Grid #454 Bottom | REISTAD/JAEGER | 2023-01-04 | 11:25 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 19 |  | 1 | mg/L | SAMP |  | 26.69144 | -81.82189
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 0.50 | U | 0.5 | mg/M3 | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | $CHLOROA | Pheophytin | 0.50 | U | 0.5 | mg/M3 | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | BOD | Biochemical Oxygen Demand 5 day | 0.3 | U | 0.3 | mg/L | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | COLOR | Color | 1.25 | U | 1.25 | CU | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | ENTEROLERT | Enterococci | 1 | U | 1 | MPN/100mL | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | NO2 | Nitrite as N | 0.003 | U | 0.003 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | NO3 | Nitrate as N | 0.010 | U | 0.01 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | NOX | Nitrate + Nitrite as N | 0.010 | U | 0.01 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | O-PO4 | Phosphorus, Ortho as P | 0.005 | U | 0.005 | mg/L as P | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | ONIT | Nitrogen, Organic | 0.100 | U | 0.10 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | SILICA | Silica, disolved as SiO2 | 0.1 | U | 0.1 | mg/L as SiO2 | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | T-PO4 | Phosphorus, Total as P | 0.006 | U | 0.006 | mg/L as P | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | TKN | Nitrogen, Kjeldahl, Total | 0.10 | U | 0.10 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | TN | Nitrogen, Total | 0.100 | U | 0.10 | mg/L as N | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | TOC | Total Organic Carbon (NPOC) | 1.000 | U | 1 | mg/L | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | TSS | Total Suspended Solids | 0.6 | U | 0.6 | mg/L | FCEB |  | 26.69144 | -81.82489
AF46875 | CRNEP_EQ | EB Site #454 | REISTAD/JAEGER | 2023-01-04 | 12:35 | 2023-01-04 |  | TURB | Turbidity (Nephelometric) | 0.20 | U | 0.2 | NTU | FCEB |  | 26.69144 | -81.82489