## C262-01102023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/10/2023 to 1/10/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-11
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50644 | A | G4NW0403 Escambia River G4NW0403 | 2023-01-10 | 11:55 | 2023-01-10 | 14:33 | Freshwater | FB/NM | Escherichia coli (QT) | 327 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-10 | 15:30 | 9223B (Colilert®-18 QT®)
23- 50645 | A | G4NW0404 Escambia River G4NW0404 | 2023-01-10 | 10:50 | 2023-01-10 | 14:33 | Freshwater | FB/NM | Escherichia coli (QT) | 185 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-10 | 15:30 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01102023A |  |  |  | Report Date: |  | 2023-01-11
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01122023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/12/2023 to 1/12/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-13
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50646 | A | G3NW0124 Eastern Lake G3NW0124 | 2023-01-12 | 10:15 | 2023-01-12 | 14:30 | Marine Water | FB | Enterococcus (QT) | 75 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-12 | 15:10 | Enterolert (QT)
23- 50647 | A | G3NW0007 Western Lake G3NW0007 | 2023-01-12 | 11:00 | 2023-01-12 | 14:30 | Marine Water | FB | Enterococcus (QT) | 31 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-12 | 15:10 | Enterolert (QT)
23- 50648 | A | G3NW0219 Alligator Lake G3NW0219 | 2023-01-12 | 11:50 | 2023-01-12 | 14:30 | Marine Water | FB | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-12 | 15:10 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01122023A |  |  |  | Report Date: |  | 2023-01-13
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01172023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/17/2023 to 1/17/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-18
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50655 | A | G3NW0152 Hogtown Bayou G3NW0152 | 2023-01-17 | 10:55 | 2023-01-17 | 12:54 | Marine Water | NM | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-17 | 13:45 | Enterolert (QT)
23- 50656 | A | G3NW0218 Hewett Bayou G3NW0218 | 2023-01-17 | 10:10 | 2023-01-17 | 12:54 | Marine Water | NM | Enterococcus (QT) | 10 | MPN/100 mL | U | 10 | 10 | 10 | 2023-01-17 | 13:45 | Enterolert (QT)
23- 50657 | A | G3NW0233 Buck Bayou G3NW0233 | 2023-01-17 | 9:45 | 2023-01-17 | 12:54 | Marine Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-17 | 13:45 | Enterolert (QT)
23- 50658 | A | G3NW0234 Mussett Bayou G3NW0234 | 2023-01-17 | 10:25 | 2023-01-17 | 12:54 | Marine Water | NM | Enterococcus (QT) | 10 | MPN/100 mL | U | 10 | 10 | 10 | 2023-01-17 | 13:45 | Enterolert (QT)
23- 50659 | A | G3NW0235 Churchill Bayou G3NW0235 | 2023-01-17 | 10:40 | 2023-01-17 | 12:54 | Marine Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-17 | 13:45 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01172023A |  |  |  | Report Date: |  | 2023-01-18
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01182023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/18/2023 to 1/18/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-19
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50676 | A | G4NW0001 Bear Creek G4NW0001 | 2023-01-18 | 12:12 | 2023-01-18 | 13:48 | Freshwater | BO | Escherichia coli (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-18 | 15:05 | 9223B (Colilert®-18 QT®)
23- 50677 | A | G4NW0030 Big Coldwater Creek G4NW0030 | 2023-01-18 | 10:58 | 2023-01-18 | 13:48 | Freshwater | BO | Escherichia coli (QT) | 175 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-18 | 15:05 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01182023A |  |  |  | Report Date: |  | 2023-01-19
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01192023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/19/2023 to 1/19/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-20
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50710 | A | G4NW0163 Wiggins Branch G4NW0163 | 2023-01-19 | 10:55 | 2023-01-19 | 14:24 | Freshwater | HH/FB | Escherichia coli (QT) | 86 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-19 | 15:35 | 9223B (Colilert®-18 QT®)
23- 50711 | A | G4NW0420 Little Pine Barren Creek G4NW0420 | 2023-01-19 | 11:35 | 2023-01-19 | 14:24 | Freshwater | HH/FB | Escherichia coli (QT) | 121 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-19 | 15:35 | 9223B (Colilert®-18 QT®)
23- 50712 | A | G4NW0421 Big Escambia Creek G4NW0421 | 2023-01-19 | 10:00 | 2023-01-19 | 14:24 | Freshwater | HH/FB | Escherichia coli (QT) | 134 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-19 | 15:35 | 9223B (Colilert®-18 QT®)
23- 50713 | A | G5NW0002 Brushy Creek G5NW0002 | 2023-01-19 | 12:10 | 2023-01-19 | 14:24 | Freshwater | HH/FB | Escherichia coli (QT) | 134 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-19 | 15:35 | 9223B (Colilert®-18 QT®)
23- 50714 | A | G5NW0150 McDavid Creek G5NW0150 | 2023-01-19 | 13:00 | 2023-01-19 | 14:24 | Freshwater | HH/FB | Escherichia coli (QT) | 9208 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-19 | 15:35 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01192023A |  |  |  | Report Date: |  | 2023-01-20
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01232023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/23/2023 to 1/23/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-24
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50719 | A | G4NW0080 Sandy Point Creek G4NW0080 | 2023-01-23 | 9:50 | 2023-01-23 | 10:25 | Freshwater | LM | Escherichia coli (QT) | 1725 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-23 | 14:35 | 9223B (Colilert®-18 QT®)
23- 50720 | A | G4NW0387 White Oak Bayou G4NW0387 | 2023-01-23 | 9:15 | 2023-01-23 | 10:25 | Marine Water | LM | Enterococcus (QT) | 4884 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-23 | 12:50 | Enterolert (QT)
23- 50721 | A | G4NW0394 Jakes Bayou G4NW0394 | 2023-01-23 | 9:30 | 2023-01-23 | 10:25 | Marine Water | LM | Enterococcus (QT) | 373 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-23 | 12:50 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01232023A |  |  |  | Report Date: |  | 2023-01-24
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01242023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/24/2023 to 1/24/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-25
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50733 | A | G4NW0277 Pond Creek G4NW0277 | 2023-01-24 | 11:15 | 2023-01-24 | 12:12 | Freshwater | FB/NM | Escherichia coli (QT) | 1421 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-24 | 13:20 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01242023A |  |  |  | Report Date: |  | 2023-01-25
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01262023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/26/2023 to 1/26/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-01-27
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50736 | A | G4NW0443 Trout Bayou G4NW0443 | 2023-01-26 | 11:00 | 2023-01-26 | 12:43 | Marine Water | HH/NM | Enterococcus (QT) | 295 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-26 | 13:30 | Enterolert (QT)
23- 50737 | A | G4NW0025 Escambia Bay G4NW0025 | 2023-01-26 | 10:05 | 2023-01-26 | 12:43 | Marine Water | HH/NM | Enterococcus (QT) | 278 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-26 | 13:30 | Enterolert (QT)
23- 50738 | A | G4NW0029 Escambia Bay G4NW0029 | 2023-01-26 | 10:30 | 2023-01-26 | 12:43 | Marine Water | HH/NM | Enterococcus (QT) | 169 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-26 | 13:30 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01262023A |  |  |  | Report Date: |  | 2023-01-27
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01312023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/31/2023 to 1/31/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-02-01
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50743 | A | G4NW0008 Pond Creek G4NW0008 | 2023-01-31 | 10:05 | 2023-01-31 | 12:17 | Freshwater | HH/NM | Escherichia coli (QT) | 161 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-31 | 13:55 | 9223B (Colilert®-18 QT®)
23- 50744 | A | G4NW0481 Pace Mill Creek G4NW0481 | 2023-01-31 | 11:40 | 2023-01-31 | 12:17 | Freshwater | HH/NM | Escherichia coli (QT) | 197 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-31 | 13:55 | 9223B (Colilert®-18 QT®)
23- 50745 | A | G4NW0532 Bucket Branch G4NW0532 | 2023-01-31 | 11:00 | 2023-01-31 | 12:17 | Freshwater | HH/NM | Escherichia coli (QT) | 156 | MPN/100 mL |  | 10 | 10 | 10 | 2023-01-31 | 13:55 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01312023A |  |  |  | Report Date: |  | 2023-02-01
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02012023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/1/2023 to 2/1/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-02-02
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50748 | A | G3NW0007 Western Lake G3NW0007 | 2023-02-01 | 9:35 | 2023-02-01 | 13:03 | Marine Water | NM | Enterococcus (QT) | 52 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-01 | 13:50 | Enterolert (QT)
23- 50749 | A | G3NW0124 Eastern Lake G3NW0124 | 2023-02-01 | 10:24 | 2023-02-01 | 13:03 | Marine Water | NM | Enterococcus (QT) | 272 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-01 | 13:50 | Enterolert (QT)
23- 50750 | A | G3NW0219 Alligator Lake G3NW0219 | 2023-02-01 | 10:55 | 2023-02-01 | 13:03 | Marine Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-01 | 13:50 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02012023A |  |  |  | Report Date: |  | 2023-02-02
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02062023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/6/2023 to 2/6/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-02-07
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50757 | A | G3NW0116 Seven Runs G3NW0116 | 2023-02-06 | 9:10 | 2023-02-06 | 13:14 | Freshwater | NM | Escherichia coli (QT) | 275 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-06 | 14:30 | 9223B (Colilert®-18 QT®)
23- 50758 | A | G3NW0137 Mullet Creek G3NW0137 | 2023-02-06 | 10:20 | 2023-02-06 | 13:14 | Freshwater | NM | Escherichia coli (QT) | 496 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-06 | 14:30 | 9223B (Colilert®-18 QT®)
23- 50759 | A | G3NW0200 Little Black Creek G3NW0200 | 2023-02-06 | 9:35 | 2023-02-06 | 13:14 | Freshwater | NM | Escherichia coli (QT) | 233 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-06 | 14:30 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02062023A |  |  |  | Report Date: |  | 2023-02-07
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02072023A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/7/2023 to 2/7/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-02-08
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50760 | A | 1.0 | 2023-02-07 | 7:40 | 2023-02-07 | 10:20 | Freshwater | MK | Enterococcus (QT) | 160 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 12:30 | Enterolert (QT)
23- 50761 | A | Equipment Blank | 2023-02-07 | 8:05 | 2023-02-07 | 10:20 | DI H2O | MK | Enterococcus (QT) | 1 | MPN/100 mL | U | 1 | 1 | 1 | 2023-02-07 | 12:30 | Enterolert (QT)
23- 50762 | A | 5.3 | 2023-02-07 | 8:15 | 2023-02-07 | 10:20 | Brackish Water | MK | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 12:30 | Enterolert (QT)
23- 50763 | A | 5.2 | 2023-02-07 | 8:45 | 2023-02-07 | 10:20 | Freshwater | MK | Enterococcus (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 12:30 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02072023A |  |  |  | Report Date: |  | 2023-02-08
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02072023B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/7/2023 to 2/7/2023
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2023-02-08
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
23- 50773 | A | G4NW0211 Discharge from Tiger Point Golf Course - G4NW0211 | 2023-02-07 | 12:15 | 2023-02-07 | 13:12 | Marine Water | FB | Escherichia coli (QT) | 131 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 14:10 | 9223B (Colilert®-18 QT®)
23- 50773 | A | G4NW0211 Discharge from Tiger Point Golf Course - G4NW0211 | 2023-02-07 | 12:15 | 2023-02-07 | 13:12 | Marine Water | FB | Enterococcus (QT) | 504 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 15:35 | Enterolert (QT)
23- 50774 | A | G4NW0531 Williams Creek G4NW0531 | 2023-02-07 | 11:20 | 2023-02-07 | 13:12 | Freshwater | FB | Escherichia coli (QT) | 135 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 14:10 | 9223B (Colilert®-18 QT®)
23- 50775 | A | G4NW0019 Tom King Creek G4NW0019 | 2023-02-07 | 10:35 | 2023-02-07 | 13:12 | Freshwater | FB | Escherichia coli (QT) | 373 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 14:10 | 9223B (Colilert®-18 QT®)
23- 50776 | A | G4NW0020 Tributary to Tom King Creek G4NW0020 | 2023-02-07 | 10:25 | 2023-02-07 | 13:12 | Freshwater | FB | Escherichia coli (QT) | 148 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 14:10 | 9223B (Colilert®-18 QT®)
23- 50777 | A | G4NW0015 East Bay River G4NW0015 | 2023-02-07 | 9:50 | 2023-02-07 | 15:25 | Marine Water | FB | Enterococcus (QT) | 31 | MPN/100 mL |  | 10 | 10 | 10 | 2023-02-07 | 15:35 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02072023B |  |  |  | Report Date: |  | 2023-02-08
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.