## FlatData
SAMPLE_ID | LOCATION_CODE | LOCATION_DESCRIPTION | SAMPLE_COLLECTOR | COLLECTION_DATE | COLLECTION_TIME | SUBMIT_DATE | SAMPLE_COMMENT1 | ANALYSIS_CODE | ANALYTE_NAME | COMBINATION_RESULT | QUALIFIER | ANALYTE_MDL | ANALYSIS_UNIT | SAMPLE_TYPE | SAMPLE_COMMENT_LINE_2 | LATITUDE | LONGITUDE
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 0.50 | U | 0.5 | mg/M3 | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | $CHLOROA | Pheophytin | 7.37 |  | 0.5 | mg/M3 | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | BOD | Biochemical Oxygen Demand 5 day | 1.6 |  | 0.3 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | AL-ICPMS | Aluminum | 50.0 | U | 50.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | AS-ICPMS | Arsenic | 5.0 | U | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | BA-ICPMS | Barium | 22.7 |  | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | CL_P | Chloride | 4810 |  | 16.00 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | BE-ICPMS | Beryllium | 2.50 | U | 2.50 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | COLOR | Color | 52.5 |  | 1.25 | CU | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | CD-ICPMS | Cadmium | 3.0 | U | 3.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | CR-ICPMS | Chromium | 5.0 | U | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | CU-ICPMS | Copper | 5.0 | U | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | DIGESTW | Metals digest w/HNO3, water samples | Completed |  |  |  | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | MN-ICPMS | Manganese | 8.17 | I | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 8.70 |  |  | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | MO-ICPMS | Molybdenum | 5.32 | I | 5.00 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | ENTEROLERT | Enterococci | 10 | U | 10 | MPN/100mL | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | NI-ICPMS | Nickel | 7.50 | U | 7.50 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | PB-ICPMS | Lead | 5.0 | U | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | SB-ICPMS | Antimony | 10.0 | U | 10.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | SE-ICPMS | Selenium | 28.2 |  | 5.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TL-ICPMS | Thallium | 3.0 | U | 3.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | V-ICPMS | Vanadium | 10.0 | U | 10.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | ZN-ICPMS | Zinc | 10.0 | U | 10.0 | µg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | CA-ICP | Calcium by ICP | 182 |  | 2.50 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | NO2 | Nitrite as N | 0.003 | I | 0.003 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | FE-ICP | Iron by ICP | 0.050 | I | 0.050 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | NO3 | Nitrate as N | 0.010 | U | 0.01 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | MG-ICP | Magnesium by ICP | 318 |  | 2.50 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | NOX | Nitrate + Nitrite as N | 0.010 | U | 0.01 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | COND_BC | Specific Conductance, By Client | 15300 |  |  | µmhos/cm | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | O-PO4 | Phosphorus, Ortho as P | 0.012 | I | 0.005 | mg/L as P | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | ONIT | Nitrogen, Organic | 0.77 |  | 0.10 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | PHF_BC | pH, Field (electrometric) by Client | 7.85 |  |  | units | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TEMPC_BC | Field Temperature by client | 19.6 |  |  | °C | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | SALF_BC | Salinity by meter by Client | 8.97 |  |  | SU | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 1.2 |  |  | meters | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | T-PO4 | Phosphorus, Total as P | 0.038 |  | 0.006 | mg/L as P | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | THARDC | Total Hardness as CaCO3 | 1760 |  | 2.50 | mg/L as CaCO3 | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 100.1 |  | 0.1 | % | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TKN | Nitrogen, Kjeldahl, Total | 0.77 |  | 0.10 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TN | Nitrogen, Total | 0.77 |  | 0.10 | mg/L as N | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TOC | Total Organic Carbon (NPOC) | 12 |  | 1 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TSS | Total Suspended Solids | 3.70 |  | 0.6 | mg/L | SAMP
AF81410 | HENDGR01 | Hendry Creek under power lines | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:55 | 2024-01-31 |  | TURB | Turbidity (Nephelometric) | 2.14 |  | 0.2 | NTU | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 11.64 |  | 0.5 | mg/M3 | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | $CHLOROA | Pheophytin | 0.65 | I | 0.5 | mg/M3 | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | BOD | Biochemical Oxygen Demand 5 day | 1.4 |  | 0.3 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | AL-ICPMS | Aluminum | 50.0 | U | 50.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | AS-ICPMS | Arsenic | 5.0 | U | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | BA-ICPMS | Barium | 25.0 |  | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | CL_P | Chloride | 1750 |  | 32.00 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | BE-ICPMS | Beryllium | 2.50 | U | 2.50 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | COLOR | Color | 50.5 |  | 1.25 | CU | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | CD-ICPMS | Cadmium | 3.0 | U | 3.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | CR-ICPMS | Chromium | 5.0 | U | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | CU-ICPMS | Copper | 5.0 | U | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | DIGESTW | Metals digest w/HNO3, water samples | Completed |  |  |  | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | MN-ICPMS | Manganese | 11.2 | I | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.33 |  |  | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | MO-ICPMS | Molybdenum | 5.00 | U | 5.00 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | ENTEROLERT | Enterococci | 31 |  | 10 | MPN/100mL | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | NI-ICPMS | Nickel | 7.50 | U | 7.50 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | PB-ICPMS | Lead | 5.0 | U | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | SB-ICPMS | Antimony | 10.0 | U | 10.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | SE-ICPMS | Selenium | 9.35 | I | 5.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TL-ICPMS | Thallium | 3.0 | U | 3.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | V-ICPMS | Vanadium | 10.0 | U | 10.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | ZN-ICPMS | Zinc | 10.0 | U | 10.0 | µg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | CA-ICP | Calcium by ICP | 131 |  | 2.50 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | NO2 | Nitrite as N | 0.012 |  | 0.003 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | FE-ICP | Iron by ICP | 0.070 | I | 0.050 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | NO3 | Nitrate as N | 0.056 | V1 | 0.01 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | MG-ICP | Magnesium by ICP | 120 |  | 2.50 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | NOX | Nitrate + Nitrite as N | 0.068 | V1 | 0.01 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | COND_BC | Specific Conductance, By Client | 8600 |  |  | µmhos/cm | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | O-PO4 | Phosphorus, Ortho as P | 0.008 | I | 0.005 | mg/L as P | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | ONIT | Nitrogen, Organic | 0.93 |  | 0.10 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | PHF_BC | pH, Field (electrometric) by Client | 7.86 |  |  | units | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TEMPC_BC | Field Temperature by client | 18.8 |  |  | °C | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.9 |  |  | meters | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 80.6 |  | 0.1 | % | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | SALF_BC | Salinity by meter by Client | 4.86 |  |  | SU | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TSS | Total Suspended Solids | 3.10 |  | 0.6 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | T-PO4 | Phosphorus, Total as P | 0.043 |  | 0.006 | mg/L as P | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | THARDC | Total Hardness as CaCO3 | 820 |  | 2.50 | mg/L as CaCO3 | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TKN | Nitrogen, Kjeldahl, Total | 0.93 |  | 0.10 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TOC | Total Organic Carbon (NPOC) | 11 |  | 1 | mg/L | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TN | Nitrogen, Total | 1.00 | V1 | 0.10 | mg/L as N | SAMP
AF81411 | HENDGR02 | Hendry Cr. can see 1st house | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 11:10 | 2024-01-31 |  | TURB | Turbidity (Nephelometric) | 3.78 |  | 0.2 | NTU | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 1.02 | I | 0.5 | mg/M3 | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | $CHLOROA | Pheophytin | 2.95 |  | 0.5 | mg/M3 | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | BOD | Biochemical Oxygen Demand 5 day | 0.8 | I | 0.3 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | AL-ICPMS | Aluminum | 50.0 | U | 50.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | AS-ICPMS | Arsenic | 5.0 | U | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | BA-ICPMS | Barium | 22.9 |  | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | CL_P | Chloride | 2810 |  | 16.00 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | BE-ICPMS | Beryllium | 2.50 | U | 2.50 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | COLOR | Color | 44.4 |  | 1.25 | CU | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | CD-ICPMS | Cadmium | 3.0 | U | 3.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | CR-ICPMS | Chromium | 5.0 | U | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | CU-ICPMS | Copper | 5.0 | U | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | DIGESTW | Metals digest w/HNO3, water samples | Completed |  |  |  | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | MN-ICPMS | Manganese | 7.46 | I | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.89 |  |  | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | MO-ICPMS | Molybdenum | 5.40 | I | 5.00 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | ENTEROLERT | Enterococci | 20 |  | 10 | MPN/100mL | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | NI-ICPMS | Nickel | 7.50 | U | 7.50 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | PB-ICPMS | Lead | 5.0 | U | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | SB-ICPMS | Antimony | 10.0 | U | 10.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | SE-ICPMS | Selenium | 20.1 |  | 5.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TL-ICPMS | Thallium | 3.0 | U | 3.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | NH3 | Ammonia as N | 0.039 | I | 0.014 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | V-ICPMS | Vanadium | 10.0 | U | 10.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | ZN-ICPMS | Zinc | 10.0 | U | 10.0 | µg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | CA-ICP | Calcium by ICP | 138 |  | 2.50 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | NO2 | Nitrite as N | 0.005 | I | 0.003 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | FE-ICP | Iron by ICP | 0.170 | I | 0.050 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | NO3 | Nitrate as N | 0.069 | V1 | 0.01 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | MG-ICP | Magnesium by ICP | 186 |  | 2.50 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | NOX | Nitrate + Nitrite as N | 0.074 | V1 | 0.01 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | COND_BC | Specific Conductance, By Client | 9700 |  |  | µmhos/cm | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | O-PO4 | Phosphorus, Ortho as P | 0.008 | I | 0.005 | mg/L as P | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | ONIT | Nitrogen, Organic | 0.58 |  | 0.10 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | PHF_BC | pH, Field (electrometric) by Client | 7.55 |  |  | units | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | SALF_BC | Salinity by meter by Client | 5.49 |  |  | SU | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TEMPC_BC | Field Temperature by client | 19.5 |  |  | °C | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 1.0 |  |  | meters | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | T-PO4 | Phosphorus, Total as P | 0.023 | I | 0.006 | mg/L as P | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | THARDC | Total Hardness as CaCO3 | 1110 |  | 2.50 | mg/L as CaCO3 | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TKN | Nitrogen, Kjeldahl, Total | 0.62 |  | 0.10 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 88.9 |  | 0.1 | % | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TN | Nitrogen, Total | 0.69 | V1 | 0.10 | mg/L as N | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TOC | Total Organic Carbon (NPOC) | 10 |  | 1 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TSS | Total Suspended Solids | 2.25 | I | 0.6 | mg/L | SAMP
AF81412 | MULLGR01 | Mullock Cr. Y near marker 22 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:30 | 2024-01-31 |  | TURB | Turbidity (Nephelometric) | 3.16 |  | 0.2 | NTU | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 0.50 | U | 0.5 | mg/M3 | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | $CHLOROA | Pheophytin | 5.45 |  | 0.5 | mg/M3 | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | BOD | Biochemical Oxygen Demand 5 day | 0.8 | I | 0.3 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | AL-ICPMS | Aluminum | 50.0 | U | 50.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | AS-ICPMS | Arsenic | 5.0 | U | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | BA-ICPMS | Barium | 20.4 |  | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | CL_P | Chloride | 1860 |  | 16.00 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | BE-ICPMS | Beryllium | 2.50 | U | 2.50 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | COLOR | Color | 45.6 |  | 1.25 | CU | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | CD-ICPMS | Cadmium | 3.0 | U | 3.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | CR-ICPMS | Chromium | 5.0 | U | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | CU-ICPMS | Copper | 5.0 | U | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | DIGESTW | Metals digest w/HNO3, water samples | Completed |  |  |  | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | MN-ICPMS | Manganese | 7.89 | I | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | DOFIELD_BC | Oxygen, Dissolved, Electrode, by Client | 7.64 |  |  | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | MO-ICPMS | Molybdenum | 5.00 | U | 5.00 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | ENTEROLERT | Enterococci | 31 |  | 10 | MPN/100mL | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | NI-ICPMS | Nickel | 7.50 | U | 7.50 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | PB-ICPMS | Lead | 5.0 | U | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | SB-ICPMS | Antimony | 10.0 | U | 10.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | SE-ICPMS | Selenium | 8.89 | I | 5.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TL-ICPMS | Thallium | 3.0 | U | 3.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | NH3 | Ammonia as N | 0.049 | I | 0.014 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | V-ICPMS | Vanadium | 10.0 | U | 10.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | ZN-ICPMS | Zinc | 10.0 | U | 10.0 | µg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | CA-ICP | Calcium by ICP | 118 |  | 2.50 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | NO2 | Nitrite as N | 0.006 | I | 0.003 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | FE-ICP | Iron by ICP | 0.180 | I | 0.050 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | NO3 | Nitrate as N | 0.068 | V1 | 0.01 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | MG-ICP | Magnesium by ICP | 121 |  | 2.50 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | NOX | Nitrate + Nitrite as N | 0.074 | V1 | 0.01 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | COND_BC | Specific Conductance, By Client | 7000 |  |  | µmhos/cm | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | O-PO4 | Phosphorus, Ortho as P | 0.008 | I | 0.005 | mg/L as P | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | ONIT | Nitrogen, Organic | 0.55 |  | 0.10 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | PHF_BC | pH, Field (electrometric) by Client | 6.63 |  |  | units | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | SALF_BC | Salinity by meter by Client | 3.88 |  |  | SU | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TEMPC_BC | Field Temperature by client | 19.8 |  |  | °C | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | SECCHI_BC | Water Clarity Secchi Disk, by Client | 0.4 |  |  | meters | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | T-PO4 | Phosphorus, Total as P | 0.025 |  | 0.006 | mg/L as P | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | THARDC | Total Hardness as CaCO3 | 794 |  | 2.50 | mg/L as CaCO3 | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TKN | Nitrogen, Kjeldahl, Total | 0.60 |  | 0.10 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | %DOSAT_BC | Dissolved Oxygen % Saturation by Client | 85.3 |  | 0.1 | % | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TN | Nitrogen, Total | 0.67 | V1 | 0.10 | mg/L as N | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TOC | Total Organic Carbon (NPOC) | 11 |  | 1 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TSS | Total Suspended Solids | 1.80 | I | 0.6 | mg/L | SAMP
AF81413 | MULLGR02 | Mullock Creek, marker 55 | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 10:10 | 2024-01-31 |  | TURB | Turbidity (Nephelometric) | 1.98 |  | 0.2 | NTU | SAMP
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | $CHLOROA | Chlorophyll a - corrected for Pheophytin | 0.50 | U | 0.5 | mg/M3 | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | $CHLOROA | Pheophytin | 0.50 | U | 0.5 | mg/M3 | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | BOD | Biochemical Oxygen Demand 5 day | 0.3 | U | 0.3 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | AL-ICPMS | Aluminum | 5.0 | U | 5.0 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | AS-ICPMS | Arsenic | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | CL_P | Chloride | 1.60 | U | 1.60 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | BA-ICPMS | Barium | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | COLOR | Color | 1.25 | U | 1.25 | CU | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | BE-ICPMS | Beryllium | 0.25 | U | 0.25 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | CD-ICPMS | Cadmium | 0.3 | U | 0.3 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | CR-ICPMS | Chromium | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | DIGESTW | Metals digest w/HNO3, water samples | Completed |  |  |  | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | CU-ICPMS | Copper | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | ENTEROLERT | Enterococci | 1 | U | 1 | MPN/100mL | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | MN-ICPMS | Manganese | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | MO-ICPMS | Molybdenum | 0.50 | U | 0.50 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | NI-ICPMS | Nickel | 0.75 | U | 0.75 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | PB-ICPMS | Lead | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | NH3 | Ammonia as N | 0.014 | U | 0.014 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | SB-ICPMS | Antimony | 1.0 | U | 1.0 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | SE-ICPMS | Selenium | 0.5 | U | 0.5 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | NO2 | Nitrite as N | 0.003 | U | 0.003 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TL-ICPMS | Thallium | 0.3 | U | 0.3 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | NO3 | Nitrate as N | 0.016 | I | 0.01 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | V-ICPMS | Vanadium | 1.0 | U | 1.0 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | NOX | Nitrate + Nitrite as N | 0.016 | I | 0.01 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | ZN-ICPMS | Zinc | 1.0 | U | 1.0 | µg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | CA-ICP | Calcium by ICP | 0.250 | U | 0.25 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | O-PO4 | Phosphorus, Ortho as P | 0.005 | U | 0.005 | mg/L as P | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | FE-ICP | Iron by ICP | 0.005 | U | 0.005 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | ONIT | Nitrogen, Organic | 0.100 | U | 0.10 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | MG-ICP | Magnesium by ICP | 0.25 | U | 0.25 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | T-PO4 | Phosphorus, Total as P | 0.006 | U | 0.006 | mg/L as P | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | THARDC | Total Hardness as CaCO3 | 0.25 | U | 0.25 | mg/L as CaCO3 | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TKN | Nitrogen, Kjeldahl, Total | 0.10 | U | 0.10 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TN | Nitrogen, Total | 0.100 | U | 0.10 | mg/L as N | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TOC | Total Organic Carbon (NPOC) | 1.000 | U | 1 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TSS | Total Suspended Solids | 0.6 | U | 0.6 | mg/L | FCEB
AF81414 | EBTEB | Field Cleaned Equipment Blank | JAEGER/BELINAS/ATKINSON | 2024-01-31 | 12:10 | 2024-01-31 |  | TURB | Turbidity (Nephelometric) | 0.20 | U | 0.2 | NTU | FCEB