## Instructions & Data Entry
Instructions: 1. Enter information from pH buffer container labels into yellow cells below in "Instructions & Data Entry" worksheet. DO NOT change values in other (non-yellow) cells. Changing other values will cause formulas in "Print Chart" worksheets to display incorrect information. 2. View and Print the "Print Chart - Entered Data" worksheet. The information entered into the yellow cells in the "Instructions & Data Entry" worksheet will be automatically displayed in the yellow cells in the "Print Chart - Entered Data" worksheet. Do Not change any values or formulas in "Print Chart - Entered Data" worksheet.
EXAMPLE |  |  |  | ENTER DATA HERE
Manufacturer Info | Fisher SB101 | Fisher SB107 | Fisher SB115 | Manufacturer Info
Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer | Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer
0 | 4.01 | 7.13 | 10.34 | 0
5 | 3.99 | 7.1 | 10.26 | 5
10 | 4 | 7.07 | 10.19 | 10
15 | 3.99 | 7.05 | 10.12 | 15
20 | 4 | 7.02 | 10.06 | 20
25 | 4 | 7 | 10 | 25
30 | 4.01 | 6.99 | 9.94 | 30
35 | 4.02 | 6.98 | 9.9 | 35
40 | 4.03 | 6.97 | 9.85 | 40
50 | 4.06 | 6.97 | 9.78 | 50

## Print Chart - Example Data
Brand Info. | Fisher SB101 | Fisher SB107 | Fisher SB115 | Brand Info. | Fisher SB101 | Fisher SB107 | Fisher SB115
Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer | Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer
0 | 4.01 | 7.13 | 10.34 | 25 | 4 | 7 | 10
1 | 4.006 | 7.124 | 10.324 | 26 | 4.002 | 6.998 | 9.988
2 | 4.002 | 7.118 | 10.308 | 27 | 4.004 | 6.996 | 9.976
3 | 3.998 | 7.112 | 10.292 | 28 | 4.006 | 6.994 | 9.964
4 | 3.994 | 7.106 | 10.276 | 29 | 4.008 | 6.992 | 9.952
5 | 3.99 | 7.1 | 10.26 | 30 | 4.01 | 6.99 | 9.94
6 | 3.992 | 7.094 | 10.246 | 31 | 4.012 | 6.988 | 9.932
7 | 3.994 | 7.088 | 10.232 | 32 | 4.014 | 6.986 | 9.924
8 | 3.996 | 7.082 | 10.218 | 33 | 4.016 | 6.984 | 9.916
9 | 3.998 | 7.076 | 10.204 | 34 | 4.018 | 6.982 | 9.908
10 | 4 | 7.07 | 10.19 | 35 | 4.02 | 6.98 | 9.9
11 | 3.998 | 7.066 | 10.176 | 36 | 4.022 | 6.978 | 9.89
12 | 3.996 | 7.062 | 10.162 | 37 | 4.024 | 6.976 | 9.88
13 | 3.994 | 7.058 | 10.148 | 38 | 4.026 | 6.974 | 9.87
14 | 3.992 | 7.054 | 10.134 | 39 | 4.028 | 6.972 | 9.86
15 | 3.99 | 7.05 | 10.12 | 40 | 4.03 | 6.97 | 9.85
16 | 3.992 | 7.044 | 10.108 | 41 | 4.033 | 6.97 | 9.843
17 | 3.994 | 7.038 | 10.096 | 42 | 4.036 | 6.97 | 9.836
18 | 3.996 | 7.032 | 10.084 | 43 | 4.039 | 6.97 | 9.829
19 | 3.998 | 7.026 | 10.072 | 44 | 4.042 | 6.97 | 9.822
20 | 4 | 7.02 | 10.06 | 45 | 4.045 | 6.97 | 9.815
21 | 4 | 7.016 | 10.048 | 46 | 4.048 | 6.97 | 9.808
22 | 4 | 7.012 | 10.036 | 47 | 4.051 | 6.97 | 9.801
23 | 4 | 7.008 | 10.024 | 48 | 4.054 | 6.97 | 9.794
24 | 4 | 7.004 | 10.012 | 49 | 4.057 | 6.97 | 9.787
|  |  |  | 50 | 4.06 | 6.97 | 9.78

## Print Chart - Entered Data
Brand Info. | 0 | 0 | 0 | Brand Info. | 0 | 0 | 0
Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer | Temp (° C) | pH 4 buffer | pH 7 buffer | pH 10 buffer
0 | 0 | 0 | 0 | 25 | 0 | 0 | 0
1 | 0 | 0 | 0 | 26 | 0 | 0 | 0
2 | 0 | 0 | 0 | 27 | 0 | 0 | 0
3 | 0 | 0 | 0 | 28 | 0 | 0 | 0
4 | 0 | 0 | 0 | 29 | 0 | 0 | 0
5 | 0 | 0 | 0 | 30 | 0 | 0 | 0
6 | 0 | 0 | 0 | 31 | 0 | 0 | 0
7 | 0 | 0 | 0 | 32 | 0 | 0 | 0
8 | 0 | 0 | 0 | 33 | 0 | 0 | 0
9 | 0 | 0 | 0 | 34 | 0 | 0 | 0
10 | 0 | 0 | 0 | 35 | 0 | 0 | 0
11 | 0 | 0 | 0 | 36 | 0 | 0 | 0
12 | 0 | 0 | 0 | 37 | 0 | 0 | 0
13 | 0 | 0 | 0 | 38 | 0 | 0 | 0
14 | 0 | 0 | 0 | 39 | 0 | 0 | 0
15 | 0 | 0 | 0 | 40 | 0 | 0 | 0
16 | 0 | 0 | 0 | 41 | 0 | 0 | 0
17 | 0 | 0 | 0 | 42 | 0 | 0 | 0
18 | 0 | 0 | 0 | 43 | 0 | 0 | 0
19 | 0 | 0 | 0 | 44 | 0 | 0 | 0
20 | 0 | 0 | 0 | 45 | 0 | 0 | 0
21 | 0 | 0 | 0 | 46 | 0 | 0 | 0
22 | 0 | 0 | 0 | 47 | 0 | 0 | 0
23 | 0 | 0 | 0 | 48 | 0 | 0 | 0
24 | 0 | 0 | 0 | 49 | 0 | 0 | 0
|  |  |  | 50 | 0 | 0 | 0