## C262-01102022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/10/2022 to 1/10/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48893 | A | G4NW0421 Big Escambia Creek G4NW0421 | 2022-01-10 | 10:20 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 789 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48894 | A | G5NW0150 McDavid Creek G5NW0150 | 2022-01-10 | 13:05 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 2613 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48895 | A | G4NW0163 Wiggins Branch G4NW0163 | 2022-01-10 | 9:50 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 148 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48896 | A | G4NW0192 Little Pine Barren G4NW0192 | 2022-01-10 | 11:45 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 556 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48897 | A | G5NW0002 Brushy Creek G5NW0002 | 2022-01-10 | 12:30 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 2489 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48898 | A | G4NW0420 Little Pine Barren Creek G4NW0420 | 2022-01-10 | 11:15 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 581 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
22- 48899 | A | G5NW0004 Jacks Branch G5NW0004 | 2022-01-10 | 13:34 | 2022-01-10 | 15:20 | Freshwater | LM | Escherichia coli (QT) | 228 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-10 | 16:15 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01102022A |  |  |  | Report Date: |  | 2022-01-11
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-11
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01112022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/11/2022 to 1/11/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48900 | A | G4NW0412 Jackson Creek G4NW0412 | 2022-01-11 | 8:20 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 199 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48901 | A | G4NW0505 Jackson Creek G4NW0505 | 2022-01-11 | 8:45 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 226 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48902 | A | G4NW0429 Jones Creek G4NW0429 | 2022-01-11 | 9:00 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 175 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48903 | A | G4NW0130 Jones Creek G4NW0130 | 2022-01-11 | 10:00 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48904 | A | G4NW0179 Marcus Creek - G4NW0179 | 2022-01-11 | 10:35 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48905 | A | G5NW0051 Ten Mile Creek G5NW0051 | 2022-01-11 | 12:36 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 121 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48906 | A | G5NW0045 Ten Mile Creek - G5NW0045 | 2022-01-11 | 12:55 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 146 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48907 | A | G4NW0240 Thompson Bayou G4NW0240 | 2022-01-11 | 13:25 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 84 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
22- 48908 | A | G4NW0424 Thompson Bayou G4NW0424 | 2022-01-11 | 14:11 | 2022-01-11 | 15:05 | Freshwater | MR | Escherichia coli (QT) | 132 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-11 | 16:20 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01112022A |  |  |  | Report Date: |  | 2022-01-12
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-12
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01122022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/12/2022 to 1/12/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48909 | A | G4NW0003 Pace Mill Creek G4NW0003 | 2022-01-12 | 9:29 | 2022-01-12 | 12:00 | Freshwater | LM | Escherichia coli (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-12 | 13:15 | 9223B (Colilert®-18 QT®)
22- 48910 | A | G4NW0146 Pace Mill Creek G4NW0146 | 2022-01-12 | 9:55 | 2022-01-12 | 12:00 | Freshwater | LM | Escherichia coli (QT) | 84 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-12 | 13:15 | 9223B (Colilert®-18 QT®)
22- 48911 | A | G4NW0481 Pace Mill Creek G4NW0481 | 2022-01-12 | 8:53 | 2022-01-12 | 12:00 | Freshwater | LM | Escherichia coli (QT) | 145 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-12 | 13:15 | 9223B (Colilert®-18 QT®)
22- 48912 | A | G4NW0506 Pond Creek G4NW0506 | 2022-01-12 | 10:30 | 2022-01-12 | 12:00 | Freshwater | LM | Escherichia coli (QT) | 108 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-12 | 13:15 | 9223B (Colilert®-18 QT®)
22- 48913 | A | G4NW0507 Collins Mill Creek G4NW0507 | 2022-01-12 | 11:14 | 2022-01-12 | 12:00 | Freshwater | LM | Escherichia coli (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-12 | 13:15 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01122022A |  |  |  | Report Date: |  | 2022-01-13
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-13
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01132022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/13/2022 to 1/13/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48914 | A | G4NW0211 Discharge from Tiger Point Golf Course - G4NW0211 | 2022-01-13 | 9:30 | 2022-01-13 | 13:38 | Freshwater | MR | Escherichia coli (QT) | 62 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-13 | 14:55 | 9223B (Colilert®-18 QT®)
22- 48915 | A | G4NW0531 Williams Creek G4NW0531 | 2022-01-13 | 12:05 | 2022-01-13 | 13:38 | Freshwater | MR | Escherichia coli (QT) | 530 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-13 | 14:55 | 9223B (Colilert®-18 QT®)
22- 48916 | A | G4NW0362 Dean Creek G4NW0362 | 2022-01-13 | 11:30 | 2022-01-13 | 13:38 | Freshwater | MR | Escherichia coli (QT) | 301 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-13 | 14:55 | 9223B (Colilert®-18 QT®)
22- 48917 | A | G4NW0193 Tom King Creek G4NW0193 | 2022-01-13 | 10:40 | 2022-01-13 | 13:38 | Freshwater | MR | Escherichia coli (QT) | 84 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-13 | 14:55 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01132022A |  |  |  | Report Date: |  | 2022-01-14
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-14
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01182022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/18/2022 to 1/18/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48933 | A | 33020JD4 SW Arm Bayou Chico N of Mandalay Dr 33020JD4 | 2022-01-18 | 9:40 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 31 | MPN/100 mL | J2 | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
22- 48934 | A | 33020221 Jackson Creek at Old Corry Rd 33020221 | 2022-01-18 | 10:10 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 203 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48935 | A | 33020222 Jackson Creek @ New Warrington Rd 33020222 | 2022-01-18 | 10:30 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 833 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48936 | A | 33020117 Jones Creek Upstream of N Navy Blvd. 33020117 | 2022-01-18 | 10:45 | 2022-01-18 | 14:05 | Freshwater | DM/ARM | Escherichia coli (QT) | 63 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:15 | 9223B (Colilert®-18 QT®)
22- 48937 | A | 3302JE20 Bayou Chico @ Navy Boulevard Bridge 3302JE20 | 2022-01-18 | 12:35 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 30 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
22- 48938 | A | 33020JF1 Bayou Chico @ "W" St 33020JF1 | 2022-01-18 | 12:50 | 2022-01-18 | 14:05 | Marine Water | DM/ARM | Enterococcus (QT) | 30 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-18 | 15:05 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01182022A |  |  |  | Report Date: |  | 2022-01-19
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-19
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01202022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/20/2022 to 1/20/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48958 | A | G4NW0335 Baggett Creek G4NW0335 | 2022-01-20 | 9:00 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 393 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48959 | A | G4NW0336 Baggett Creek G4NW0336 | 2022-01-20 | 9:20 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 327 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48960 | A | G4NW0357 Wilkinson Creek G4NW0357 | 2022-01-20 | 9:45 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 171 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48961 | A | G4NW0383 Trammel Creek G4NW0383 | 2022-01-20 | 10:10 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 341 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48962 | A | G4NW0395 Oak Creek G4NW0395 | 2022-01-20 | 11:20 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 1956 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48963 | A | G4NW0489 Williams Creek G4NW0489 | 2022-01-20 | 10:30 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 959 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
22- 48964 | A | G4NW0161 Olive Branch G4NW0161 | 2022-01-20 | 11:40 | 2022-01-20 | 13:05 | Freshwater | NM | Escherichia coli (QT) | 7701 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-20 | 14:15 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01202022A |  |  |  | Report Date: |  | 2022-01-21
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-21
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01252022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/25/2022 to 1/25/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48969 | A | G4NW0027 Big Coldwater Creek - G4NW0027 | 2022-01-25 | 10:25 | 2022-01-25 | 13:15 | Freshwater | NM | Escherichia coli (QT) | 85 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 14:20 | 9223B (Colilert®-18 QT®)
22- 48970 | A | G4NW0360 Clear Creek - G4NW0360 | 2022-01-25 | 9:00 | 2022-01-25 | 13:15 | Freshwater | NM | Escherichia coli (QT) | 216 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 14:20 | 9223B (Colilert®-18 QT®)
22- 48971 | A | G4NW0510 Clear Creek - G4NW0510 | 2022-01-25 | 10:55 | 2022-01-25 | 13:15 | Freshwater | NM | Escherichia coli (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 14:20 | 9223B (Colilert®-18 QT®)
22- 48972 | A | G4NW0059 Bucket Branch G4NW0059 | 2022-01-25 | 10:00 | 2022-01-25 | 13:15 | Freshwater | NM | Escherichia coli (QT) | 288 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 14:20 | 9223B (Colilert®-18 QT®)
22- 48973 | A | G4NW0532 Bucket Branch G4NW0532 | 2022-01-25 | 9:40 | 2022-01-25 | 13:15 | Freshwater | NM | Escherichia coli (QT) | 332 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 14:20 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01252022A |  |  |  | Report Date: |  | 2022-01-26
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-26
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01252022B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/25/2022 to 1/25/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48974 | A | G3NW0454 Pine Log Creek G3NW0454 | 2022-01-25 | 12:00 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 85 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48975 | A | G3NW0455 Lafayette Creek G3NW0455 | 2022-01-25 | 11:15 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 327 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48976 | A | G3NW0065 Little Alaqua G3NW0065 | 2022-01-25 | 10:20 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 148 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48977 | A | G3NW0116 Seven Runs G3NW0116 | 2022-01-25 | 12:30 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 75 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48978 | A | G3NW0061 Panther Creek - G3NW0061 | 2022-01-25 | 13:00 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 275 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48979 | A | G3NW0453 Little Alaqua Creek G3NW0453 | 2022-01-25 | 10:35 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 145 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48980 | A | G3NW0171 Bay Branch - G3NW0171 | 2022-01-25 | 9:45 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 98 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
22- 48981 | A | G3NW0231 Bay Branch G3NW0231 | 2022-01-25 | 9:20 | 2022-01-25 | 14:42 | Freshwater | SS/FB | Escherichia coli (QT) | 332 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-25 | 15:50 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01252022B |  |  |  | Report Date: |  | 2022-01-26
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-01-26
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-01312022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 1/31/2022 to 1/31/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 48998 | A | G3NW0130 Choctawhatchee River G3NW0130 | 2022-01-31 | 12:15 | 2022-01-31 | 14:34 | Freshwater | MR/SS | Escherichia coli (QT) | 52 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-31 | 15:40 | 9223B (Colilert®-18 QT®)
22- 48999 | A | G3NW0052 Choctawhatchee River G3NW0052 | 2022-01-31 | 10:35 | 2022-01-31 | 14:34 | Freshwater | MR/SS | Escherichia coli (QT) | 52 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-31 | 15:40 | 9223B (Colilert®-18 QT®)
22- 49000 | A | G3NW0225 Choctawhatchee River G3NW0225 | 2022-01-31 | 11:00 | 2022-01-31 | 14:34 | Freshwater | MR/SS | Escherichia coli (QT) | 74 | MPN/100 mL |  | 10 | 10 | 10 | 2022-01-31 | 15:40 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-01312022A |  |  |  | Report Date: |  | 2022-02-01
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-01
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02012022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/1/2022 to 2/1/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49001 | A | G4NW0080 Sandy Point Creek G4NW0080 | 2022-02-01 | 10:08 | 2022-02-01 | 11:00 | Freshwater | LM | Escherichia coli (QT) | 97 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-01 | 13:25 | 9223B (Colilert®-18 QT®)
22- 49002 | A | G4NW0394 Jakes Bayou G4NW0394 | 2022-02-01 | 9:43 | 2022-02-01 | 11:00 | Marine Water | LM | Enterococcus (QT) | 86 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-01 | 12:50 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02012022A |  |  |  | Report Date: |  | 2022-02-02
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-02
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02022022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/2/2022 to 2/2/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49026 | A | G3NW0224 Anderson Mill Creek G3NW0224 | 2022-02-02 | 12:40 | 2022-02-02 | 15:44 | Freshwater | MR | Escherichia coli (QT) | 110 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-02 | 16:15 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02022022A |  |  |  | Report Date: |  | 2022-02-03
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-03
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02072022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/7/2022 to 2/7/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49040 | A | G4NW0394 Jakes Bayou G4NW0394 | 2022-02-07 | 8:50 | 2022-02-07 | 9:38 | Marine Water | LM | Enterococcus (QT) | 31 | MPN/100 mL | J2 | 10 | 10 | 10 | 2022-02-07 | 13:35 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02072022A |  |  |  | Report Date: |  | 2022-02-08
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-08
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02072022B
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/7/2022 to 2/7/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49045 | A | G4NW0520 Escambia Bay North G4NW0520 | 2022-02-07 | 10:40 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 262 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
22- 49046 | A | G4NW0443 Trout Bayou G4NW0443 | 2022-02-07 | 11:45 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 41 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
22- 49047 | A | G4NW0518 Escambia Bay North G4NW0518 | 2022-02-07 | 11:15 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 148 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
22- 49048 | A | G4NW0519 Escambia Bay North G4NW0519 | 2022-02-07 | 12:10 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
22- 49049 | A | G4NW0441 Judges Bayou G4NW0441 | 2022-02-07 | 10:30 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 31 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
22- 49050 | A | G4NW0509 Blackwater Bay G4NW0509 | 2022-02-07 | 9:15 | 2022-02-07 | 14:22 | Brackish Water | MR/SS | Enterococcus (QT) | 75 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-07 | 15:10 | Enterolert (QT)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02072022B |  |  |  | Report Date: |  | 2022-02-08
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-08
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.

## C262-02092022A
Wetlands Research Laboratory | [13 empty] | Laboratory Report for:
University of West Florida State of Florida Certification # E71969 | [12 empty] | Client | Florida Department of Environmental Protection
11000 University Pkwy Phone: (850) 857-6096 | [12 empty] | Project | FDEP
Pensacola, FL 32514 Fax: (850) 474-3130 | [12 empty] | Address | 160 Governmental Center Suite 308
Laboratory Report by Collection Date from 2/9/2022 to 2/9/2022
Lab ID # | Bottle | Field ID | Sampling | Sampling | Receipt | Receipt | Sample | Sampler | Analyte | Result | Unit | Data | Dilution | CALC | LOQ | Analysis | Analysis | Method
|  |  | Date | Time | Date | Time | Matrix |  |  |  |  | Qualifier(s) | Factor | MDL |  | Date | Time
22- 49063 | A | G3NW0124 Eastern Lake G3NW0124 | 2022-02-09 | 11:00 | 2022-02-09 | 15:07 | Brackish Water | NM | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 15:45 | Enterolert (QT)
22- 49064 | A | G3NW0007 Western Lake G3NW0007 | 2022-02-09 | 9:50 | 2022-02-09 | 15:07 | Brackish Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 15:45 | Enterolert (QT)
22- 49065 | A | G3NW0440 Oyster Lake - G3NW0440 | 2022-02-09 | 12:50 | 2022-02-09 | 15:07 | Brackish Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 15:45 | Enterolert (QT)
22- 49066 | A | G3NW0441 Oyster Lake - G3NW0441 | 2022-02-09 | 12:30 | 2022-02-09 | 15:07 | Brackish Water | NM | Enterococcus (QT) | 10 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 15:45 | Enterolert (QT)
22- 49067 | A | G3NW0219 Alligator Lake G3NW0219 | 2022-02-09 | 11:35 | 2022-02-09 | 15:07 | Brackish Water | NM | Enterococcus (QT) | 20 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 15:45 | Enterolert (QT)
22- 49068 | A | G3NW0177 Allen Lake Input - G3NW0177 | 2022-02-09 | 13:10 | 2022-02-09 | 15:07 | Freshwater | NM | Escherichia coli (QT) | 189 | MPN/100 mL |  | 10 | 10 | 10 | 2022-02-09 | 16:00 | 9223B (Colilert®-18 QT®)
See attachment A for Data Qualifier Codes: Symbols and Meaning
Report # : | C262-02092022A |  |  |  | Report Date: |  | 2022-02-10
Report Approved by Jeremy Bosso, Lab Manager: | [6 empty] | 2022-02-10
Comments: The sampling plan is the responsibility of the client and not of the laboratory.
These results relate only to these samples as submitted to the laboratory.
The results reported herein meet the requirements of the NELAC standards as adopted by the reference into chapter 64E-1, Florida Administrative Code.
Analyses performed without NELAP accreditation would be flagged with a "J6" data qualifier.
Times are reported in Central Time
Data Reported on a wet-weight basis
Subcontract information: not applicable
For questions or concerns regarding this report, please contact the Laboratory Manager, Jeremy Bosso at (850) 857-6096
Attachment A: Data Qualifier Codes: Symbol and meaning
A - Value reported is the arithmetic mean (average) of two or more determinations.
B - Based on colony counts outside the method specified range.
C - See case narrative (comments)
D - Measurement was made in the field using approved analytical methods. Used except where code specifies a field measurement (e.g., “Field pH”).
H - Value based on field kit determination; results may not be accurate. Field screening test not recognized by FDEP as equivalent to laboratory methods.
I - The reported value is ≥ the Limit of Detection, but less than the Practical Quantitation Limit (Limit of Quantitation), and has less certainty
G - Analyte detected in blank other than the method blank (i.e. Field Blank, Trip Blank, Equipment Blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J1 - Value is qualified by failed analytical quality control check standard (i.e. CCV, IPC, QCS, LCS)
J2 - Value is qualified by failed sample matrix quality control sample (i.e. duplicate, matrix spike)
J3 - Analyte detected in blank other than the method blank (i.e. calibration blank) at or above the Limit of Detection and > 10% the concentration in the sample.
J4 - Value is qualified due to improper laboratory practice.
J5 - Value is qualified due to improper field procedure.
J6 - Analysis was performed without NELAC accreditation.
J7 - All Quanti-Tray wells were positive. Result may be higher than reported.
K - Off-scale low. Actual value is less than the value given.
L - Off-scale high. Actual value is known to be greater than the value given.
M - Presence of material is verified but not quantified; the actual value is less than the value given. The reported value Limit of Quantitation.
N - Presumptive evidence of presence of material (i.e. identified based on mass spectral library search; presence not confirmed by alternative procedures).
O - Sample taken but analysis lost, invalidated, or not performed.
Q - Sample held beyond method-specified holding time.
U - Compound was analyzed for but not detected.
V - Analyte detected in method blank at or above the Limit of Detection and > 10% the concentration in the sample. The 10% criterion does not apply to blank results for microbiological tests.
Verified - This sample result was verified.
Y - The laboratory analysis was from a sample preserved by an alternative, non-standard preservation procedure. Hold-time has not been assessed for this preservation procedure. The data may not be accurate.
Z - Colonies on plate too numerous to count. Result = (>60 CFU/lowest volume used x 100 mL).
? - Data are rejected and should not be used.