Do Contiguous Monitoring Meeting Topics

Agenda Items

- Getting meters ready for deployment

  - Purchas probes and other essential hardware

  - If purchasing a DO probe get an Optical

  - DO and COND are required, pH is TBD.

- Deployment Basics

  - Is there any existing documentation on how to deploy?

  - Mounting/armoring/floats/American flag stickers

  - Flow, tides

- Data Goals

  - 5 events

  - 20 full day minimum

  - 4 quarters

  - Starting in July 2017

  - 15, or 30 min intervals?

- Continuous monitoring field sheets

  - See SWFWMD field sheet. Can we alter this to meet our program goals?

- WBIDs

- Data management

  - Ecowatch

  - Data files. Can we save these on the FTP?

- Calibration, qualifier codes, spot checking

- Batterie

- Data storage

- DEP Draft SOP