Aquarius Data Loading

Click on 21FLPNS

Select the location you wish to load data to

(If not on Aquarius, email Denise)

(Do not change WIN ID, email Denise if something needs to be edited)

Click the three parallel horizontal lines(hamburger) on the location you wish to work on, and click on new basic time series

New Basic time series

Label: Sonde

Parameter: Depth-Depth/Salinity/Dissolved Oxygen con./Dissolved oxygen sat./pH/pH voltage/temp(water)/specific conductance

Units: Meter/ ppt ect.

Measurement Method: None

Interpolation: Instantaneous value

Gap tolerance: 16 min

UTC (Universal time constant): -6.00

Uploading data

Data import

Chose file(notepad)

Next

Header Rows-4

Click on column A

Select column for import (Date/Time Field)

Date Format (M: month m: min H:24 hour h: 12 hour)

Apply

Column E- Salinity- New Basic Time series

Time series point

Select parameter

REPEAT for all parameters

Next

Append data