User Name- Nwroc   Password- Pensacola5

Aquarius Data Loading

Click on 21FLPNS

Step 1.)	 Select the location you wish to load data to

(If not on Aquarius, email Denise)

(Do not change WIN ID, email Denise if something needs to be edited)

Step 2.)	Click the three parallel horizontal lines (menu) on the location you wish to work on, and click on “New Basic Time Series”

Step 3.) New Basic Time Series

Label: Sonde

Parameter: Depth-Depth /Dissolved Oxygen con./Dissolved oxygen sat. /Salinity / specific conductance/temp(water)/ Voltage/ pH voltage/ pH/

Units: Meter/ ppt/ mg l ect.

Measurement Method: select “None”

Interpolation: Select “Instantaneous value”

Gap tolerance: 16 min

UTC (Universal time constant): -6.00

Hit “Save”

Step 4.) Uploading data

Data import (Top Left of Screen, blue icon)

Import and Configure (on left menu bar)

Chose file(TTD)

Next

Configuration file: “Delimited”

Column Separator: “Tab”

Header Rows: “9”

Timezone: “Use the location UTC offset”

Click on column A

Select column for import (Date/Time Field)

Date Format (M/d/yyyy)

Time Format (H:mm:ss)

Apply

Column E- Salinity- New Basic Time series

Time series point

Select parameter

REPEAT for all parameters

Next

Append data