## Sheet1
[5 empty] | UF/IFAS Analytical Services Laboratories |  |  | Please address questions or concerns to:
[5 empty] | Environmental Water Quality Laboratory |  |  | Laboratory Manager
[5 empty] | PO Box 110740 |  |  | Tel: 352 - 392 - 1950
[5 empty] | Gainesville, Florida 32611-0740 |  |  | Email: arl@mail.ifas.ufl.edu
[5 empty] | Research Customer Report |  |  | Web: arl.ifas.ufl.edu
Invg/GrdSt: | Trenholm, Laurie Dr./Wetherington/Castil |  |  | Email: | letr@ufl.edu; bdwiii@ufl.edu | Set#: | 111 | Certified | Date: | 2008-09-19
Department: |  |  |  | 2556 W. Hwy 318 |  | Lab#: | 3568 | To: | 3642 | ID#: | 151 | To: | 225
Project: | DEP Project 3 |  |  | Citra FL 32113 |  | SamRecDate: |  | 2008-08-06 | ClientSmDate: | 2008-08-04
Pos# | Lab# / | ID# | NOx-N
Nearest
mg/L
T
1 | 3568 | 151 | -0.03
T
2 | 3569 | 152 | -0.05
|  |  | T,J | sample matrix spike recovery was 116.0%
3 | 3570 | 153 | -0.06
|  |  | T,J | sample matrix spike recovery was 118.8%
4 | 3571 | 154 | -0.06
T
5 | 3572 | 155 | -0.02
T
6 | 3573 | 156 | -0.05
I
7 | 3574 | 157 | 0.3
T
8 | 3575 | 158 | 0.14
T
9 | 3576 | 159 | -0.05
T
10 | 3577 | 160 | -0.06
T
11 | 3578 | 161 | -0.06
T
12 | 3579 | 162 | -0.06
T
13 | 3580 | 163 | -0.02
T
14 | 3581 | 164 | -0.03
I
15 | 3582 | 165 | 0.5
T
16 | 3583 | 166 | -0.05
T
17 | 3584 | 167 | -0.06
T
18 | 3585 | 168 | -0.07
T
19 | 3586 | 169 | -0.07
T
20 | 3587 | 170 | -0.07
T
21 | 3588 | 171 | -0.04
T
22 | 3589 | 172 | -0.05
T
23 | 3590 | 173 | -0.02
T
24 | 3591 | 174 | -0.02
T
25 | 3592 | 175 | -0.07
T
26 | 3593 | 176 | -0.06
T
27 | 3594 | 177 | -0.05
I
28 | 3595 | 178 | 0.3
T
29 | 3596 | 179 | 0.01
T
30 | 3597 | 180 | 0.02
T
31 | 3598 | 181 | -0.02
I
32 | 3599 | 182 | 0.36
T
33 | 3600 | 183 | -0.06
T
34 | 3601 | 184 | -0.06
T
35 | 3602 | 185 | -0.07
T
36 | 3603 | 186 | -0.06
T
37 | 3604 | 187 | -0.07
T
38 | 3605 | 188 | -0.06
T
39 | 3606 | 189 | -0.07
T
40 | 3607 | 190 | -0.06
T
41 | 3608 | 191 | -0.05
T
42 | 3609 | 192 | -0.06
T
43 | 3610 | 193 | -0.06
T
44 | 3611 | 194 | -0.06
T
45 | 3612 | 195 | -0.07
T
46 | 3613 | 196 | -0.07
T
47 | 3614 | 197 | -0.07
T
48 | 3615 | 198 | -0.06
T
49 | 3616 | 199 | -0.06
T
50 | 3617 | 200 | -0.06
T
51 | 3618 | 201 | -0.05
T
52 | 3619 | 202 | -0.06
T
53 | 3620 | 203 | -0.06
T
54 | 3621 | 204 | -0.07
T
55 | 3622 | 205 | -0.06
T
56 | 3623 | 206 | -0.07
T
57 | 3624 | 207 | -0.07
T
58 | 3625 | 208 | -0.07
T
59 | 3626 | 209 | -0.07
T
60 | 3627 | 210 | -0.07
I
61 | 3628 | 211 | 0.36
T
62 | 3629 | 212 | -0.02
T
63 | 3630 | 213 | -0.04
T
64 | 3631 | 214 | -0.06
T
65 | 3632 | 215 | -0.06
T
66 | 3633 | 216 | -0.07
T
67 | 3634 | 217 | -0.07
T
68 | 3635 | 218 | -0.05
T
69 | 3636 | 219 | -0.07
T
70 | 3637 | 220 | -0.07
T
71 | 3638 | 221 | -0.07
T
72 | 3639 | 222 | -0.07
T
73 | 3640 | 223 | -0.07
T
74 | 3641 | 224 | -0.07
T
75 | 3642 | 225 | -0.07
| 3568 | ICB | -0.06
| 3568 | UCL | 0.25
|  | P/F | P
| 3568 | ICV10 | 9.35
| 3568 | QCTar | 10
|  | %REC | 93.5
| 3568 | ICVNO2 10 | 9.65
| 3568 | QCTar | 10
|  | %REC | 96.5
| 3568 | LCS10 | 9.87
| 3568 | QCTar | 10
|  | %REC | 98.7
| 3568 | MB | -0.07
| 3568 | UCL | 0.25
|  | P/F | P
| 3587 | CCB | -0.07
| 3587 | UCL | 0.25
|  | P/F | P
| 3587 | CCV10 | 10.45
| 3587 | QCTar | 10
|  | %REC | 104.5
| 3587 | LCS10 | 9.91
| 3587 | QCTar | 10
|  | %REC | 99.1
| 3587 | MB | -0.07
| 3587 | UCL | 0.25
|  | P/F | P
| 3587 | MSD3568 | 4.76
| 3587 | 3568 | -0.03
|  | DIFF | 4.79
| 3587 | QCTar | 5
|  | %SD | 95.8
| 3587 | RPI3568 | -0.05
| 3587 | 3568 | -0.03
|  | %RPD | -50
| 3607 | CCB | -0.07
| 3607 | UCL | 0.25
|  | P/F | P
| 3607 | CCV10 | 10.64
| 3607 | QCTar | 10
|  | %REC | 106.4
| 3607 | LCS10 | 10.15
| 3607 | QCTar | 10
|  | %REC | 101.5
| 3607 | MB | -0.07
| 3607 | UCL | 0.25
|  | P/F | P
| 3607 | MSD3569 | 4.82
| 3607 | 3569 | -0.05
|  | DIFF | 4.87
| 3607 | QCTar | 5
|  | %SD | 97.4
| 3607 | RPI3588 | -0.07
| 3607 | 3588 | -0.04
|  | %RPD | -54.5455
| 3627 | CCB | -0.07
| 3627 | UCL | 0.25
|  | P/F | P
| 3627 | CCV10 | 10.62
| 3627 | QCTar | 10
|  | %REC | 106.2
| 3627 | LCS10 | 9.87
| 3627 | QCTar | 10
|  | %REC | 98.7
| 3627 | MB | -0.08
| 3627 | UCL | 0.25
|  | P/F | P
| 3627 | MSD3570 | 5.74
| 3627 | 3570 | -0.06
|  | DIFF | 5.8
| 3627 | QCTar | 5
|  | %SD | 116
| 3627 | RPI3608 | -0.07
| 3627 | 3608 | -0.05
|  | %RPD | -33.3333
| 3642 | CCB | -0.07
| 3642 | UCL | 0.25
|  | P/F | P
| 3642 | CCV10 | 9.89
| 3642 | QCTar | 10
|  | %REC | 98.9
| 3642 | LCS10 | 10.73
| 3642 | QCTar | 10
|  | %REC | 107.3
| 3642 | MB | -0.07
| 3642 | UCL | 0.25
|  | P/F | P
| 3642 | MSD3571 | 5.88
| 3642 | 3571 | -0.06
|  | DIFF | 5.94
| 3642 | QCTar | 5
|  | %SD | 118.8
| 3642 | RPI3628 | -0.06
| 3642 | 3628 | 0.36
|  | %RPD | 280
| Analysis | RefMethod |  | Analysis Date | Analyst Name | Comments
|  | NO3N | EPA 353.2 | 2008-08-08 | CSIMMONS
Sample Codes
NS: for No Sample
SD: for Sample Destroyed
NES: for Not Enough Sample
NAI: for Not Analysed Due to Interference
P: for Pass; F: for Fail; UCL: for Upper Control Limit
Flags for Detection Limits
T: for Value < MDL Non-detect
I: for Value >= MDL but < PQL
Flags for Holding Times
Q: for Actual Holding Time > Approved Holding Time
Actual Holding Time = Analysis Date minus Client Sampling Date
If Client Sampling Date is not available, Sample Received Date is Used
Precision / Accuracy
For parameters analyzed after 9/30/06, the Precision Limits for all Environmental Water Quality Laboratory methods is within < or = 10%.
For parameters analyzed after 9/30/06, the accuracy criteria for all Environmental Water Quality Laboratory methods is within + or - 10%.
For exact precision / accuracy limits, please refer to Environmental Water Quality Laboratory Quality Assurance Manual or published values on Lab Website listed at arl.ifas.ufl.edu
When the client does not provide enough sample to perform a digested/extracted matrix spike (MS), an analytical spike (AS) will be performed. In addition, the replicate will be an instrument RP (RPI) rather than a method RP (RPM). This information shoul
d be used by the researcher to evaluate the appropriateness of the data for this set.
Matrix Spike (MS) and Analytical Spike (AS) recoveries of <90.0% or >110.0% recovery may indicate a matrix interference.
For information on estimation of uncertainty for the EWQL's methods, please see our website at http://arl.ifas.ufl.edu or contact the laboratory at arl@ifas.ufl.edu to request an electronic or faxed copy of the most current estimates.
General Set Comments
Samples arrived at EWQL on 8/6/08; sample temperature was 2.2 degrees C. All samples were acidified. Samples 3570 & 3571 had sample matrix spike
recoveries of 116.0% & 118.8% respectively. PAS 9/8/08
Disclaimer
Data in this report is for non-regulatory purposes only and meets all NELAC requirements unless otherwise noted.
This data report has been issued on the authority of Dr. Rao Mylavarapu, Laboratory Director and Mr. Pete Straub, QA Officer.
*NOx-N = NO2-N+NO3-N
|  |  |  | Set: | 111