INDUSTRIAL WASTEWATER
POWER PLANT
PERMIT TRANSMITTAL DOCUMENT

TO:		Elsa Potts, P.E.
                           Program Administrator, Industrial Wastewater Program

SUBJECT:	Notice of Draft Permit 
Florida Power & Light
Martin Plant
                           NPDES Permit FL0030988

PROJECT SUMMARY:  The attached Notice of Draft Permit re-authorizes the discharge of recirculating cooling pond water, cooling pond seepage, and stormwater  to the St. Lucie Canal, a Class III fresh water, from the Florida Power & Light (FPL) Martin Plant in Indiantown, Martin County.  Discharge from the cooling pond to the St. Lucie Canal is allowed during two spillway gate tests per year, following a 10 year, 24 hour rainfall event, or if the structural integrity of the earthen berms is endangered.  Seepage through the berms is collected in sumps and discharged either back to the cooling pond or to the Barley Barber Swamp, which in turn discharges to the L-65 canal. 
[bookmark: _GoBack]The permit does not authorize any mixing zones or variances for nutrients or metals, does not authorize a thermal mixing zone under Rule 62-302.520(6), and does not include a thermal variance under Section 316(a), CWA.  This permit requires compliance with Section 316(b) CWA for cooling water intake structures based on best professional judgment.  The permit includes in Section VIII.C and D requirements for maintaining the cooling pond.

This permit is considered non-controversial.


							Name				Date

Originator:	_______________________	____________



Environmental Administrator:	_______________________	____________



Program Administrator:	_______________________	____________



DIVISION DIRECTOR’S COMMENTS/QUESTIONS/DECISIONS:
	

	

	


	      APPROVED & SIGNED			            DENIED


