STATEMENT OF BASIS

FOR

STATE OF FLORIDA

DOMESTIC WASTEWATER FACILITY PERMIT

	PERMIT NUMBER:
	FL0186261

	FACILITY NAME:
	City of Clearwater Master Reuse System

	FACILITY LOCATION:
	North Arcturas Avenue, Clearwater, FL - Pinellas County

	NAME OF PERMITTEE:
	City of Clearwater Public Utilities Department

	PERMIT WRITER:
	Rudy L. Isaac


1.
BASIS FOR EFFLUENT AND RECLAIMED WATER LIMITS AND MONITORING REQUIREMENTS (INCLUDING EFFLUENT MONITORING REQUIREMENTS)
The following table provides the basis for Part I. A. provisions.

Land Application System R-001 (slow-rate public access):
	Parameter
	Limit
	Basis
	Rationale

	Flow (Total Flow, City of Clearwater MRS) (MGD)
	6.5
Report
	Annual Average
Monthly Average
	62-600.400(3)(b) FAC
BPJ

	Flow (From Marshall St AWWTF) (MGD)
	Report

Report
	Annual Average
Monthly Average
	62.610 FAC & BPJ
BPJ

	Flow (From Northeast AWWTF) (MGD)
	Report

Report
	Annual Average
Monthly Average
	62.610 FAC & BPJ
BPJ

	Flow (From East AWWTF) (MGD)
	Report

Report
	Annual Average
Monthly Average
	62-610 FAC & BPJ
BPJ


62-610.800 Permitting Requirements.

(1) Construction, modification, or operation of reuse or land application systems requires a permit from the Department in accordance with Chapter 62-620, F.A.C., and with this chapter.

(2) The permittee shall comply with applicable design and performance criteria pursuant to this chapter and the permitting requirements contained in Chapter 62-620, F.A.C..

(3) A separate reuse/land application permit shall be issued only if the reuse/land application system receives reclaimed water or effluent from more than one domestic wastewater treatment facility. The reuse/land application permit shall cross-reference the appropriate wastewater treatment plant permits.

(a) If requested by an applicant having responsibility for the reuse system and one or more of the domestic wastewater treatment facilities providing reclaimed water to the reuse system, the reuse/land application permit shall be combined with the permit for one of the treatment facilities.

(b) Nothing in this section shall be construed to require an end user of reclaimed water to obtain a separate reuse/land application permit.

(4) Implementation of Slow-Rate Land Application Projects in Public Access Areas, Residential Irrigation, and Edible Crop Irrigation.

(a) The reuse/land application permit for a project regulated by Part III of Chapter 62-610, F.A.C., shall meet the requirements of Rules 62-620.310 and 62-620.630, F.A.C.

(b) A general permit pursuant to Rule 62-610.890, F.A.C., is needed for the addition of a new major user that is not identified in the existing permit and is located within the area designated in an existing permit. This general permit shall only be used if the permittee does not request modification of the permitted capacity.

(c) The permit shall identify the area expected to be serviced with reclaimed water during the next 10 years. The reclaimed water service area shall be updated in the permit with permit renewals. The permitted capacity shall be based on the anticipated highest annual demand for reclaimed water from within this service area during the five-year permit period.

2.
GROUND WATER MONITORING REQUIREMENTS
Ground water monitoring requirements have been established in accordance with Rules 62-601 and 62-522, F.A.C.   

The following monitoring wells shall be sampled in accordance with the monitoring frequencies specified in Permit Condition III.5. for Reuse System R-001.  Quarterly sampling must be reasonably spaced to be representative of potentially changing conditions.

	Monitoring Well ID
	Alternate Well Name and/or Description of Monitoring Location
	Depth

(Feet)
	Aquifer Monitored
	New or

Existing

	MWB-01
	Countryside GC-MW-1
	
	Surficial
	B

	MWB-02
	Clearwater CC-MW-2
	
	Surficial
	B

	MWC-01
	Countryside Sport Complex-MW-3
	
	Surficial
	C

	MWC-02
	Clearwater Northeast AWTP-MW-4
	
	Surficial
	C

	MWC-03
	Countryside GC North End-MW-5
	
	Surficial
	C

	MWC-04
	Clearwater CC-MW-8
	
	Surficial
	C

	MWC-05
	Clearwater CC Drew St.-MW-9
	
	Surficial
	C

	MWC-06
	Memorial Causeway-MW-14
	
	Surficial
	C

	MWC-07
	Harbor Oaks-MW-10
	
	Surficial
	C

	MWC-08
	Morningside-MW-11
	
	Surficial
	C


MWB = Background;  MWI = Intermediate;  MWC = Compliance
3.
APPLICABLE RULES
The following were used as the basis of the permit limitations/conditions:

	a.
FAC refers to various portions of the Florida Administrative Code.

The effective dates of FAC Rule Chapters cited in the table are as follows:

Chapter
Effective Date

62-4
05-01-03

62-160            04-09-02

62-302
05-15-02

62-520
12-09-96

62-522
08-27-01
62-550
05-28-03

62-600
12-24-96

62-601
12-24-96

62-602
02-06-02
62-610
08-08-99

62-620
08-25-03

62-625
01-08-97

62-650
12-26-96

62-699
07-05-01

b.
FS refers to various portions of the Florida Statutes

c.
CFR refers to various portions of the Code of Federal Regulations, Title 40

d.
BPJ refers to Best Professional Judgment

	


5.
PROPOSED SCHEDULE FOR PERMIT ISSUANCE
	
	Proposed Issuance Date of Notice of Intent :

Proposed Issuance Date of Final Permit:
	November 21, 2007

December 15, 2007
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