State of Florida

Department of Environmental Protection

Progress Energy Florida

Tiger Bay Cogeneration Facility

Pa 97-37E

Modified										02/09/10

TABLE OF CONTENTS

# Replaced by Section A. Condition I. Scope

## Replaced by Section A. Condition IV. Definitions

## Replaced by Section A. Condition II. Applicable Department Rules

# Replaced by Section A. Conditions V. Federally Delegated or Approved Permit Programs, XXIV Modification of Certification, paragraph D., and XXXIV. Water Discharges

## Replaced by Section A. Condition XXXII. Facility Operation

Replaced by federal Air Operation permit 1050223

Replaced by federal NPDES Stormwater permit

## Replaced by Section A. Condition VII. Notification

--

## Replaced by Section A. Conditions XV. Regulatory Compliance, XX. Professional Certification and XXXIII. Facility Operation

--Replaced by Section A. Condition XXXIV. Water Discharges

## Replaced by Section A. Condition XIII. Enforcement

## Replaced by Section A. Condition VI. Design and Performance Criteria

Replaced by Section A. Condition XIII. Enforcement

Replaced by Section A. Condition VI. Design and Performance Criteria

Replaced by Section A. Condition XV. Regulatory Compliance

Replaced by Section A. Conditions XV. Regulatory Compliance and XVI. Civil and Criminal Liability

Replaced by Section A. Condition XII. Enforcement

Replaced by Section A. Condition XXVII. Transfer of Certification

Replaced by Section A. Condition XXXIII. Records Maintained at the Facility

Replaced by Section A. Condition XXXIII. Records Maintained at the Facility

Replaced by Section A. Conditions XIV. Revocation or Suspension and XXIV. Modification of Certification

Replaced by Section A. Condition X. Right of Entry

Replaced by Section A. Condition XIII. Enforcement, paragraph B.

Replaced by Section A. Conditions VII. Notification

Replaced by Section A. Condition III. Revisions to Department Statutes and RulesReplaced by Section A. Condition XXXIV. Water Discharges

Deleted as relevant to federal permit fee

15.	The Licensee shall give the Department written notice at least 60 days before inactivation or abandonment of a wastewater facility and shall specify what steps will be taken to safeguard public health and safety during and following inactivation or abandonment. Moved to Section B. Condition I. Department of Environmental Protection, paragraph E.

Replaced by Section A. Condition V. Federally Delegated or Approved Permit Programs

Replaced by Section A. Condition VII. Notification

Replaced by Section A. Conditions VII. Notification and XXI. Procedures for Post-Certification Submittals

Replaced by Section A. Condition X. Right of Entry, paragraph B.

## Replaced by Section A. Condition XXVIII. Laboratories and Quality Assurance

## Replaced by Section A. Condition XXI. Procedures for Post-Certification Submittals

-

-

-

# Replaced by Section A. Condition XXXII. Facility Operation

# Replaced by Section A. Condition X. Right of Entry

# Replaced by Section A. Condition XIV. Revocation or Suspension

# Replaced by Section A. Condition XVI. Civil and Criminal Liability

# Replaced by Section A. Condition XVII. Use of State Lands

# Replaced by Section A. Condition XII. Severability

Replaced by Section A. Condition XIV. Revocation or Suspension

# Replaced by Section A. Conditions V. Federally Delegated or Approved Permit Programs and XXIV. Modification of Certification

# Replaced by Section A. Conditions II. Applicable Department Rules, VI. Design and Performance Criteria, IX. Construction Practices, XIII. Enforcement, XV. Regulatory Compliance and XXIV Modification of Certification

# Replaced by Section A. Condition V. Federally Delegated or Approved Permit Programs

Replaced by Section A. Condition V. Federally Delegated or Approved Permit Programs

2.	Contact stormwater (rainfall that has come in contact with industrial equipment or processes) runoff is to be completely contained and recycled as process water or entered into the process wastewater stream directly. Moved to Section A. Condition I. Department of Environmental Protection, paragraph D. Industrial Wastewater

Replaced by Section A. Condition XXIX. Environmental Resources, paragraph B.

## On-site Sewage Treatment and Disposal Moved with revisions to Section B. Condition I. Department of Environmental Protection, paragraph A.

1.	The approval to operate the existing septic tank system is subject to the non-procedural provisions of Chapter 403, F.S., as well as the applicable portions of Section 381.0065, F.S. and Chapter 62-6, F.A.C.  The Licensee is approved to continue to operate the existing, permitted septic tank system as shown on any previously submitted and approved drawings, plans, and other documents attached thereto or on file with the DEP or the Polk County Health Department and made a part thereof.  The system, as approved, is sized for 22 employees at 35 gallons per day (gpd) for a total of 770 gpd.

2.	All septage material removed from the septic tank system will be disposed of offsite in an authorized manner.  No sepatge is to be disposed of onsite.

3.	As the facility is an industrial-equivalent zoned activity an annual inspection by a representative of the Polk County Department of Health will be required to verify ongoing compliance with the requirements of §381.0065(4)(i), F.S., along with payment of the associated annual operating fee under Rule 62-6, F.A.C., (currently $150.00 per year as of March 2022).  Pursuant to §403.511(1), F.S., this shall not be construed as requiring DEF to obtain separate permits for operation of the on-site sewage treatment and disposal system.

[Sections 381.0065(4)(i)3 and 403.511(1), F.S.; Applicant Agreement]

4.	Should the on-site sewage treatment and disposal system require repair, replacement, modification, or abandonment, such action shall be taken in accordance with the non-procedural requirements of Chapter 62-6, F.A.C., and §381.0065, F.S.  Such requests will be processed in accordance with Section A. General Conditions, Condition XXI. Procedures for Post-Certification Submittals, unless the Department determines that either an amendment or a modification to the Conditions will be required.  In such a case the amendment request will be processed in accordance with Section A. Condition XXIII. Post-Certification Amendments, and a modification request will be processed in accordance with Section A. Condition XXIV. Modification of Certification.

[Sections 381.0065(4), 403.5113, and 403.516, F.S.; Rules 62-6, 62-17.191, and 62-17.211,F.A.C.]

## C.	Potable Water Supply Moved to Section B. Condition I. Department of Environmental Protection, paragraph B.

1.	The approval to operate the existing potable water distribution system is subject to the non-procedural provisions of Chapter 403, F.S., and pertinent Chapters within the F.A.C. Rules in Chapter 62-500 Series and Chapter 62-699.  The Licensee is approved to continue to operate the existing, permitted potable water system as shown on any previously-submitted and approved drawings, plans, and other documents attached thereto or on file with the DEP or the Polk County Department of Health and made a part thereof.

2.	A Department of Health and Rehabilitative Services certified laboratory shall test the potable water system water quality annually for coliform bacteria and submit the results to the Polk County Health Department.  The system shall otherwise be operated in accordance with section 381.0062, F.S. and Rule 10D-4, F.A.C.

3.	Pursuant to Rule 62-555.540, F.A.C., any proposed extension of the potable water system may be undertaken following the filing with the DEP a completed copy of DEP Form 62-555.910(1), F.A.C.  Such form shall be submitted no later than 90 days prior to beginning work on the extension of the distribution system to serve the new connections.  This activity shall be subject to the requirements of Rules 62-555.540, F.A.C. and 62-17.211.

## Moved with revisions to Section B. Condition III. Southwest Florida Water Management District

A.	Authorized Groundwater Withdrawal Amount

1.	The total quantity of groundwater withdrawal authorized for this facility is:

AVERAGE:	1,700,000 gpd

PEAK MONTHLY:	2,100,000 gpd

2.	Authorized groundwater withdrawal points:

| I.D. No. (Licensee’s/ WMD’s) | Location | Diameter | Depth (total/ cased) | Use1 | MGD Average | Per Day Peak Monthly |
| --- | --- | --- | --- | --- | --- | --- |
| P1/1 | Lat: 27 44 43 Long: 81 50 59 | 16 in | 800 ft / 360 ft | I/C | 1.72 | 2.12 |
| P2/2 | Lat: 27 44 43 Long: 81 50 58 | 16 in | 800 ft / 360 ft | I/C | 1.72 | 2.12 |
| P1/1 and P2/2 Combined |  |  |  |  | 1.7 | 2.1 |
| P3/3 | Lat: 27 44 43 Long: 81 50 58 | 4 in | 500 ft / 360 ft | I/C | 0.001 | 0.002 |

1	I/C=Industrial or Commercial

2	Note that the total withdrawals can all be from either well or partially from both but the total from both wells cannot exceed the combined value.

B.	Reporting Requirements

All reports required by these Conditions to be submitted to the Southwest Florida Water Management District shall be submitted to the District on or before the tenth day of the month following data collection and shall be addressed to:

Permits Data Section, Resource Regulation

Southwest Florida Water Management District

2379 Broad Street

Brooksville, Florida 34609-6899

Unless otherwise indicated, three copies of each plan or report are required by these Conditions except reports of pumpage, rainfall, evapotranspiration, water level or water quality data, which require one copy,.

C.	Meter Readings

Within 90 days of Certification issuance, completion of construction of the withdrawal facility or prior to activation of a stand-by source, District ID Nos. 1 and 2, Licensee ID Nos. P1 and P2, shall be equipped with non-resetable, totalizing flow meter(s), or other measuring device(s) as approved in writing by the Water Use Permit Bureau Chief, unless an extension is granted by the Chief.  Such device(s) shall have and maintain an accuracy within five percent of the actual flow as installed.  Total withdrawal and meter readings from each metered withdrawal shall be recorded on a monthly basis and reported to the Permits Data Section (using District forms) on or before the tenth day of the following month.  If a metered withdrawal is not utilized during a given month, a report shall be submitted to the Permits Data Section indicating zero gallons.  Prior to meter installation, non-use shall be documented with monthly pumpage reports indicating zero gallons withdrawn.

D.	Water Quality Sampling

1.	Water quality samples shall be collected and analyzed, for parameter(s), and frequency(ies) specified below.  Water quality samples from production wells shall be collected whether or not the well is being used, unless infeasible.  If sampling is infeasible the Licensee shall indicate the reason for not sampling on the water quality data form.  Water quality samples shall be analyzed by a Department of Health and Rehabilitative Services (DHRS) certified laboratory under Environmental Laboratory Certification General Category “1”.  At a minimum, water quality samples shall be collected after pumping the well at its normal rate for a pumping time specified in the table below, or to a constant temperature, pH, and conductivity. In addition, the Licensee s sampling procedure shall follow the handling and chain of custody procedures designated by the certified laboratory which will undertake the analysis.  Any variance in sampling and/or analytical methods shall have prior approval of the Water Use Permit Bureau Chief. Reports of the analyses shall be submitted to the Permits Data Section (using District forms) on or before the tenth day of the following month, and shall include the signature of an authorized representative and certification number of the certified laboratory which undertook the analysis.  The parameters and frequency of sampling and analysis may be modified by the Water Use Permit Bureau Chief, as necessary to ensure the protection of the resource.

| District ID No. | Licensee ID No. | Minimum Pumping Time (minutes) | Parameter | Sampling Frequency |
| --- | --- | --- | --- | --- |
| 1 | P1 | 30 | TDS, Chlorides, Sulfates | February, May, August, November |

2.	Water quality samples shall be collected based on the following timetable:

| Weekly: | Same day of each week |
| --- | --- |
| Monthly: | Same week of each month |
| Quarterly: | Same week of months specified |
| Semi-annually: | Same week of months specified |

Analyses shall be performed according to procedures outlined in the current edition of Standard Methods for the examination of Water and Wastewater by the American Public Health Association-American Water Works Association-Water Pollution Control Federation (APHA-AWA-WPCF) or Methods for Chemical Analyses of Water and Wastes by the U.S. Environmental Protection Agency (EPA).

3.	The SWFWMD shall collect water samples from any withdrawal point listed in these Conditions or shall require the Licensee to submit water samples when the District determines there is a potential for adverse impacts to water quality.

E.	Well Construction

The Licensee shall construct the Certified wells according to the surface diameter and casing depth specifications below.  The casing depth specified is to prevent the unauthorized interchange of water between different water bearing zones.  If a total depth is listed below, this is an estimate, based on best available information, of the depth that at which high producing zones are encountered.  However, it is the Licensee‘s responsibility to have the water in the well sampled, during well construction, before reaching the estimated total depth.  Such sampling is necessary to ensure that the well does not encounter water quality that cannot be utilized by the Licensee and to ensure that withdrawals from the well will not cause salt-water intrusion.

| District ID No. | Licensee ID No. | Surface Diameter | Minimum Casing Depth | Estimated Total Depth |
| --- | --- | --- | --- | --- |
| 1 | P1 | 16 in. | 360 ft. | 800 ft. |
| 2 | P2 | 16 in. | 360 ft. | 800 ft. |
| 3 | P3 | 4 in. | 360 ft. | 500 ft. |

NOTE

The casing shall be continuous from land surface to the minimum depth stated above.

All well casing (including liner; and/or pipe) must be sealed with neat cement to the depth specified above.

The wells shall be constructed of materials that are resistant to degradation of the casing/grout due to interaction with the water of lesser quality. A minimum grout thickness of two (2) inches is required on wells four (4) inches or more in diameter.

A minimum of twenty (20) feet overlap and two (2) centralizers is required for Public Supply wells, and all wells six (6) inches or more in diameter.

The finished well casing depth shall not vary from these specifications by greater than ten (10) percent unless advance approval is granted by the Water Use Permit Bureau Chief, or the Supervisor of the Well Construction Permitting Section in Brooksville.

Advance approval from the Water Use Permit Bureau Chief is necessary should the Licensee propose to change the well location or casing diameter.

F. Other Specific Conditions

1.	For the purpose of determining site-specific transmissivity, a step drawdown and constant rate specific capacity test shall be performed on District ID No. 1, Licensee ID No. P1, after the well has been fully developed.  The test shall be performed in accordance with the specifications set forth in Design Aid 3.B, Water Use Permit Information Manual, SWFWMD.  The recorded raw data shall be submitted to the Permits Data Section within thirty days of completion of the well.

.2	In the event the SWFWMD declares that a Water Shortage exists pursuant to Chapter 40D-21, the Department shall alter, modify, or declare inactive all or parts of these Conditions as necessary to address the water shortage.

Moved to D. 3.

3.	The Licensee shall cease or reduce withdrawal as directed by the SWFWMD if water levels in aquifers fall below the minimum levels established by the Governing Board.

4.	The Licensee shall practice water conservation to increase the efficiency of transport, application, and use, as well as to decrease waste and to minimize runoff from the property.  At such time as the SWFWMD Governing Board adopts specific conservation requirements for the Licensee's water use classification, this permit shall be subject to those requirements upon notice and after a reasonable period for compliance.

5.	The Licensee shall mitigate any adverse impact to existing legal uses caused by withdrawals.  When adverse impacts occur or are imminent, the District may require the Licensee to mitigate the impacts. Adverse impacts include:

a.	A reduction in water levels which impairs the ability of a well to produce water;

b.	Significant reduction in levels or flows in water bodies such as lakes, impoundments, wetlands, springs, streams or other watercourses; or

c.	Significant inducement of natural or manmade contaminants into a water supply or into a usable portion of an aquifer or water body.

6.	The District may establish special regulations for Water-Use Caution Areas.  At such time as the District’s Governing Board adopts such provisions, this certification shall be subject to them upon notice and after a reasonable period for compliance.

G.	Transfer of authorized Upper Floridan aquifer groundwater withdrawal to PEF’s Hines Energy Complex.

1.	An interim water supply shortage shall mean a shortage of previously authorized process and cooling water sources which results in the inability of PEF to prevent the operational water level of the Hines cooling pond from being lowered below an elevation of 158.5 feet National Geodetic Vertical Datum (NGVD).  If the water level becomes less than 158.5 feet NGVD, despite all reasonable efforts by DEF to prevent such lowering of water level by utilizing all previously authorized water sources to the greatest extent practicable, DEF is authorized until November 30, 2035, to transfer Upper Floridan aquifer groundwater authorized to be used at DEF's Tiger Bay facility to the Hines cooling pond. When the water level in the Hines cooling pond rises to an elevation of 158.5 feet NGVD, and DEF is able to successfully maintain the water level at or above 158.5 feet NGVD for seven (7) consecutive days, the water supply shortage shall be considered to have ended and PEF shall discontinue the use of transferred groundwater from Tiger Bay.

2.	The quantity of groundwater authorized for use at the Tiger Bay facility shall be reduced by the amount of that source being transferred to the Hines cooling pond during the water supply shortage.  At no time will the groundwater quantities produced at the Tiger Bay facility exceed the permitted quantities for the facility.

3.	The monthly groundwater pumpage reports required to be submitted to SWFWMD per Section B. Condition II. Southwest Florida Water Management District, paragraph C. shall include a breakdown of quantities produced for use at the Tiger Bay facility, water shortage transfer to the Cooling Pond at the Hines Energy Complex, and for flushing the pipelines associated with water conveyance to the Hines Energy Complex.

Replaced by Section A. Condition XXXIV. Water Discharge

2.	Stormwater and industrial wastewater may be transferred to PEF’s Hines Energy Complex by way of connecting pipeline. Moved to Section B. Condition I. Department of Environmental Protection, paragraph C. Industrial Wastewater

# XV.	SOLID AND HAZARDOUS WASTE MANAGEMENT Moved to Section B. Condition I. Department of Environmental Protection, paragraph D. Waste Management

1.	No solid or hazardous waste is to be permanently stored onsite.

2.	Salt cake from the industrial wastewater treatment and cooling water systems is to be sent off-site for disposal.

3.	Sanitary waste septage from the septic tank system is to be collected and delivered off-site for disposal.

# XVI.	HISTORY NOTES Moved to History

Certification issued 06/24/98; signed by Governor Chiles

Modification A issued 03/17/03; signed by Siting Administrator Oven

Modification B issued 04/26/04; signed by Siting Administrator Oven

Modification C issued 07/10/06; signed by Siting Administrator Oven

Modification D issued 11/29/06; signed by Siting Administrator Oven

Modification E issued 02/09/10; signed by Siting Administrator Halpin

Modification F issued xx/xx/2022; signed by Siting Administrator Mulkey