Amendment Request

Proposed Amendment

The Orlando Utilities Commission (OUC) requests an amendment to the Stanton Energy Center Site Certification Application for construction of an addition to the limestone storage building.

Purpose/Reason for Amendment

The purpose of this amendment is to construct an addition to the limestone storage building.   The use of limestone plays a critical role in helping to keep the Stanton Energy Center in compliance with the regulatory requirements.  Due to new regulatory requirements additional limestone will be needed to help keep the Stanton Energy Center in compliance.

Technical Description of Amendment

Approval of the amendment would allow for the addition to the limestone storage building.  The new limestone storage building will be located 20 feet to the west of the current limestone building and will be 160 feet by 80 feet.  The north, west and east sides will be left open to allow for the unloading and removal of the limestone.  The south side will have siding installed.  All work will conform to Florida Building Code and wiring will conform to NEC Code.  All necessary building permits will be obtained prior to construction.

Environmental Consequences of Amendment

OUC anticipates no adverse environmental impacts resulting from the approval and implementation of this amendment.  This proposed project is located within the previously developed power block area.  The proposed project is to be constructed in a grassy area next to the current limestone building.  Any stormwater that is generated will be allowed to percolate into the large open field that surrounds the proposed project.

Effect of Amendment on Certification/Conditions of Certification

OUC believes that this proposed amendment makes no change to the existing Conditions of Certification and thus is not a modification to the Conditions of Certifications.

Submittal Package Included

Aerial Site Location Map illustrating proposed project location

Close-up Aerial Map of proposed project location with construction details

Preliminary Drawing